## Data Entry Sheet
Office of Water (4303T) Washington, DC 20460
March 2013
Oil and Grease ATP Comparison Worksheet (see Guidance for Limited Use Alternative Test Procedure Applications for ASTM Method D7575 for Oil & Grease - February 2013)
Enter your data in the pale yellow cells. | [10 empty] | Table 2: Log-transformed results
Reference Method = |  |  |  | Alternate Test Procedure = | [10 empty] | Results |  |  |  | Units: | 0
| Matrix = | [13 empty] | EPA Method 1664A/B |  |  | Alternate Test Procedure
[11 empty] | Collection Date | Analysis Date | Time Held (Days) | Sample | Rep #1 | Rep #2 | Rep #3 | Rep #1 | Rep #2 | Rep #3
Table 1: Results of the triplicate analyses by each method on the individually collected sample replicates/day. | [10 empty] | 0 | 0 | 0 | 1 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  |  |  | Results |  |  |  | Units: |  |  | 0 | 0 | 0 | 2 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  |  |  | 0 |  |  | 0 |  |  |  | 0 | 0 | 0 | 3 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
Collection Date | Analysis Date | Time Held (Days) | Sample | Rep #1 | Rep #2 | Rep #3 | Rep #1 | Rep #2 | Rep #3 |  | 0 | 0 | 0 | 4 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  | 0 | 1 | [7 empty] | 0 | 0 | 0 | 5 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  | 0 | 2 | [7 empty] | 0 | 0 | 0 | 6 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  | 0 | 3 | [7 empty] | 0 | 0 | 0 | 7 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
|  | 0 | 4
|  | 0 | 5 | [7 empty] | Table 3: Triplicate means (Mij)
|  | 0 | 6 | [7 empty] | Sample (j) | EPA 1664A/B (i=1) | ATP (i=2)
|  | 0 | 7 | [7 empty] | 1 | #NUM! | #NUM! |  |  | MSE= | #NUM!
[11 empty] | 2 | #NUM! | #NUM!
Scroll to the right to see the calculations for the side-by-side comparison. | [10 empty] | 3 | #NUM! | #NUM! |  |  | MM1= | #NUM! |  | MM2= | #NUM!
[11 empty] | 4 | #NUM! | #NUM!
Click here to see the side-by-side comparison of your results | [10 empty] | 5 | #NUM! | #NUM! |  |  | MS1= | #NUM! |  | Mo= | #NUM!
[11 empty] | 6 | #NUM! | #NUM! |  |  | MS2= | #NUM! |  | Mo= | #NUM!
Enter the data for your Initial Precision and Recovery (IPR) study in the pale yellow cells below | [10 empty] | 7 | #NUM! | #NUM! |  |  | MS3= | #NUM!
Alternate Test Procedure = |  |  |  | 0 Rep #2: 0; 0 Rep #3: Units:; 0 Rep #1: 0 | [6 empty] | MS4= | #NUM! |  | RMSD= | #NUM!
Preparation Date | Analysis Date | Time Held (Days) | Spike Level | IPR Rep #1 | IPR Rep #2 | IPR Rep #3 | IPR Rep #4 |  |  |  | Table 4: Triplicate standard deviations (sij) |  |  |  |  | MS5= | #NUM!
|  | 0 | [8 empty] | Sample (j) | EPA 1664A/B (i=1) | ATP (i=2) |  |  | MS6= | #NUM! |  | RMSD max= | #NUM! | bar: 0 Rep #1 to 0 Rep #1
[11 empty] | 1 | #NUM! | #NUM! |  |  | MS7= | #NUM!
Click here to see the evaluation of your IPR results | [10 empty] | 2 | #NUM! | #NUM!
[11 empty] | 3 | #NUM! | #NUM!
Enter the data for your method detection limit (MDL) study in the pale yellow cells below | [10 empty] | 4 | #NUM! | #NUM!
Alternate Test Procedure = |  |  |  | 0 Rep #2: 0; 0 Rep #3: Units:; 0 Rep #1: 0 |  | 5 | #NUM! | #NUM!
Preparation Date | Analysis Date | Time Held (Days) | Spike Level | MDL Rep #1 | MDL Rep #2 | MDL Rep #3 | MDL Rep #4 | MDL Rep #5 | MDL Rep #6 | MDL Rep #7 | 6 | #NUM! | #NUM!
|  | 0 | [8 empty] | 7 | #NUM! | #NUM!
Click here to see the evaluation of your MDL results
Oil and Grease ATP Comparison Worksheet

## Results Comparison
Click here to go back to data entry page.
Results:
#NUM!
Based on the results shown above:
| Method | 0 | #NUM! | Method | 0 | over the course of | 0 | days in a | 0 | matrix.
Holding Time Check: | The maximum time your comparison study samples were held MEETS the 28-day holding time for the method.

## IPR Evaluation
Click here to go back to the data entry page.
IPR Evaluation:
Spike Level: | 0
Mean IPR Result: | #DIV/0!
Recovery #1 (%): | #DIV/0!
Recovery #2 (%): | #DIV/0!
Recovery #3 (%): | #DIV/0!
Recovery #4 (%): | #DIV/0!
Mean Recovery (%): | #DIV/0!
Standard Deviation: | #DIV/0!
Recovery Test: | #DIV/0!
Precision Test: | #DIV/0!
Holding Time Check: | The maximum time your IPR samples were held MEETS the 28-day holding time for the method.

## MDL Evaluation
Click here to go back to the data entry page.
MDL Evaluation:
Spike Level: | 0
Mean Result: | #DIV/0!
Standard Deviation: | #DIV/0!
Calculated MDL (7 reps): | #DIV/0!
MDL Test: | #DIV/0!
Holding Time Check: | The maximum time your MDL samples were held MEETS the 28-day holding time for the method.