## LCOE Calculator
DRAFT
Solar PV Project Cost Calculator |  | Levelized Cost of Energy (LCOE) Model |  |  | October 24, 2013
Inputs highlighted in Yellow
LCOE Calculator
System Inputs |  | Input Description | Year | Production (kWh) | Direct Purchase Cost ($) | O&M Cost ($) | PPA Escalator (%) | PPA Rate ($/kWh) | PPA Cost ($)
System Size (kW-DC) | 100 | (Please insert the aggregate system size for a site) | 0 |  | 315000 |  | -
1st-Year Production (kWh) | 145000 | (Please insert the aggregate forecasted system production at a site | 1 | 145000 |  | 1500 |  | 0.15 | 21750
Annual Degradation | 0.5% | (Please insert the expected system yearly performance degradation) | 2 | 144275 |  | 1545 | 3% | 0.1545 | 22290.4875
|  |  | 3 | 143553.625 |  | 1591.35 | 3% | 0.15913 | 22844.4061
Direct Purchase Inputs |  |  | 4 | 142835.8569 |  | 1639.0905 | 3% | 0.16391 | 23412.0896
Cost ($/W) | 3.5 | (Please insert total system cost per Watt. If not available, use the formula: Cost ($/W) = (Total-system-cost/Total-system-size-in-watts) | 5 | 142121.6776 |  | 1688.2632 | 3% | 0.16883 | 23993.88
Initial Rebate/Incentive | 35000 | (Please insert the total value of rebates/incentives received within the first year) | 6 | 141411.0692 |  | 1738.9111 | 3% | 0.17389 | 24590.128
O&M Cost ($/kW) | 15 | (Please insert the per kW O&M cost. If not available, use the formula: O&M Cost ($/kW) = (1st-year-O&M-Cost/Total-system-size-in-kW) | 7 | 140704.0139 |  | 1791.0784 | 3% | 0.17911 | 25201.1926
O&M Escalator (%) | 3% | (Please insert the expected yearly escalation) | 8 | 140000.4938 |  | 1844.8108 | 3% | 0.18448 | 25827.4423
|  |  | 9 | 139300.4913 |  | 1900.1551 | 3% | 0.19002 | 26469.2542
PPA Inputs |  |  | 10 | 138603.9889 |  | 1957.1598 | 3% | 0.19572 | 27127.0152
PPA Rate ($/kWh) | 0.15 | (Please insert the per kWh PPA Rate. If not available, use the formula: PPA Rate ($/kWh) = (1st-year-PPA-Cost/1st-year-system-prduction) | 11 | 137910.9689 |  | 2015.8746 | 3% | 0.20159 | 27801.1215
PPA Escalator | 3% | (Please insert the expected yearly escalation. If not uniform, manually insert yearly escalation in Column I) | 12 | 137221.4141 |  | 2076.3508 | 3% | 0.20764 | 28491.9794
|  |  | 13 | 136535.307 |  | 2138.6413 | 3% | 0.21386 | 29200.0051
|  |  | 14 | 135852.6305 |  | 2202.8006 | 3% | 0.22028 | 29925.6252
LCOE Outputs* |  |  | 15 | 135173.3673 |  | 2268.8846 | 3% | 0.22689 | 30669.277
Direct Purchase |  | * Compare to expected utility costs over the next 20 years | 16 | 134497.5005 |  | 2336.9511 | 3% | 0.2337 | 31431.4085
20 Year | 0.12844 |  | 17 | 133825.013 |  | 2407.0597 | 3% | 0.24071 | 32212.479
25 Year | 0.10824 |  | 18 | 133155.8879 |  | 2479.2714 | 3% | 0.24793 | 33012.9591
|  |  | 19 | 132490.1085 |  | 2553.6496 | 3% | 0.25536 | 33833.3311
PPA |  | * Compare to expected utility costs over the next 20 years | 20 | 131827.6579 |  | 2630.2591 | 3% | 0.26303 | 34674.0894
20 Year | 0.20054 |  | 21 | 131168.5196 |  | 2709.1669 | 3% | 0.27092 | 35535.7405
25 Year | 0.21709 |  | 22 | 130512.677 |  | 2790.4419 | 3% | 0.27904 | 36418.8037
|  |  | 23 | 129860.1137 |  | 2874.1551 | 3% | 0.28742 | 37323.811
*Undiscounted Analysis |  |  | 24 | 129210.8131 |  | 2960.3798 | 3% | 0.29604 | 38251.3077
|  |  | 25 | 128564.759 |  | 3049.1912 | 3% | 0.30492 | 39201.8527
|  |  | Total | 3415612.9545 | 315000 | 54688.8965 |  |  | 741489.6863