## ReadMe
Version:
Data downloaded 16 February 2016.
Background:
The International CMM Database was developed by U.S. Environmental Protection Agency's (U.S. EPA) Coalbed Methane Outreach Program (CMOP) at the request of the Global Methane Initiative Coal Subcommittee. Collecting CMM and using it in profitable and practical ways has a number of tangible benefits, including: improving worker safety, enhancing coal mine productivity, increasing revenues, and reducing greenhouse gas emissions from coal mines. CMOP uses publicly available resources and consults with international CMM industry experts to compile the information listed in the database.
Emissions Reductions:
The emissions reductions in this file are expressed in metric tons of CO2 equivalent (mtCO2e), using a global warming potential (GWP) for methane of 25.
Database Updates:
If you have edits to a project listed in this database, or data on a new project, please submit the project updates to:
asg@globalmethane.org
Disclaimer:
U.S. EPA does not:
1. Make any warranty or representation, expressed or implied, with respect to the accuracy, completeness, or usefulness of the information contained in this database.
2. Assume any liability with respect to the use of, or damages resulting from the use of, any information disclosed in this database.

## Coal Projects
| Project Data | [10 empty] | Mine Details
Country | Project Name | Project Status | Start Year | Project Description | Project End Use Type(s) | Project Use Details | Gas Flow to Project | Gas Flow Units | Rated Capacity of Equipment | Rated Capacity Units | 2014 Emissions Reductions (MTCO2e) | Mine Name | Mine Description | Mine Status | Region | Street Address | City | State / Province | Site Ownership | Owner Organization | Operator Organization | Primary Contact | Type of Coal | Mining Method | Installed Drainage System | Joint Project? | Names of Mines Involved in Joint Project
Australia | 2012 Coal AUS Oaky Creek Flaring | Operational | 2012 | Installation of enclosed flares planned for Nov 2012. The plant will consist of six Hofstetter enclosed flares and six ring seal vacuum pumps, with the ability to deal with 12,000 l/sec of gas and generate -30Kp through the Oaky Creek gas pipe. | Enclosed Flare | [6 empty] | Oaky Creek |  | Underground (Active) |  |  |  | Queensland | Private
Australia | 2012 Coal AUS Tahmoor Colliery Flaring | Operational | 2012 | Three (3) enclosed flares used to destroy methane drained from mine. See attachments | Enclosed Flare | [6 empty] | Tahmoor Colliery | Tahmoor Colliery is located approximately 70 kilometres South West of Sydney in the Southern Highlands region, consisting of an underground mine and Coal Handling and Preparation Plant. The colliery produces approximately two million tonnes of high quality coking coal per year, which is railed to Port Kembla for the export market. The mine was commissioned in 1979 by Clutha Coal, and production of coal commenced in 1982. In 1986 longwall mining was introduced. The mine has changed hands several times during its 30 year history and is currently fully managed by Xstrata Coal NSW, operating as Tahmoor Coal Pty Ltd. Tahmoor currently employs approximately 440 employees and contractors. | Underground (Active) | Southern Highlands |  |  | New South Wales | Private | GlencoreXstrata |  |  | Bituminous | Longwall
Australia | 2013 Coal AUS Appin Colliery Flares | Operational | 2012 | Flares installed at wells draining CMM from gob/goaf areas. | Flaring (Unknown Type) | [6 empty] | Southern Coal Field | The Appin Colliery and Tower Colliery are located within the Southern Coal Field. | Underground (Active) | Southern Coalfields |  |  | New South Wales | Private | BHP Billiton |  |  | Unknown | Unknown |  | Yes | Appin Colliery; Tower Colliery
Australia | 2013 Coal Aus Ashton Flaring | Planned | 2013 | Enclosed flares planned to destroy drained methane from underground coal operations. Number of flares undefined. | Enclosed Flare | [6 empty] | Ashton Coal Project | The Ashton Coal Project is located approximately 14 km north-west of Singleton in the Hunter Valley, New South Wales. The project includes an open cut coal mine, an underground coal mine, a Coal Handling and Preparation Plant and a rail siding. The Ashton Open-Cut and Underground Coal Mines have a current production capacity of approximately 3.9mtpa of high quality Semi-Soft Coking Coal. This coal is predominantly exported to Asian steelmakers. The Ashton Coal operation is an unincorporated Joint-Venture between Yancoal Australia Ltd (90%) and Itochu Corporation of Japan (10%). Yancoal Australia Ltd acquired the interest in the Ashton Open-Cut and Underground Coal Mines effective from December 2009 through its purchase of Felix Resources Pty Ltd. Yancoal Australia Ltd is the operator of these mines and manages the Joint-Venture. www.ashtoncoal.com.au | Underground (Active) | Hunter Valley |  |  | New South Wales | Private |  |  |  | Bituminous | Longwall
Australia | 2013 Coal AUS Mandalong Flaring | Operational | 2013 | 1-2 enclosed flares (see attached files below) | Enclosed Flare | [5 empty] | 142857 | Mandalong | http://centennialcoal.com.au/Operations/OperationsList/Mandalong.aspx | Underground (Active) |  |  |  | New South Wales | Private |  |  |  | Bituminous | Longwall
Australia | Blakefield Mine Flaring Project | Operational | 2010 | Currently 3 enclosed flares (Energen - Hofstetter); 5 LMS Energy decommissioned flares. 2012 plans to install goaf flares. | Flaring (Unknown Type) | [6 empty] | Bulga Mining Complex | Surface and underground operations. The Bulga Underground Operations comprise the Beltana No.1 Mine and the Blakefield South Mine. Underground mining operations are undertaken using longwall retreat mining techniques. The longwall blocks at the Beltana No 1 Mine are approximately 265m wide, and at Blakefield South they are 400m. | Underground (Active) | Upper Hunter Valley |  |  | New South Wales | Private | GlencoreXstrata |  |  | Bituminous | Longwall
Australia | Coal AUS Appin Tower Colliery Power Generation | Operational | 1996 | 1 - MW gas engines: 54 units at Appin Power Plant and 40 units at Tower Power Plant. | Power Generation |  |  |  | 94 | MW-Electric |  | Southern Coal Field | The Appin Colliery and Tower Colliery are located within the Southern Coal Field. | Underground (Active) | Southern Coalfields |  |  | New South Wales | Private | BHP Billiton |  |  | Unknown | Unknown |  | Yes | Appin Colliery; Tower Colliery
Australia | Dawson Mine Pipeline Injection Project | Operational | 1996 | This project degases CMM from surface mine and includes pipeline injection, gas treatment, and sale of CMM (no CBM). Quantity of gas sold is 9 PJ per year. 1055.6 J/Btu and assuming 1012 Btu/scf CHr, calculated 238 million m3 CH4/yr. | Gas Sales to Pipeline |  | 238 | million m3/yr |  |  |  | Dawson Mine | Mining method is highwall and underground longwall. | Underground (Active) |  |  |  | Queensland | Private |  |  |  | Unknown | Longwall
Australia | German Creek Coal Mine (Grasstree) Flaring Project | Operational | 2007 | 5 enclosed flares (1,100 l/s) and 1 candlestick flare (2,600 l/s) abate drained gas not used in 32 MW power plant. | Enclosed Flare | [6 empty] | German Creek Coal Mine (Grasstree) |  | Underground (Active) |  |  |  | Queensland | Private |  |  |  |  | Longwall
Australia | German Creek Coal Mine (Grasstree) Power Generation Project | Operational | 2007 | Quantity of Gas Sold: 2.8 PJ/annum | Power Generation | 16 Internal Combustion Engines at 2 MW each | 2.8 | PJ/annum | 32 | MW-Electric | 1190476 | German Creek Coal Mine (Grasstree) |  | Underground (Active) |  |  |  | Queensland | Private |  |  |  |  | Longwall
Australia | Mandalong VAM Destruction Project | In Development | 2013 | June 2013 - VAM-RAB trial is being commissioned (without gas). Next stage is to test with external gas supply, then make connection to mine fan. Capable of handling 100-150 m3/s of ventilation air flow Direct coupled RTO to a ventilation fan at the Mandalong mine Abatement of better than 98% of methane emitted | VAM Destruction | Thermal flow reverse reator (TFRR) plant for VAM. | [5 empty] | Mandalong | http://centennialcoal.com.au/Operations/OperationsList/Mandalong.aspx | Underground (Active) |  |  |  | New South Wales | Private |  |  |  | Bituminous | Longwall
Australia | Moranbah North Mine Power Generation Project | Operational | 2009 | The Moranbah North power station takes waste coal mine gas sourced from the underground environment to produce 45 megawatts of electricity. In December 2012, an expansion of the existing Capcoal waste coal mine gas power station came on line, generating a further 13 megawatts of electricity at the plant to bring the total electricity output up to 45 megawatts. Annual capacity to produce 350 GW, enough for 48,000 households. | Power Generation | 15 3MW J620 Jenbacher engines |  |  | 45 | MW-Electric | 1190476 | Moranbah North Mine |  | Underground (Active) |  |  |  | Queensland | Private
Australia | Newvale VAM Destruction Project | Operational | 2002 | Demonstration using simulated 3% VAM for combustion air in power generation at Vales Point Power Station using CMM from abandoned mine. | VAM Destruction | Auxiliary fan and ducting arrangement used to dilute high concentration CMM. | [5 empty] | Newvale |  | Abandoned mine |  |  |  | New South Wales | Private |  |  |  | Bituminous | Unknown
Australia | Oaky Creek Power Generation #1 Project | Operational | 2007 | Original capacity of 14 MW in 2007. Added 6MW in 2009. | Power Generation | 12 GE Jenbacher generator sets JGS 320GS-S.L |  |  | 14 | MW-Electric | 676071 | Oaky Creek |  | Underground (Active) |  |  |  | Queensland | Private
Australia | Oaky Creek Power Generation #2 Project | Operational | 2009 | Original capacity of 14 MW in 2007. Added 6MW in 2009. | Power Generation | two additional Jenbacher 620 (3 MW each) in 2009. |  |  | 6 | MW-Electric | 97738 | Oaky Creek |  | Underground (Active) |  |  |  | Queensland | Private
Australia | Tahmoor Colliery Power Generation Project Phase I | Operational | 2000 | Phase 1(2000): 5x JGS 320GS-S.L: 5.030 MW | Power Generation | Internal combustion engines (7 Jenbacher engines) |  |  | 5.03 | MW-Electric |  | Tahmoor Colliery | Tahmoor Colliery is located approximately 70 kilometres South West of Sydney in the Southern Highlands region, consisting of an underground mine and Coal Handling and Preparation Plant. The colliery produces approximately two million tonnes of high quality coking coal per year, which is railed to Port Kembla for the export market. The mine was commissioned in 1979 by Clutha Coal, and production of coal commenced in 1982. In 1986 longwall mining was introduced. The mine has changed hands several times during its 30 year history and is currently fully managed by Xstrata Coal NSW, operating as Tahmoor Coal Pty Ltd. Tahmoor currently employs approximately 440 employees and contractors. | Underground (Active) | Southern Highlands |  |  | New South Wales | Private | GlencoreXstrata |  |  | Bituminous | Longwall
Australia | Tahmoor Colliery Power Generation Project Phase II | Operational | 2003 | Phase II (upgraded in 2003): 2x JGS 320GS-S.L: 2.012 MW | Power Generation | Internal combustion engines (7 Jenbacher engines) |  |  | 2.01 | MW-Electric |  | Tahmoor Colliery | Tahmoor Colliery is located approximately 70 kilometres South West of Sydney in the Southern Highlands region, consisting of an underground mine and Coal Handling and Preparation Plant. The colliery produces approximately two million tonnes of high quality coking coal per year, which is railed to Port Kembla for the export market. The mine was commissioned in 1979 by Clutha Coal, and production of coal commenced in 1982. In 1986 longwall mining was introduced. The mine has changed hands several times during its 30 year history and is currently fully managed by Xstrata Coal NSW, operating as Tahmoor Coal Pty Ltd. Tahmoor currently employs approximately 440 employees and contractors. | Underground (Active) | Southern Highlands |  |  | New South Wales | Private | GlencoreXstrata |  |  | Bituminous | Longwall
Australia | Teralba and Bellambi Power Generation Project | Operational | 2003 |  | Power Generation | 8 GE Jenbacher generator sets JGS 320GS-S.L; 8.384 MW (electric); 4.544 MW (thermal) |  |  | 8.38 | MW-Electric |  | Teralba and Bellambi Mines |  | Abandoned mine |  |  |  | New South Wales | Private |  |  |  | Unknown | Unknown
Australia | United Colliery Flaring Project | Operational | 2006 | 3 flares located above active mining operations. | Enclosed Flare | Capacity to abate 125,000 tonnes per year. Approx. 50,000 abated in 2007 and 2008 |  |  |  |  | 148810 | United Colliery |  | Underground (Active) |  |  |  | New South Wales | Private |  |  |  | Bituminous | Longwall
Australia | West Cliff Colliery VAM as Primary Fuel for Power Generation Project | Operational | 2007 | The project became operational on September 14, 2007. | VAM Destruction | 4 MEGTEC VOCSIDIZER units |  |  | 5 |  | 238095 | West Cliff Colliery |  | Underground (Active) |  |  |  | New South Wales | Private |  |  |  | Bituminous | Longwall
Belgium | Hainaut Other Project | In Development | ? | hydrocarbon permit “Hainaut” covering 443 km2 for exploration of CBM/CMM | [7 empty] | Hainaut |  | Underground (Active) | Wallonia Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
China | 2010 Coal China Malan Mine Flaring | Operational | 2010 | UNFCC pdd doc Two 1,500 Nm3/hr enclosed flares above active mining operations (total capacity = 1,500 Nm3/hr) Beijing Fairyland manufactured flares Initially used as interim emission reduction technical option before gas gensets installed. Now used to flare excess gas volumes | Enclosed Flare | [6 empty] | Malan Mine |  | Underground (Active) |  |  | Taiyuan | Shanxi Province |  | Shanxi Coking Coal Group
China | 2011 Coal China Tunlan Mine Flaring | Operational | 2011 | Four 2,000 Nm3/hr enclosed flares above active mining operations (total capacity = 8,000 Nm3/hr) Nanjing Carbon manufactured flares Initially used as interim emission reduction technical option before gas gensets installed. Now used to flare excess gas volumes | Enclosed Flare | [6 empty] | Tunlan Mine |  | Underground (Active) |  | Taiyuan |  | Shanxi |  | Shanxi Coking Coal Group |  | Liu Wenge
China | Caishandong Coal Mine Power Generation Project | Operational | 2011 | 15 MW power 250,000 tCO2e Source: Verification reports - UNFCCC | Power Generation |  |  |  | 15 | MW-Electric | 278046 | Caishandong Coal Mine |  | Underground (Active) |  |  |  | Sichuan Province |  | Guang’an Yimin Coal & Power Co., Ltd.
India | Assessment of Sealed Areas at Moonidih Mine, India | Operational | 2009 | This project will establish the quantity and quality of coal mine methane (CMM) in sealed off areas of one of the gassiest underground coal mines in India. The study will be carried out at Moonidih, a Degree III gassy underground mine in the Jharia coal basin. Small pilot project has two wells to fuel a 500 kW generator for use on site. | Power Generation |  |  |  | 0.5 | MW-Electric |  | Moonidih Underground Mine | Dhanbad District, Jharkhand | Underground (Active) |  |  |  | Jharkhand
China | Chongqing Nantong Mining LLC Boiler Fuel Project | Operational | 2008 | [8 empty] | Unknown mine - Chongqing Nantong Mining LLC |  | Underground (Active) | [5 empty] | Chongqing Nantong Mining LLC |  | Dengta Deng
China | Chongqing Nantong Mining LLC Town Gas Project | Operational | 2008 |  | Town Gas | [5 empty] | 123630 | Unknown mine - Chongqing Nantong Mining LLC |  | Underground (Active) | [5 empty] | Chongqing Nantong Mining LLC |  | Dengta Deng
China | Daning Coal Mine Power Generation Project | Operational | 2010 | 35 MW power 362,000 tCO2e Source: Verification reports - UNFCCC | Power Generation |  |  |  | 35 | MW-Electric | 489339 | Daning Coal Mine |  | Underground (Active) |  |  |  | Shanxi Province |  | Shanxi Lanhua Daning Power Generation Co.
China | Dengfeng Jinling CMM Power Generation Co Boiler Fuel Project | Operational | 2008 | [8 empty] | Jinling Mine |  | Underground (Active) |  |  | Dengfeng City | Henan Province |  | Dengfeng Jinling CMM Power Generation Co. |  | Li Hongfa
China | Dengfeng Jinling CMM Power Generation Co Power Generation Project | Operational | 2008 |  | Power Generation | [5 empty] | 35867 | Jinling Mine |  | Underground (Active) |  |  | Dengfeng City | Henan Province |  | Dengfeng Jinling CMM Power Generation Co. |  | Li Hongfa
China | Fengcheng Mining Administration Project | Operational | 2007 | Jianxin, Pinghu, and Qujiang Mines. CH4 concentration >30%. Waste heat recovery units - steam produced to heat miner's showers. Reported annual GHG emissions avoided is calculated from reductions from Mar 2008 to May 2009 in monitoring report. | Power Generation | [5 empty] | 233887 | Fengcheng Mining Area |  | Underground (Active) |  |  | Qujiang | Jiangxi |  | Fengcheng Mining Administration | [5 empty] | Yes | Jianxin Mine; Pinghu Mine; Qujiang Mine
China | Fuhong Underground Mine Power Project | Planned | 2016 | 1.0 or 1.6 MW power project planned for first phase. May expand up to 6MW. | Power Generation | [6 empty] | Fu Hong Underground Mine |  | Underground (Active) |  |  |  | Guizhou Province
China | Furong Mining Area Power Generation Project - 2008 | Operational | 2008 |  | Power Generation |  |  |  | 10 | MW-Electric | 176596 | Furong Mining Area |  | Underground (Active) |  |  | Yibin City | Sichuan |  | Furong Group's Limited Indistrial Company |  | Liu Wenge |  |  |  | Yes | Baijiao Mine; Gonquan Mine; Shanmushu Mine; Xuchang Mine
China | Fushun Coal Mining Group Town Gas Project | Operational | 2006 |  | Town Gas | [5 empty] | 128118 | Laohutai Mine |  | Underground (Active) |  |  |  | Liaoning |  | Fushun Coal Mining Group |  | Liu Wenge
China | Fuxin Coal Mining Group Power Generation Project | Operational | 2006 |  | Power Generation |  |  |  | 18.6 | MW-Electric | 530806 | Fuxin Mining Area |  | Underground (Active) |  |  |  | Liaoning |  | Fuxin Coal Mining Group | [5 empty] | Yes | Wangying Mine; Wulong Mine
China | Fuxin Coal Mining Group Town Gas Project | Operational | 2004 |  | Town Gas | [5 empty] | 234524 | Fuxin Mining Area |  | Underground (Active) |  |  |  | Liaoning |  | Fuxin Coal Mining Group | [5 empty] | Yes | Wangying Mine; Wulong Mine
China | Fuxin Coal Mining Group Town Gob Gas Project | Construction | ? | Project just registered on CDM in 2013. | Town Gas | [6 empty] | Fuxin Mining Area |  | Underground (Active) |  |  |  | Liaoning |  | Fuxin Coal Mining Group
China | Guizhou Qinglong Power Project | Operational | 2006 | Project started off as 3.2 MW in 2006. Expanded by 3.6 MW in 2013 for a total of 6.8 MW. Engines operate approximately 5,000 hours per year. | Power Generation |  |  |  | 6.8 | MW-Electric | 182120 | Guizhou Qinglong Mine |  | Underground (Active) | Qianxi County |  |  | Guizhou Province
China | Hebi Coal Industry Group Power Generation Project - 2008 | Operational | 2008 |  | Power Generation | [5 empty] | 97714 | Hebi Mining Area | Henan Province, Hebi City | Underground (Active) |  |  | Hebi City | Henan Province |  | Hebi Coal Industry Company | [5 empty] | Yes | Hebi Mine No. 10; Hebi Mine No. 3; Hebi Mine No. 4; Hebi Mine No. 6; Hebi Mine No. 8
China | Huaibei Mining Group Company Power Generation Project | Operational | 2005 |  | Power Generation | [6 empty] | Huaibei Mining Area |  | Underground (Active) | [11 empty] | Yes | Haizi Mine; Luling Mine
China | Huainan Mining Group Combined Heat and Power (CHP) Project | Operational | 2004 | Engines at three different power stations. The exhaust gas from the power engines in Panyi South Station and Xieqiao coal mine are recovered for cooling mine underground air. | Combined Heat and Power |  |  |  | 12.9 | MW-Electric | 237944 | Huainan Coalfield |  | Underground (Active) |  |  | Huainan City | Anhui |  | Huainan Mining Group | [5 empty] | Yes | Panyi Mine; Xieqiao Mine
China | Huainan Mining Group Power Generation Project | Operational | 2005 |  | Power Generation | [5 empty] | 80833 | Pansan Mine |  | Underground (Active) | [5 empty] | Huainan Mining Group |  | Liang Yuan
China | Huainan Mining Group Town Gas Project | Operational | 2004 |  | Town Gas | [6 empty] | Huainan Coalfield |  | Underground (Active) |  |  | Huainan City | Anhui |  | Huainan Mining Group
China | Huainan Mining Group Town Gas Project-Pansan | Operational | 2004 |  | Town Gas | [5 empty] | 80833 | Pansan Mine |  | Underground (Active) | [5 empty] | Huainan Mining Group |  | Liang Yuan
China | Huainan Technology Demonstration for Low Quality Methane | Operational | 2012 |  | Power Generation |  | 7.1 | million m3/yr |  |  | 118570 | Huainan Coalfield |  | Underground (Active) |  |  | Huainan City | Anhui |  | Huainan Mining Group
China | Jiaozuo Coal Industrial Group Power Generation Project | Operational | 2008 |  | Power Generation | [5 empty] | 277962 | Jiaozuo Mining Area |  | Underground (Active) |  |  | Jiaozuo City | Henan |  | Jiaozuo Coal Mining Group | [5 empty] | Yes | Guhanshan Mine; Jiulishan Mine; Weicun Mine; Yanmazhuang Mine; Zhongmacun Mine
China | Jincheng City Power Generation Project | Operational | 2009 |  | Power Generation | [5 empty] | 720219 | Unknown mine - Jincheng City |  | Underground (Active) | [5 empty] | Jincheng CMA |  | Liu Wenge
China | Jincheng Coal Mining Authority Power Generation Project - 2006 | Operational | 2007 | CDM Verification report Jan 8, 2013. Brief description of the installed technology and equipment: Totally, ten gas engines, 1.8MW for each, and ten waste heat boilers with the capacity of 1.6t/h each, are installed. The recovered CMM is transported to the gas tank in the coal mine and after being mixed, stirred, and dehydrated, the gas is delivered to compressor house in the power plant and then injected to the gas engines for power generation. Relevant dates of the project activity: The project was started on 30/03/2007when the 10 gas engine contract was signed. The installation and commissioning were completed on 10/06/2008. Total GHG emission reductions: The GHG emission reduction achieved during the first monitoring period (02/12/2010 - 31/05/2011, totaling 181 days) is: 345,623 tCO2e. | Power Generation | [5 empty] | 822912 | Chengzhuang Mine-Jincheng Mining Area |  | Underground (Active) |  |  | Jincheng City | Shanxi |  | Jincheng CMA |  | Liu Wenge
China | Jixi Mining Group Power Generation Project - 2006 | Operational | 2006 | 156 gas engines installed in 15 CMM power plants at 11 mines. 8.5 MW commissioned 1/2008; 6.5 MW in 1/2009, and 8 MW in 1/2010. UNFCCC PDD v3. 2011. | Power Generation |  |  |  | 26 | MW-Electric | 593063 | Jixi Mining Area |  | Underground (Active) |  |  | Jixi City | Heilongjiang Province |  | Jixi Mining Group | [5 empty] | Yes | Chenzihe Mine; Donghai Mine; Pinggang Mine; Xinghua Mine
China | Liaoyuan Coal Mining Group Power Generation Project | Operational | 2006 |  | Power Generation | [5 empty] | 31432 | Meihe Mine |  | Underground (Active) |  |  | Hongmei Town | Jilin Province |  | Liaoyuan Coal Mining Group |  | Zhang Liwu
China | Liulin JinDing Coal Group Power Generation Project | Operational | 2005 |  | Power Generation | [5 empty] | 378811 | Liulin JinDing Mining Area |  | Underground (Active) |  |  | Luliang City | Shanxi |  | Liulin JinDing Coal Mine Methane Co., Ltd. | [5 empty] | Yes | Jinjiazhuang Mine; Liulin Mine; Xingwu Mine
China | Ningxia Coal Industry Group Co Power Generation Project | Operational | 2007 | operational in December 2007 per monitoring report. Developer: Toyota Owner: Shenhua Ningxia Coal Industry Group Co., Ltd. | Power Generation |  |  |  | 4 | MW-Electric | 140400 | Shizuishan Mine |  | Underground (Active) | Ningxia Hui Autonomous Region |  | Shizuishan City |  |  | Shenhua Ningxia Coal Industry Group Co. Ltd. |  | Liu Wenge
China | Pingdingshan Coal Group Combined Heat and Power (CHP) Project - 2006 | Operational | 2006 |  | Combined Heat and Power | [5 empty] | 24466 | Pingdingshan Mining Area |  | Underground (Active) |  |  | Pingdingshan City | Henan |  | Pingdingshan Coal Group | [5 empty] | Yes | Pingdingshan No. 10 Coal Mine; Pingdingshan No. 11 Coal Mine; Pingdingshan No. 12 Coal Mine; Pingdingshan No. 4 Coal Mine; Pingdingshan No. 8 Coal Mine
China | Pingdingshan Coal Group VAM Destruction Project | In Development | ? |  | VAM Destruction | [6 empty] | Pingdingshan Mining Area |  | Underground (Active) |  |  | Pingdingshan City | Henan |  | Pingdingshan Coal Group | [5 empty] | Yes | Pingdingshan No. 4 Coal Mine; Pingdingshan No. 8 Coal Mine
China | CBM Project in Xinjiang, China | Planned | ?? | Silk road capital Partners fundraising coalbed methane project in Xinjiang, China. | [7 empty] | *China |  | Unknown
China | Power Generation Project at Sihe Mine | Operational | 2007 | Collecting and burning methane, generating 120 MW power and heat. | Power Generation |  |  |  | 120 | MW-Electric | 3601069 | Sihe Mine | Shanxi Province, Jincheng | Unknown |  |  | Jincheng | Shanxi Province
China | Shanxi Coal Transport Combined Heat and Power (CHP) Project - Phase 1 | Operational | 2007 |  | Combined Heat and Power | [5 empty] | 185185 | Shanxi Mining Area |  | Underground (Active) |  |  |  | Shanxi |  | Shanxi Coal Transport Market Co. Ltd. | [5 empty] | Yes | Baoan Mine; Chengzhuang Mine-Shanxi Mining Area; Hongtai Mine; Jiujie Mine; Shangshe Mine; Shangsheerjing Mine
China | Shanxi Coal Transport Market Co. Ltd. Boiler Fuel Project | Operational | 2007 | [7 empty] | 186606 | Juijie Mine |  | Underground (Active) |  |  | Taiyuan City | Shanxi |  | Shanxi Coal Transport Market Co. Ltd. |  | Guoqiang Li
China | Shanxi Coking Coal Group Industrial Use Project | Operational | 2009 |  | Industrial Use | [6 empty] | Unknown mine - Shanxi Coking Coal Group |  | Underground (Active) | [5 empty] | Shanxi Coking Coal Group |  | Liu Wenge
China | Shanxi Coking Coal Group Malan Mine Power Generation Project | Operational | 2010 | 3.7 MW power Flare Heat recovery | Power Generation |  |  |  | 3.7 | MW-Electric | 245492 | Malan Mine |  | Underground (Active) |  |  | Taiyuan | Shanxi Province |  | Shanxi Coking Coal Group
China | Shanxi Coking Coal Group Power Generation and Flaring Project | Operational | 2009 | Flaring project done in 2008, power generation in 2010. Emissions reductions estimates are combined, potential for 2008 and 2009 and actual from 2010 onward. One 5,000 Nm3/hr enclosed flare above active mining operations. Nanjing Carbon manufactured the flare Initially used as interim emission reduction technical option before gas gensets installed. Now used to flare excess gas volumes. | Power Generation | power generation, flaring, and heat recovery. power generation 2010 and flaring 2008. |  |  | 11.9 | MW-Electric | 411875 | Duerping Coal Mine |  | Underground (Active) |  |  | Taiyuan | Shanxi |  | Shanxi Coking Coal Group |  | Liu Wenge
China | Shanxi Coking Coal Group Power Generation Project | Operational | 2010 | 12.2 MW power Flare Heat recovery 503,000 tCO2e Source: Verification reports - UNFCCC | Power Generation |  |  |  | 12.2 | MW-Electric | 437690 | Tunlan Mine |  | Underground (Active) |  | Taiyuan |  | Shanxi |  | Shanxi Coking Coal Group |  | Liu Wenge
China | Shanxi Coking Coal Group Town Gas Project | Operational | 2009 |  | Town Gas | [6 empty] | Unknown mine - Shanxi Coking Coal Group |  | Underground (Active) | [5 empty] | Shanxi Coking Coal Group |  | Liu Wenge
China | Shanxi Datuhe Coke and Chemicals Co., Ltd. Combined Heat and Power (CHP) Project | Operational | 2006 |  | Combined Heat and Power | [5 empty] | 106282 | Shanxi Mining Area |  | Underground (Active) |  |  |  | Shanxi |  | Shanxi Coal Transport Market Co. Ltd. | [5 empty] | Yes | Fujiayan Mine; Tanyaoping Mine; Xihecun Mine
China | Shaqu Mine Power Generation Project | Operational | 2010 | 14 MW power 411,000 tCO2e Source: Verification reports - UNFCCC | Power Generation |  |  |  | 14 | MW-Electric | 228312 | Shaqu Mine |  | Underground (Active) |  |  |  | Shanxi Province |  | Huajin Coking Coal Co.
China | Shengdong Group VAM Destruct Project - Xinan | Operational | 2013 | One VAM unit - capacity of 60,000 Nm3/hr | VAM Destruction |  |  |  | 60000 | m3/hr |  | Xinan Mine |  | Underground (Active) |  |  |  | Henan |  | Yima Coal Industry Group |  | Changhe Pei
China | Shengdong Group VAM Destruct. Project-Yian | Operational | 2010 | One VAM unit - capacity of 60,000 Nm3/hr | VAM Destruction |  |  |  | 60000 | m3/hr |  | Yian Mine |  | Underground (Active) |  |  |  | Henan |  | Yima Coal Industry Group |  | Changhe Pei
China | Shengdong Group VAM Destruction Project-Dongqu | Operational | 2013 | Five VAM units - capacity of 60,000 Nm3/hr | VAM Destruction |  |  |  | 60000 | m3/hr |  | Dongqu Mine |  | Underground (Active) | Shanxi Province
China | Shengdong Group VAM Destruction Project-Sanli | Operational | 2013 | One 10,000 Mm3/hr VAM unit. | VAM Destruction |  |  |  | 10000 | m3/hr |  | Sanli Mine |  | Underground (Active) | Henan Province
China | Shengdong Group VAM Destruction Project-Tunlan | Operational | 2012 | Four VAM units - capacity of 60,000 Nm3/hr Began operation in December 2012. | VAM Destruction |  |  |  | 60000 | m3/hr |  | Tunlan Mine |  | Underground (Active) |  | Taiyuan |  | Shanxi |  | Shanxi Coking Coal Group |  | Liu Wenge
China | Shengdong Group VAM Power Project-Dafosi | Operational | 2012 | One VAM unit - capacity of 60,000 Nm3/hr with power generation capacity of 4.5 MW. | VAM Destruction | VAM destruction with Power Generation. |  |  | 60000 | m3/hr | 357143 | Dafosi Mine |  | Underground (Active) | Shanxi Province
China | Shenhua Ningxia Coal Industry Group Power Generation Project-Rujigou | Operational | 2009 | Developer: RWE Owner: Ningxia Antai New Resources Co | Power Generation |  |  |  | 12 | MW-Electric | 246495 | Rujigou Mine |  | Underground (Active) | Ningxia Hui Autonomous Region |  |  |  |  | Ningxia Antai New Resources Co. |  | Xiaoqi Ma
China | Shenhua Ningxia Coal Industry Group Power Generation Project-Wulan | Operational | 2010 | Developer:RWE Owner: Ningxia Antai New Resources Co. | Power Generation |  |  |  | 8 | MW-Electric | 399948 | Wulan Mine |  | Underground (Active) | Inner Mongolia |  |  |  |  | Ningxia Antai New Resources Co. |  | Xiaoqi Ma
China | Songzao Coal and Electricity Company Power Generation Project | Operational | 2004 | 18 MW of electricity generation installed at the mines over two separate phases. | Power Generation |  |  |  | 18 | MW-Electric | 325714 | Songzao Coal Mining Area | Chongqing Municipality | Underground (Active) |  |  | Chongqing Municipality | Guizhou |  | Songzao Coal and Electricity Company | [5 empty] | Yes | Datong Mine; Fengchun Mine; Shihao Mine; Songzao Mine; Tonghua Mine; Yuyang Mine
China | Songzao Coal and Electricity Company Town Gas Project | Operational | 2005 |  | Town Gas | [5 empty] | 2500691 | Songzao Coal Mining Area | Chongqing Municipality | Underground (Active) |  |  | Chongqing Municipality | Guizhou |  | Songzao Coal and Electricity Company | [5 empty] | Yes | Datong Mine; Fengchun Mine; Shihao Mine; Songzao Mine; Tonghua Mine; Yuyang Mine
China | Tiefa Coal Industry Group Town Gas Project | Operational | 2005 |  | Town Gas | [5 empty] | 302000 | Tiefa Mining Area |  | Underground (Active) |  |  |  | Liaoning |  | Tiefa Coal Group | [5 empty] | Yes | Dalong Mine; Daming Mine; Daxing Mine; Xiaoming Mine; Xiaonan Mine; Xiaoqing Mine
China | VAM as Primary Fuel for Power Generation at Huainan Panyi Mine | Operational | 2004 |  | VAM Destruction | [6 empty] | Huainan Panyi Mine | Anhui Province, Huainan City | Underground (Active) |  |  | Huainan City | Anhui Province
China | VAM Oxidation and Electric Power Generation at Huainan Panyi Mine | Operational | 2004 |  | VAM Destruction | [6 empty] | Huainan Panyi Mine | Anhui Province, Huainan City | Underground (Active) |  |  | Huainan City | Anhui Province
China | Yangcheng Minsheng Gas Co., Ltd Boiler Fuel Project | Operational | 2008 | [7 empty] | 9423 | Yangcheng Minsheng Mining Area |  | Underground (Active) |  |  |  | Shanxi |  | Yangcheng Minsheng Gas Co., Ltd | [5 empty] | Yes | Beizhuang Mine; Huangcheng Mine; Tunchengcun Mine
China | Yangcheng Minsheng Gas Co., Ltd Town Gas Project | Operational | 2008 |  | Town Gas | [5 empty] | 17019 | Yangcheng Minsheng Mining Area |  | Underground (Active) |  |  |  | Shanxi |  | Yangcheng Minsheng Gas Co., Ltd | [5 empty] | Yes | Beizhuang Mine; Huangcheng Mine; Tunchengcun Mine
China | Yangquan Coal Group Industrial Use Project | Operational | 2007 |  | Industrial Use | [5 empty] | 126510 | Yangquan Mining Area |  | Underground (Active) | [11 empty] | Yes | Xinjing Mine; Yangquan Mine No. 2; Yangquan Mine No. 3; Yangquan Mine No. 5
China | Yangquan Coal Group Power Generation Project | Planned | ? |  | Power Generation | [6 empty] | Yinying Mine |  | Underground (Active) | [5 empty] | Yangquan Coal Mining Group |  | Qi Xiaohu
China | Yangquan Coal Group Power Generation Project - 2007 | Operational | 2007 |  | Power Generation | [5 empty] | 802253 | Yangquan Mining Area |  | Underground (Active) | [11 empty] | Yes | Xinjing Mine; Yangquan Mine No. 2; Yangquan Mine No. 3; Yangquan Mine No. 5
China | Yangquan Coal Group Town Gas Project | Operational | 2007 |  | Town Gas | [6 empty] | Yangquan Mine No. 5 |  | Underground (Active) |  |  |  | Shanxi |  | Yangquan Coal Mining Group |  | Yu Bao Li
China | Power Project at Hongneng Coal Mine | Operational | 2008 | Two 500 kW engines installed in 2008. Project was potential expanded in a later year although additional capacity is unknown. | Power Generation |  |  |  | 1 | MW-Electric | 22605 | Hongneng Coal Mine | Nanchuan Region, Chongqing Municipality | Unknown | Nanchuan region | Chongqing Municipality | Zhangye City
China | Yima Coal Industry Group Co Combined Heat and Power (CHP) Project | Operational | 2007 |  | Combined Heat and Power | [5 empty] | 55841 | Yima Mining Area |  | Underground (Active) |  |  | Yima City | Henan |  | Yima Coal Industry Group | [5 empty] | Yes | Gengcun Mine; Qianqiu Mine; Xinan Mine; Xinyi Mine; Yian Mine
China | Yima Coal Industry Group Co VAM Destruction Project | Operational | 2008 |  | VAM Destruction | [6 empty] | Mengjin Mine |  | Underground (Active) | [5 empty] | Yima Coal Industry Group |  | Changhe Pei
China | Zhengzhou Coal Industry Group Co Combined Heat and Power (CHP) Project | Operational | 2008 |  | Combined Heat and Power | [5 empty] | 6803 | Zhengzhou Mining Area |  | Underground (Active) | [11 empty] | Yes | Chaohua Mine; Cuimiao Mine; Peigou Mine
China | Zhengzhou Coal Industry Group Co Combined Heat and Power (CHP) Project - 2011 | In Development | ? | [8 empty] | Zhengzhou Mining Area |  | Underground (Active) | [11 empty] | Yes | Chaohua Mine; Cuimiao Mine; Daping Mine; Gaocheng Mine; Peigou Mine
China | Zhongliangshan Coal Electricity Gas Co Boiler Fuel Project | Operational | 2008 | [7 empty] | 211579 | Zhongliangshan Mines |  | Underground (Active) | [11 empty] | Yes | Zhongliangshan North Mine; Zhongliangshan South Mine
China | Zhongliangshan Coal Electricity Gas Co Town Gas Project | Operational | 2008 |  | Town Gas | [6 empty] | Zhongliangshan Mines |  | Underground (Active) | [11 empty] | Yes | Zhongliangshan North Mine; Zhongliangshan South Mine
Czech Republic | Chlebovice Combined Heat and Power Project | Operational | 2006 | Second Green Gas pilot project. | Combined Heat and Power | QUANTO D770 SP CON |  |  | 0.77 | MW-Electric |  | Chlebovice |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Darkov 1 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Darkov 1 |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Bituminous | Unknown
Czech Republic | Darkov 2 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Darkov 2 |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Bituminous | Unknown
Czech Republic | Dukla Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Dukla |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Bituminous | Unknown
Czech Republic | Frantisek 2 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Frantisek 2 |  | Abandoned mine | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Frantisek 3 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Frantisek 3 |  | Abandoned mine | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Frantisek Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.17 | MW-Electric |  | Frantisek |  | Abandoned mine | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Jan Karel Combined Heat and Power Project | Operational | 2009 |  | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Jan Karel |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Karviná, Brusperk, and Frenstát Pipeline Injection Project | Operational | 1997 | Gas sales for resale - 200+ km pipeline network using CMM (~77 million m3/year) and AMM (32 million m3/year) parts of the coalmine are abandoned while other parts remain in operation. One giant interconnected system amongst many mines. AMM %Ch4=~75; CMM %CH4=50-55. Recovery by OKD DBP started in 1997. | Gas Sales to Pipeline |  | 109 | million m3/yr |  |  |  | Karviná, Brusperk, and Frenstát |  | Underground (Active) | Upper Silesian |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Lazy 1 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Lazy 1 |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Lazy 2 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Lazy 2 |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Bituminous | Unknown
Czech Republic | Muglinov Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.17 | MW-Electric |  | Muglinov |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Odra Prívoz Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 0.63 | MW-Electric |  | Odra Prívoz |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Orlová Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 0.77 | MW-Electric |  | Orlová |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Paskov Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Paskov |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Bituminous | Unknown
Czech Republic | Rychvald 2 Combined Heat and Power Project | Operational | 2008 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.97 | MW-Electric |  | Rychvald 2 |  | Abandoned mine | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Rychvald Combined Heat and Power Project | Operational | 2007 |  | Combined Heat and Power |  |  |  | 0.3 | MW-Electric |  | Rychvald |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Staric Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 1.56 | MW-Electric |  | Staric |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Sviadnov Combined Heat and Power Project | Operational | 2007 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power |  |  |  | 0.77 | MW-Electric |  | Sviadnov |  | Underground (Active) | Southern Coal Basin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Czech Republic | Vrbice Combined Heat and Power Project | Operational | 2005 | Heat and power supplied to ODK mine buildings and generated power distributed through ODK grid. Generated heat used for company offices and to heat water. | Combined Heat and Power | QUANTO D580 SP CON |  |  | 0.59 | MW-Electric |  | Vrbice |  | Abandoned mine | Ostrava |  |  |  | Unknown |  |  |  | Unknown | Unknown
France | Desiree & La Naville Industrial Use Project | Operational | 2005 | Abandoned mine methane used as diluting fuel for boilers and in an ash dryer. Operating at least since 2005, but startup year unknown. Mine owner listed as Gazonor. | Industrial Use | [6 empty] | Abandoned Mines in Lens-Liévin Area | Encompasses Desiree, La Naville, Divion, and Methanmine mines. | Abandoned mine | Lens-Liévin |  |  |  | Unknown |  |  |  | Unknown | Unknown
France | Divion Industrial Use Project | Operational | 2005 | Fuel for coke oven. Operating at least since 2005, but startup year unknown. Mine owner listed as Gazonor. | Industrial Use | [6 empty] | Abandoned Mines in Lens-Liévin Area | Encompasses Desiree, La Naville, Divion, and Methanmine mines. | Abandoned mine | Lens-Liévin |  |  |  | Unknown |  |  |  | Unknown | Unknown
France | Methanmine Pipeline Injection Project | Operational | ? | Pipeline injection into Gaz de France. Uses gas from Methanmine, Divion, and Desiree mines. Mine owner listed as Charbonnage de France. | Gas Sales to Pipeline | [6 empty] | Abandoned Mines in Lens-Liévin Area | Encompasses Desiree, La Naville, Divion, and Methanmine mines. | Abandoned mine | Lens-Liévin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Germany | Achenbach 4 1 Combined Heat and Power (CHP) Project | Operational | 2004 |  | Power Generation | combined heat and power |  |  |  |  | 18238 | Achenbach 4 1 | Part of "Minister Achenbach" mine? | Abandoned mine | Ruhr |  |  |  | Unknown
Germany | Erin 6 Power Generation Project | Operational | 2004 | The CMM utilisation plant Erin 6 consists of 2 units installed in Castrop- Rauxel, Germany at the abandoned coal mine "Erin" as described in the PDD. In April 2006 one more unit was installed, so that the plant now consists of three modules with a total capacity of 4.07 MW. | Power Generation | [6 empty] | Erin 6 |  | Abandoned mine | Ruhr | Bochumer-Strasse 263 | Castrop-Rauxel |  | Private |  | EnD-I Grubengas
Germany | Friedrich der Grosse Power Generation Project | Operational | 2005 |  | Combined Heat and Power | [5 empty] | 91214 | Friedrich der Grosse | The CMM utilisation plant Her-Fried consisting of 3 cogeneration units has been installed in Herne, Germany at the abandoned coal mine "Friedrich der Große" as described in the PDD. The plant is in operation since November 2005. | Abandoned mine | Ruhr | Zechenring | Herne |  | Private |  | Stadtwerke Herne AG
Germany | Ickern 3 Combined Heat and Power (CHP) Project | Operational | 2008 |  | Combined Heat and Power | [5 empty] | 43929 | Ickern 3 |  | Abandoned mine | Ruhr |  |  |  | Unknown
Germany | Konig-Ludwig Power Generation Project | Operational | 2005 |  | Power Generation | [5 empty] | 61881 | Konig-Ludwig |  | Abandoned mine | Ruhr |  |  |  | Unknown
Germany | Teutoburgia Combined Heat and Power (CHP) Project | Operational | 2004 |  | Combined Heat and Power | [5 empty] | 36420 | Teutoburgia | The CMM utilisation plant Her-Teuto consisting of 2 units has been installed in Herne, Germany at the abandoned coal mine "Teutoburgia" as described in the PDD. The plant is in operation continuously since August 2004, operated by Stadtwerke Herne AG. | Abandoned mine | Ruhr | Kohlenstrasse | Herne |  | Private
Germany | Unser Fritz 2/3 Power Generation Project | Operational | 2004 |  | Power Generation | [5 empty] | 66440 | Unser Fritz 2/3 |  | Abandoned mine | Ruhr |  |  |  | Unknown
Germany | Von-der-Heydt Combined Heat and Power (CHP) Project | Operational | 2004 |  | Combined Heat and Power | [5 empty] | 88762 | Von-der-Heydt |  | Abandoned mine | Ruhr |  |  |  | Unknown
China | Yanjing #1 and #2 Power Generation Project | Planned | 2013 | Hechuan Yanjing Coal Mine Methane Utilisation Project, which is sponsored by Chongqing Tianhong Mining Co., Ltd (CTMC), will utilize the coal mine methane currently being vented to atmosphere for power generation. The proposed project is located at Yanjing coal mine I and Yanjing coal mine II with with a designed capacity of 0.9 Mt/y for each coal mine. (6) One-Megawatt engines (3 units at each coal mine) will be installed with an aggregate installed capacity of 6 MW. | Power Generation | [6 empty] | Yanjing #1 Coal Mine | Hechuan District, Chongqing Municipality | Unknown |  |  | Chongqing Municipality | [8 empty] | Yes | Yanjing #2 Coal Mine
India | Singrauli Coalfield CMM Project Opportunity | Planned | ? | This is an opportunity to develop a CMM project at opencast mines in India. The recovered methane would be used to generate electricity. | [7 empty] | Moher Sub-Basin in Singrauli Coalfields | Uttar Pradesh, Varanasi (200 km from mine) | Unknown |  |  | Uttar Pradesh | Varanasi
India | Sohagpur Coal Bed Methane Project | Planned | ? | Advanced Resources International (ARI) is providing technical assistance to Reliance (see "Comments" below) to assess the market/gas infrastructure requirements for the commercial development of CBM in the Sohagpur field in Madhya Pradesh, India. | [7 empty] | Sohagpur Mine | Madhya Pradesh, India | Unknown |  |  |  | Madhya Pradesh
Kazakhstan | Lenina Mine Power Project | Operational | 2011 | 1.4 MW power project. As of 2013, project had approximately 40% availability. | Power Generation | [5 empty] | 21450 | Lenina Mine | Tentekskiy area | Underground (Active) | Karaganda Coal Basin
Mexico | 2013 Coal MEXICO Mimosa Mine VI Flaring | In Development | 2013 | One 2,000 Nm3/hr enclosed flare (Manufacturer - Biogas) Intended as 1st step in larger integrated CMM/VAM project with power and other uses. | Enclosed Flare | [6 empty] | Mimosa Mines - Mine 5 "La Esmeralda", Mine 6 and Mine 7 | Palau City, Coahuila | Underground (Active) | Coahuila |  | Palau City | Coahuila | [5 empty] | Longwall
Mexico | Mimosa Flare Project | Operational | 2011 | Flare at Mine 7 commissioned 2011, separate flare at mine 5 commissioned in 2012, and a third flare at mine 6 commissioned in 2014. Once power generation project is up and running, plan to minimize flow to flare. CDM project. Intended as 1st step in larger integrated CMM/VAM project with power and other uses. | Enclosed Flare | Three 2,000 Nm3/hr enclosed flares (Manufacturer - Biogas) |  |  |  |  | 87865 | Mimosa Mines - Mine 5 "La Esmeralda", Mine 6 and Mine 7 | Palau City, Coahuila | Underground (Active) | Coahuila |  | Palau City | Coahuila | [5 empty] | Longwall
Mexico | Mimosa Mines - Mine 5 "La Esmeralda", Mine 6 and Mine 7 Power Generation Project | In Development | ? | Three mines (Mine 5 "La Esmeralda", Mine 6 and Mine 7) will capture CMM for both flaring and power generation, depending on the methane gas yields from the mines. The project will involve the installation of necessary pipe-work, monitoring, safety, gas destruction, power generation and internal connection to ensure the combustion and/or destruction of a high portion of ventilation air methane (VAM) and degassed methane. Any CMM which is less than 30% of concentration will be vented for safety reasons. | Power Generation |  |  |  | 7 | MW-Electric |  | Mimosa Mines - Mine 5 "La Esmeralda", Mine 6 and Mine 7 | Palau City, Coahuila | Underground (Active) | Coahuila |  | Palau City | Coahuila | [5 empty] | Longwall
Mexico | Sabinas Coal Basin Demonstration Project | Operational | ? | This project consists of: (1) a feasibility study that will evaluate the targeted coalbed reservoir, generate an operational model, and develop a complete plant design; and (2) technology transfer of a small liquefier that cost-effectively transforms coal mine methane into liquefied natural gas. | Gas to LNG | [6 empty] | Sabinas Coal Basin | Sabinas Coal Basin | Unknown |  |  | Coahuila
Poland | Bielszowice Combined Heat and Power Project | Operational | 2000 | Used 2.54 million m3 CH4 in 2007. | Combined Heat and Power | Jenbacher engine .543 MW (1x JMS 312GS-B.LC) | 2.54 | million m3/yr | 0.54 | MW-Electric |  | Bielszowice |  | Underground (Active) | Upper Silesian |  |  |  | Unknown |  |  |  | Unknown | Unknown
Poland | Brzeszcze Industrial Use Project | Operational | 2005 | Mine, Chemical Plant (44.1 million m3 CH4/year). Used 35.5 million m3 CH4 in 2007. Unknown startup year but assumed operational as of 2005. | Industrial Use |  | 44.1 | million m3/yr |  |  | 587857 | Brzeszcze |  | Underground (Active) | Upper Silesian |  |  |  | Unknown
Poland | Brzeszcze Power Generation Project | In Development | ? |  | Power Generation | [6 empty] | Brzeszcze |  | Underground (Active) | Upper Silesian |  |  |  | Unknown
Poland | Halemba Combined Heat and Power Project | Operational | 2000 | Used 1.87 million m3 CH4 in 2007. | Combined Heat and Power | Jenbacher engine 0.543 MW (1x JMS 312GS-B.LC) | 1.87 | million m3/yr | 0.54 | MW-Electric |  | Halemba |  | Underground (Active) | Upper Silesian |  |  |  | Unknown |  |  |  | Unknown | Unknown
Poland | Jankowice Boiler Fuel Project | Operational | 2005 | "Mine (1.7 million m3 CH4/year). Used 6.91 million m3 CH4 in 2007. Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 6.91 | million m3/yr |  |  | 114357 | Jankowice |  | Underground (Active) | Upper Silesian |  |  |  | Unknown
Poland | Jastrzebie Boiler Fuel Project | Operational | 2005 | Mine boiler (3.1 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 3.1 | million m3/yr |  |  | 51310 | Jastrzebie |  | Underground (Active) | Upper Silesian |  |  |  | Unknown
Poland | Krupinski Mine Boiler Fuel Project | Operational | 2005 | Mine boiler, prep plant dryer (6.7 million m3 CH4/year). Used 20.78 million m3 CH4 in 2007. Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 20.8 | million m3/yr |  |  | 3439167 | Krupinski Mine |  | Underground (Active) | Upper Silesian |  | Suszec |  | Unknown
Poland | Krupinski Mine Coal Drying Project | Operational | 2005 | Mine boiler, prep plant dryer (6.7 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. Gas flow included in boiler project. | Direct Thermal | [6 empty] | Krupinski Mine |  | Underground (Active) | Upper Silesian |  | Suszec |  | Unknown
Poland | Krupinski Mine LNG Project | Operational | 2011 | EU CoMeth Project. http://www.cometh.info/downloads/218935_CoMeth_Final_publishable_summary_report_051212.pdf | Gas to LNG | [5 empty] | 84451 | Krupinski Mine |  | Underground (Active) | Upper Silesian |  | Suszec |  | Unknown
Poland | Marcel Boiler Fuel Project | Operational | 2005 | Mine (4.2 million m3 CH4/year). Used 1.68 million m3 CH4 in 2007. Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 1.68 | million m3/yr |  |  | 27804 | Marcel |  | Underground (Active) | Upper Silesian |  |  |  | Unknown
Poland | Morcinek Boiler Fuel Project | Operational | 2005 | Mine boiler, prep plant dryer (14.4 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 14.4 | million m3/yr |  |  | 238333 | Morcinek |  | Underground (Active) | Upper Silesian |  | Kaczyce |  | Unknown
Poland | Morcinek Coal Drying Project | Operational | 2005 | Mine boiler, prep plant dryer (14.4 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. Gas flow included in boiler project. | Direct Thermal | [6 empty] | Morcinek |  | Underground (Active) | Upper Silesian |  | Kaczyce |  | Unknown
Poland | Moszczenica Coal Drying Project | Operational | 2005 | Mine boiler, CHP plant, prep plant dryer (9.8 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. | Direct Thermal |  | 9.8 | million m3/yr |  |  | 162190 | Moszczenica |  | Abandoned mine | Upper Silesian |  | Jastrzebie Zdroj |  | Unknown
Poland | Moszczenica Combined Heat and Power (CHP) Project | Operational | 2005 | Mine boiler, CHP plant, prep plant dryer (9.8 million m3 CH4/year). Unknown startup year but assumed operational as of 2005. Gas flow included in CHP record. | Combined Heat and Power | [6 empty] | Moszczenica |  | Abandoned mine | Upper Silesian |  | Jastrzebie Zdroj |  | Unknown
Poland | Pniówek Combined Heat and Power (CHP) Project | Operational | 2005 | Used 46.49 million m3 CH4 in 2007. Unknown startup year but assumed operational as of 2005. | Combined Heat and Power | 2 Deutz IC engines |  |  | 3.2 | MW-Electric | 267799 | Pniówek Coal Mine |  | Underground (Active) | Upper Silesian | Pniówek | Jastrzebie Zdroj |  | Unknown | Jastrzebska Coal Company (JSW)
Romania | Abandoned mine in Caras-Severin Combined Heat and Power Project | Planned |  |  | Combined Heat and Power | Electric Capacity: 6-10 MW | [5 empty] | Abandoned mine in Caras-Severin (mine name not known) |  | Abandoned mine | Caras-Severin |  |  |  | Unknown |  |  |  | Unknown | Unknown
Romania | Lupeni Mine Boiler Fuel Project | Operational | 2008 | 15 Gcal/hour or 17.445 MW in each of two on-site boilers for a total of 35 MW. Unknown startup year but assumed operational as of 2008. | Direct Thermal |  |  |  | 35 | MW-Thermal |  | Lupeni mine |  | Surface | JIU VALLEY COAL BASIN |  |  |  | Unknown |  |  |  | Unknown | Unknown
Russia | 2012 Coal Russia Kirova Mine Flare | Operational | ? | One KGU flare, capacity = 1,500 m3/hr Possibly part of integrated system, where CMM is used to fire a boiler for heat production at the mine. | Flaring (Unknown Type) | [6 empty] | Kirova Mine |  | Underground (Active) | Kuznetsk |  |  | Kemerovo | Unknown
Russia | 2013 Coal Komsomolets Mine Flare | Operational | 2012 | Two flares KGUU-8, capacity = 1,500 m3/hr each | Flaring (Unknown Type) | [6 empty] | Komsomolets Mine |  | Underground (Active) | Kuznetsk | Leninsk-Kuznetsky |  | Kemerovo | Private | Siberian Coal Energy Company (SUEK)
Russia | CMM Utilization at Krasnogorskaya Mine | Operational | 2004 |  | Direct Thermal | Russian sources state that the projet launched in September 2009 as a boiler fuel (heat and hot water production). (http://www.bikz.ru/presscenter/news/29_10_2009/; http://gazeta.aif.ru/_/online/kuzbass/722/13_01). 0.7 MW is the capacity of the boiler (http://www.uk42.ru/assets/files/003/003-62-64.pdf). |  |  | 0.7 | MW-Thermal | 9750 | Krasnogorskaya Mine |  | Underground (Active) | Kemerovo |  | Prokopyevsk | Silesian Voivodeship | Public-State
Russia | Kirova Mine Boiler Fuel Project | Operational | 2009 | JI Project Design Document: Utilisation of CMM on coal mines of OAO "SUEK-Kuzbass". The boiler is part of a CHP project at this mine. | Direct Thermal |  |  |  | 8 | MW-Electric | 130286 | Kirova Mine |  | Underground (Active) | Kuznetsk |  |  | Kemerovo | Unknown
Russia | Kirova Mine Power Generation Project | Operational | 2009 | JI Project Design Document: Utilisation of CMM on coal mines of OAO "SUEK-Kuzbass" | Power Generation |  |  |  | 4 | MW-Electric | 5000 | Kirova Mine |  | Underground (Active) | Kuznetsk |  |  | Kemerovo | Unknown
Russia | Komsomolets Mine Boiler Fuel Project | In Development | ? | Methane used to fuel a boiler and an electric generator. | Direct Thermal | modular boiler station | [5 empty] | Komsomolets Mine |  | Underground (Active) | Kuznetsk | Leninsk-Kuznetsky |  | Kemerovo | Private | Siberian Coal Energy Company (SUEK)
Russia | Komsomolets Mine Power Generation Project | In Development | ? | Methane used to fuel a boiler and an electric generator. | Power Generation | modular boiler station |  |  | 1 |  |  | Komsomolets Mine |  | Underground (Active) | Kuznetsk | Leninsk-Kuznetsky |  | Kemerovo | Private | Siberian Coal Energy Company (SUEK)
Russia | Komsomolskaya Mine Boiler Fuel Project | Operational | 2004 | CMM recovered and used for boiler fuel at several mines; 5 stoker boilers; operational as of 10/04. Unknown startup year, but operational as of 2004. | Direct Thermal | [5 empty] | 81429 | Komsomolskaya Mine |  | Underground (Active) | Pechora |  |  |  | Private
Russia | Severnaya Mine Boiler Fuel Project | Operational | 2014 | CMM recovered and used for boiler fuel at several mines | Direct Thermal | 2 autonomous gas fueled air heater (AGH); 2 dryer units; 1 MW gas-engine electrical power generator |  |  | 1 | MW-Electric | 97714 | Severnaya Mine |  | Underground (Active) | Pechora | Vorkuta |  |  | Private
Slovakia | Hornonitrianske Mines Bohumin 2 Combined Heat and Power Project | Operational | 2005 | First unit operational in 2004. Second in 2005, third in 2006. CHP units at 3 Bohumin sites (an iron and wire company). | Combined Heat and Power | TEDOM CHP units: QUANTO C1000 SP Con mining. Caterpillar engines. | 1.2 | million m3/yr | 0.99 | MW-Electric |  | Hornonitrianske Mines Bohumin 2 |  | Underground (Active) | Upper Nitra |  |  |  | Unknown |  |  |  | Unknown | Unknown
Slovakia | Hornonitrianske Mines Bohumin 3 Combined Heat and Power Project | Operational | 2006 | First unit operational in 2004. Second in 2005, third in 2006. CHP units at 3 Bohumin sites (an iron and wire company). | Combined Heat and Power | TEDOM CHP units: QUANTO C1200 SP Con mining. Deutz engine. | 1.2 | million m3/yr | 1.16 | MW-Electric |  | Hornonitrianske Mines Bohumin 3 |  | Underground (Active) | Upper Nitra |  |  |  | Unknown |  |  |  | Unknown | Unknown
Ukraine | 2010 Coal Ukraine S-Vostochnaya Flaring | Operational | 2010 | 1 HOFGAS®–CFM4c 25000 (25 MW) flare used to destroy drained CMM. | Flaring (Unknown Type) | [6 empty] | Sukhodolskaya-Vostochnaya | The Ukrainian name of the Mine is Sukhodilska-Skhidna Mine and in Russian Sukhodolskaya-Vostochnaya. In order to give the Project a unique identification (an already existing JI-project was registered with the Ukrainian name Sukhodilska-Skhidna), the name in Russian was chosen. Operated by OJSC Krasnodonvuhillya The mine is near the town of Krasnodon and Sukhodolsk in the eastern part of Luhansk Oblast. | Underground (Active) | Luhansk |  | Krasnodon |  | Unknown |  |  |  |  | Longwall
Ukraine | 2011 Coal Ukraine Tomashivska Flaring | Planned | ? | Pipeline injection of CMM operational - 2 enclosed flares proposed KGUU 5/8 | Enclosed Flare | [6 empty] | Tomashivska North and South Mines | Abandoned mine in Luhansk coal basin. Mines abandoned in 1972. Contact: Monogarova Yulia Iosifovna Head Geologist npk_kontakt@list.ru 38 06451 72685 (tel.); 38 050 4771083 (mobile) | Abandoned mine | Luhansk |  |  |  | Unknown
Ukraine | Glubokaya Mine Boiler Fuel Project | Operational | 2006 | Four boilers (3 online in 2006, one in 2007) operating on CMM. One ventilation air heater burning CMM operational 2006. Total thermal capacity of 19.6 MW. Back-up generator also operational as of 2006. Included in this record since other electricity generation didn't start until 2009. Also co-fire emergency generator with CMM. | Direct Thermal | Three DKV 10-13 boilers (7.6 MW each) (only 2 operating); two E 1-9 G3 boilers (0.7 MW each). One WGS 1.0 ventilation air heater (only three 1 MW modules can run at once, for total capacity of 3 MW). 0.4MW (CMM) Emergency generator |  |  | 19.6 | MW-Thermal | 65203 | Shcheglovskaya-Glubokaya Mine |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Glubokaya Mine Combined Heat and Power (CHP) Project | Operational | 2009 | Cogen unit operational October 2009. 3.75 MW firing capacity, but 1.35MW electrical and 0.93MW thermal, according to monitoring report. | Combined Heat and Power | Pro2 Anlagentechnik GmbH NC620K16 cogen unit with gas engine from Deutz AG |  |  | 1.35 | MW-Electric | 32612 | Shcheglovskaya-Glubokaya Mine |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Glubokaya Mine Flaring Project | Operational | 2009 | Began operating flare in May 2009. | Flaring (Unknown Type) | Pro2 Anlagentechnik GmbH KGU 5/8 flare |  |  |  |  | 31903 | Shcheglovskaya-Glubokaya Mine |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Glubokaya Mine VAH Project | Operational | 2008 |  | VAM Destruction | ventilation air heaters |  |  |  |  | 3188 | Shcheglovskaya-Glubokaya Mine |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Holodnaya Balka Mine Boiler Fuel Project | Operational | 2000 | Unknown startup year but operating boiler for at least ten years (i.e. operational at least as of 2000) | Direct Thermal | DKVR 10/13: 1 unit DKVR 6.5/13: 3 units DKVR 4/13: 2 units E 1/9: 1 unit | [5 empty] | Holodnaya Balka Mine | Makeyevka, Donetsk | Underground (Active) | Donetsk |  | Makeyevka |  | Unknown
Ukraine | Holodnaya Balka Mine Combined Heat & Power Project | Planned | ? |  | Combined Heat and Power | JMC 320 CHP unit |  |  | 1.06 | MW-Electric |  | Holodnaya Balka Mine | Makeyevka, Donetsk | Underground (Active) | Donetsk |  | Makeyevka |  | Unknown
Ukraine | Kalinina Mine Boiler Fuel Project | Operational | 2000 | Unknown startup year but operating as of 2000. | Direct Thermal | DKV 10/13: 3 units KE 10/14: 1unit | [5 empty] | Kalinina Mine | Donetsk region | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Kirova Mine Boiler Fuel Project | Operational | 2008 |  | Direct Thermal | Liquid ring vacuum pumps |  |  |  |  | 168571 | Kirova Mine (Ukraine) | Mine owner: Makeyevugol Mine in Donetsk coal basin. | Underground (Active) | Donetsk |  | Makeyevka |  | Private | Makeyevugol SE
Ukraine | Kommunarskaya Mine 22 Boiler Project | Operational | 2010 |  | Direct Thermal | boiler |  |  |  |  | 35285 | Kommunarskaya Mine 22 |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Kommunarskaya Mine 22 Combined Heat and Power (CHP) Project | Operational | 2009 | Cogen unit operational January 2009. 3.75 MW firing capacity, but 1.35MW electrical and 0.93MW thermal, according to monitoring report. | Combined Heat and Power | Pro2 Anlagentechnik GmbH NC620K16 cogen unit with gas engine from Deutz AG |  |  | 1.35 | MW-Electric | 31342 | Kommunarskaya Mine 22 |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Kommunarskaya Mine 22 Flare Project | Operational | 2008 |  | Enclosed Flare | [5 empty] | 218125 | Kommunarskaya Mine 22 |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Kommunarskaya Mine 22 VAH Project | Operational | 2010 |  | VAM Destruction | Ventilation air heaters |  |  |  |  | 5652 | Kommunarskaya Mine 22 |  | Underground (Active) | Donetsk |  |  |  | Unknown
Ukraine | Komsomolets Donbassa Mine Boiler Fuel Project | Operational | 2009 | Boiler 2 was upgraded to burn CMM and began operation in November 2009. Boiler 1 to be commissioned in late 2011 or 2012. | Direct Thermal | KE-10-14KC CMM fired boiler |  |  | 10 |  | 51066 | Komsomolets Donbassa Mine |  | Underground (Active) | Donetsk |  |  |  | Private | Donbass Fuel-Energy Company, LLC (DTEK)
Ukraine | Komsomolets Donbassa Mine Combined Heat and Power (CHP) Project | In Development | ? | Block heat and power generation. To be installed at airshaft 3. | Combined Heat and Power | 3 x 3.6 MW Deutz TD 620K16 engines, appox elec output of 1350 kWeach and thermal output of 930kW each. | 2.79 |  | 4.05 | MW-Electric |  | Komsomolets Donbassa Mine |  | Underground (Active) | Donetsk |  |  |  | Private | Donbass Fuel-Energy Company, LLC (DTEK)
Ukraine | Komsomolets Donbassa Mine Flaring Project | Operational | 2008 | Flares 3 & 4 (air shaft 3) commissioned in 2008. Flares 1 &2 (central shaft) to be commissioned in late 2011 or 2012. | Flaring (Unknown Type) | 2 x UKG-5/8 flares (NPAO Vniikompressormash) (5MW firing capacity each) | [5 empty] | Komsomolets Donbassa Mine |  | Underground (Active) | Donetsk |  |  |  | Private | Donbass Fuel-Energy Company, LLC (DTEK)
Ukraine | Krasnoarmeiskaya Zapadnaya Combined Heat and Power (CHP) Project | Operational | 2008 |  | Combined Heat and Power | [5 empty] | 353455 | Krasnoarmeiskaya Zapadnaya |  | Underground (Active) | Donetsk |  |  |  | Private
Ukraine | M.P. Barakov Mine Heating, Cooling, Flaring Project | Operational | 2011 | 1 KGUU-5/8 flare proposed. | Direct Thermal | boiler; Heating or Cooling; flaring | [5 empty] | M.P. Barakov Mine | Private mine in Luhansk coal basin. Primary contact: Dr. M. Brinkmann - ghg-DOE@jpn.tuv.com Mine owner: JSC “Krasnodoncoal” | Underground (Active) | Luhansk |  |  |  | Private |  |  |  |  | Longwall
Ukraine | Sukhodilska-Skhidna Boiler Fuel #2 Project | Operational | 2008 |  | Direct Thermal | KE 10/14 CMM fired boiler |  |  | 10 |  | 31030 | Sukhodilska-Skhidna | The Ukrainian name of the Mine is Sukhodilska-Skhidna Mine and in Russian Sukhodolskaya-Vostochnaya. The Russian name is used in connection with a JI PPD project involving flaring. The flaring project entry can be found under the Russian name. | Surface | Luhansk |  |  |  | Unknown
Ukraine | Zasyadko Combined Heat and Power (CHP) Project | Operational | 2006 | General Electric supplied Jenbacher "LeanOx" Gas Engines (total capacity 75MWel) to the Zasyadko mine, which burn CMM to generate electrical power (used on site), along with generating heat to replace existing boilers. Four sites: Vostochnaya, Yakovlevskaya, Grigoryevskaya, and Centralnaya. 12 CHP units at Vostochnaya currently operating (2010). 12 more planned for Yakpvlevskaya. | Combined Heat and Power | 12 CHP generation modules, each with 3.035 MW capacity. |  |  | 36.42 | MW-Electric | 676899 | Zasyadko |  | Underground (Active) | Donetsk |  |  |  | Private
Ukraine | Zasyadko Vehicle Fuel Project | Operational | 2004 | Four sites: Vostochnaya, Yakovlevskaya, Grigoryevskaya, and Centralnaya. First gas compression plant was installed in 2004 at Vostachnaya. A total of 5 stations planned. CMM to replace diesel and gasoline in mine vehicles. Five gas filling compression plants manufactured by Sumygazmash. Gas collecting tanks to be built at Vostochnaya and Grigoryevskaya (18,000 m3 and 5,000-6,000 m3 respectively). | Gas to CNG | [5 empty] | 30557 | Zasyadko |  | Underground (Active) | Donetsk |  |  |  | Private
United Kingdom | Annesley Bentinck Colliery Power Generation Project | Operational | 2001 |  | Power Generation | Internal combustion engine (3 at 3.5 MW each) |  |  | 10.5 | MW-Electric |  | Annesley Bentinck Colliery |  | Abandoned mine | Nottinghamshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Bentley Power Generation Project | In Development | 2004 |  | Power Generation | heat exchanger |  |  | 5 |  |  | Bentley |  | Abandoned mine | South Yorkshire |  |  |  | Unknown
United Kingdom | Bevercotes Power Generation Project | Operational | 2004 |  | Power Generation |  |  |  | 4 | MW-Electric | 65143 | Bevercotes |  | Abandoned mine | Nottinghamshire |  |  |  | Unknown
United Kingdom | Brodsworth Power Generation Project | Operational | 2006 |  | Power Generation | 4x 2MWe CAT 3520 generating sets |  |  | 5 | MW-Electric | 73367 | Brodsworth |  | Abandoned mine | Yorkshire |  |  |  | Unknown
United Kingdom | Frickley Power Generation Project | Operational | 2006 |  | Power Generation | 4x 2MWe CAT 3520 generating sets |  |  | 5 | MW-Electric | 73367 | Frickley |  | Abandoned mine | Yorkshire |  |  |  | Unknown
United Kingdom | Grimethorpe Power Generation Project | Operational | 2006 |  | Power Generation | 4x 2MWe CAT 3520 generating sets |  |  | 5 | MW-Electric | 73367 | Grimethorpe |  | Abandoned mine | Yorkshire |  |  |  | Unknown
United Kingdom | Harworth Colliery Power Generation Project | Operational | 2007 | Gas engines installed to replace inefficient gas turbines | Power Generation |  |  |  | 7 | MW-Electric | 103798 | Harworth Colliery | Mothballed; being investigated by UK Coal for reopening | Abandoned mine | Nottinghamshire |  |  |  | Private | UK Coal
United Kingdom | Hickeleton Colliery Power Generation Project | Operational | 2001 |  | Power Generation | Internal combustion engine |  |  | 5.5 | MW-Electric |  | Hickeleton Colliery |  | Abandoned mine | South Yorkshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Houghton Main Power Generation Project | Operational | 2006 |  | Power Generation | 4x 2MWe CAT 3520 generating sets |  |  | 5 | MW-Electric | 73367 | Houghton Main |  | Abandoned mine | Yorkshire |  |  |  | Unknown
United Kingdom | Kellingley Colliery Boiler Fuel Project | Operational | 2002 | This site also generates electricity. | Direct Thermal | 2x gas fire tube boiler (steam) | [5 empty] | Kellingley Colliery |  | Underground (Active) | North Yorkshire |  |  |  | Private | UK Coal
United Kingdom | Kellingley Colliery Heat Generation Project | Operational | 2012 |  | Combined Heat and Power | 2x HRSGs operating in CHP from gas engine exhaust to reduce direct boiler firing |  |  | 5 | MW-Electric | 81429 | Kellingley Colliery |  | Underground (Active) | North Yorkshire |  |  |  | Private | UK Coal
United Kingdom | Kellingley Colliery Power Generation Project | Operational | 2002 | The site also operates 2 gas fired tube boilers (steam). | Power Generation | 5 x 1.4 MW GE Jenbacher generator sets |  |  | 7 | MW-Electric |  | Kellingley Colliery |  | Underground (Active) | North Yorkshire |  |  |  | Private | UK Coal
United Kingdom | Maltby Colliery Boiler Fuel Project | Operational | 2002 | This site also generates electricity and operates flares. | Direct Thermal | 2 gas fire tube boilers (steam) | [5 empty] | Maltby Colliery | Mine closed in 2013. | Abandoned mine |  |  |  | South Yorkshire | Private | UK Coal
United Kingdom | Maltby Colliery Power Generation Project | Operational | 2002 | This site also used CMM as boiler fuel and operates flares. | Power Generation | 7x 1.4 MW gas engine generators |  |  | 9.9 | MW-Electric |  | Maltby Colliery | Mine closed in 2013. | Abandoned mine |  |  |  | South Yorkshire | Private | UK Coal
United Kingdom | Shirebrook Colliery Power Generation Project | Operational | 2000 |  | Power Generation | 5 x 1.9 MW GE Jenbacher generator sets |  |  | 9.71 | MW-Electric |  | Shirebrook Colliery |  | Abandoned mine | Derbyshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Silverdale Pipeline Injection Project | Operational | 1999 | 1.3 Mcf/day sold. Mine also sells gas to pipeline. | Gas Sales to Pipeline |  | 1.3 | Mcf/day |  |  |  | Silverdale |  | Abandoned mine | Staffordshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Silverdale Power Generation Project | Operational | 1999 | Mine also sells gas to pipeline. | Power Generation |  |  |  | 9 | kW-Thermal |  | Silverdale |  | Abandoned mine | Staffordshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Steetley Colliery Power Generation Project | Operational | 1999 |  | Power Generation | Internal combustion engine |  |  | 3 | MW-Electric |  | Steetley Colliery |  | Abandoned mine | Nottinghamshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Thoresby Colliery Power Generation Project | Operational | 2001 |  | Power Generation | 2 x 1.4 MW GE Jenbacher generator sets (2x JGC 420GS-S.L) |  |  | 2.83 | MW-Electric |  | Thoresby Colliery |  | Underground (Active) |  |  |  | Nottinghamshire | Private | UK Coal
United Kingdom | Warsop Power Generation Project | In Development | 2004 |  | Power Generation |  |  |  | 2 |  |  | Warsop |  | Abandoned mine | Nottinghamshire |  |  |  | Unknown
United Kingdom | Welbeck Colliery Power Generation Project | Operational | 2002 |  | Power Generation | 2 x 1.4 MW engines |  |  | 2.8 | MW-Electric |  | Welbeck Colliery | Mine closed in 2010. | Abandoned mine |  |  |  | Nottinghamshire | Private | UK Coal
United Kingdom | Wheldale Power Generation Project | Operational | 2002 |  | Power Generation | 5 x 2MWe GE Jenbacher generating sets |  |  | 10 | MW-Electric |  | Wheldale |  | Abandoned mine | Yorkshire |  |  |  | Unknown |  |  |  | Unknown | Unknown
United Kingdom | Whitwell Power Generation Project | In Development | 2004 |  | Power Generation |  |  |  | 2 |  |  | Whitwell |  | Abandoned mine | Derbyshire |  |  |  | Unknown
United States | Aberdeen Pipeline Project | Operational | 2008 |  | Gas Sales to Pipeline | [6 empty] | Aberdeen Mine |  | Abandoned mine | WTB |  |  | UT | Unknown | Blue Tip Energy |  |  | Unknown | Unknown
United States | Beckley Pocahontas Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Beckley Pocahontas Mine |  | Underground (Active) | CAB |  |  | WV | Private | ICG Beckley, LLC |  |  | Unknown | Unknown | Pre-MineSurface
United States | Blacksville No 2 Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Blacksville No 2 |  | Underground (Active) | NAB |  |  | WV | Private | Consolidation Coal Company |  |  | Unknown | Unknown | Gob/Goaf
United States | Blue Creek No 4 Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Jim Walter Resources Mine No.4 |  | Underground (Active) | WRB |  |  | AL | Private | Jim Walter Resources Inc |  |  |  |  | Pre-MineSurface; Gob/Goaf
United States | Blue Creek No 5 Mine Pipeline Project | Operational | 2007 |  | Gas Sales to Pipeline | [6 empty] | Blue Creek No 5 Mine |  | Abandoned mine | WRB |  |  | AL | Unknown | Black Warrior Methane |  |  | Unknown | Unknown
United States | Blue Creek No 7 Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Blue Creek No 7 Mine |  | Underground (Active) | WRB |  |  | AL | Private | Jim Walter Resources Inc |  |  |  |  | Pre-MineSurface; Gob/Goaf
United States | Buchanan Mine #1 Direct Thermal Project | Operational | ? |  | Direct Thermal | [6 empty] | Buchanan Mine #1 |  | Underground (Active) | CAB |  |  | VA | Private | Consolidation Coal Company |  |  | Unknown | Unknown | Pre-MineSurface; Gob/Goaf
United States | Buchanan Mine #1 Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Buchanan Mine #1 |  | Underground (Active) | CAB |  |  | VA | Private | Consolidation Coal Company |  |  | Unknown | Unknown | Pre-MineSurface; Gob/Goaf
United States | Cambria 33 Pipeline/ Electricity Project | Operational | 2008 | [8 empty] | Cambria 33 |  | Abandoned mine | NAB |  |  | PA | Unknown | Vessels Coal Gas, Inc. |  |  | Unknown | Unknown
United States | CDX Gas LLC - Buchanan, VA Pipeline Project | Operational | 1997 |  | Gas Sales to Pipeline | [6 empty] | CDX Gas LLC - Buchanan, VA | Site is comprised of Virginia Pocahontas 1, 2, 3, 4, 6, and 8 | Abandoned mine | CAB |  |  | VA | Unknown | CDX Gas LLC |  |  | Unknown | Unknown
United States | Consol No 9 Pipeline Project | Operational | 1997 |  | Gas Sales to Pipeline | [6 empty] | Consol No 9 |  | Abandoned mine | NAB |  |  | WV | Unknown |  |  |  | Unknown | Unknown
United States | Consol No. 20 Pipeline Project | Operational | 1997 |  | Gas Sales to Pipeline | [6 empty] | Consol No. 20 |  | Abandoned mine | NAB |  |  | WV | Unknown |  |  |  | Unknown | Unknown
United States | Cumberland Mine and Emerald Mine Pipeline Injection Project | Operational | 2005 |  | Gas Sales to Pipeline | [6 empty] | Cumberland Mine and Emerald Mine |  | Underground (Active) | Pennsylvania |  | Waynesburg | PA
United States | Elk Creek Mine Power Gen and Flare | Operational | 2012 | 1 Enclosed flare Part of integrated 3 MW CMM power project. Power project is operating as of Nov 2012. | Power Generation |  |  |  | 3 | MW-Electric |  | Elk Creek Mine |  | Underground (Active) | WTB |  |  | CO | Private | Oxbow Mining |  |  |  |  | Gob/Goaf
United States | Enlow Fork VAM Destruction Project | In Development | ? |  | VAM Destruction | [6 empty] | Enlow Fork Mine |  | Underground (Active) | NAB |  |  | PA |  | Consol Pennsylvania Coal Company |  |  |  |  | Pre-MineSurface
United States | Federal No 2 Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Federal No 2 |  | Underground (Active) | NAB |  |  | WV | Private | Eastern Associated Coal LLC |  |  | Unknown | Unknown | Gob/Goaf
United States | Gateway Mine Pipeline Project | Operational | 1999 |  | Gas Sales to Pipeline | [6 empty] | Gateway Mine |  | Abandoned mine | NAB |  |  | PA | Unknown | Mark Lydecker |  |  | Unknown | Unknown
United States | Golden Eagle Pipeline Project | Operational | 1997 |  | Gas Sales to Pipeline | [6 empty] | Golden Eagle |  | Abandoned mine | WTB |  |  | CO | Unknown | XTO |  |  | Unknown | Unknown
United States | Grayson Hill Energy Mines Mines Pipeline Project (pre-1972) | Operational | ? | [8 empty] | Grayson Hill Energy Mines |  | Abandoned mine | ILB |  |  | IL | Unknown | Grayson Hill Energy |  |  | Unknown | Unknown
United States | Ireland Mine Pipeline Project | Operational | 2003 |  | Gas Sales to Pipeline | [6 empty] | Ireland Mine |  | Abandoned mine | NAB |  |  | WV | Unknown | CDX Gas LLC |  |  | Unknown | Unknown
United States | Jim Walter Resources Mine No.4 VAM Destruction Project | Operational | 2009 |  | VAM Destruction | [6 empty] | Jim Walter Resources Mine No.4 |  | Underground (Active) | WRB |  |  | AL | Private | Jim Walter Resources Inc |  |  |  |  | Pre-MineSurface; Gob/Goaf
United States | Keyrock Energy Pipeline Project | Operational | 2002 |  | Gas Sales to Pipeline | [6 empty] | Keyrock Energy Mines | Site is comprised of: Old Ben #21, #24, #25, and #26; Orient #3 and #6; and four mines (pre-1972) | Abandoned mine | ILB |  |  | IL | Unknown | Keyrock Energy |  |  | Unknown | Unknown
United States | Kings Station Pipeline/ Electricity Project | Operational | 2001 |  | Gas Sales to Pipeline | [6 empty] | Kings Station Mine |  | Abandoned mine | ILB |  |  | IN | Unknown | Roy Farmer |  |  | Unknown | Unknown
United States | McElroy Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | McElroy Mine |  | Underground (Active) | NAB |  |  | WV | Private | McElroy Coal Company |  |  |  |  | In-Mine Borehole
United States | McElroy Mine VAM Destruction Project | In Development | 2011 | [8 empty] | McElroy Mine |  | Underground (Active) | NAB |  |  | WV | Private | McElroy Coal Company |  |  |  |  | In-Mine Borehole
United States | Nelms #1 Mine Pipeline Project | Operational | 1993 |  | Gas Sales to Pipeline | [6 empty] | Nelms #1 Mine |  | Abandoned mine | NAB |  |  | OH | Unknown | CBM Ohio |  |  | Unknown | Unknown
United States | Noumenon Corp.Mines Pipeline Project | Operational | 1997 |  | Gas Sales to Pipeline | [6 empty] | Noumenon Corp. Mines | Site is comprised of: Arkwright #1, Osage #3, and Blacksville #1 | Abandoned mine | NAB |  |  | WV | Unknown | Noumenon Corp. |  |  | Unknown | Unknown
United States | Oak Grove Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Oak Grove Mine |  | Underground (Active) | WRB |  |  | AL | Private | Oak Grove Resources LLC |  |  | Unknown | Unknown | Pre-MineSurface; Gob/Goaf
United States | Pinnacle Mine Flare | In Development | ? | Mobile enclosed flare to destroy CMM from gob wells. 072313 - waiting on approval from MSHA. Pinnacle mine has long history of CMM pipeline sales | Gas Sales to Pipeline | [6 empty] | Pinnacle Mine | The Pinnacle Complex, which includes the Pinnacle and Green Ridge mines, is located approximately 30 miles SW of Beckley. Primary access to the Pinnacle mine is by shaft, while a drift entry is used at Green Ridge. Pinnacle utilizes continuous miners and a longwall plow system, and Green Ridge utilizes only continuous miners. Both facilities share preparation, processing and load-out facilities. | Underground (Active) | CAB |  |  | WV | Private | Pinnacle Mining Company |  |  |  |  | Gob/Goaf
United States | Pinnacle Mine Pipeline Sales Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Pinnacle Mine | The Pinnacle Complex, which includes the Pinnacle and Green Ridge mines, is located approximately 30 miles SW of Beckley. Primary access to the Pinnacle mine is by shaft, while a drift entry is used at Green Ridge. Pinnacle utilizes continuous miners and a longwall plow system, and Green Ridge utilizes only continuous miners. Both facilities share preparation, processing and load-out facilities. | Underground (Active) | CAB |  |  | WV | Private | Pinnacle Mining Company |  |  |  |  | Gob/Goaf
United States | Road Fork #51 Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Road Fork #51 Mine |  | Underground (Active) | CAB |  |  | WV | Private | Spartan Mining Co., Inc. |  |  | Unknown | Unknown | Pre-MineSurface
United States | Shoal Creek Mine Gas Sales to Pipeline Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | Shoal Creek Mine |  | Underground (Active) | WRB |  |  | AL | Private | Drummond Company Inc |  |  | Unknown | Unknown | Gob/Goaf
United States | Solvay Trona Mine Flare | Operational | 2010 | 1 ABUTEC enclosed flare Initial operation as sole mitigation technology; In 2012 began using drained gas for heating; Now operating as part of integrated project | Direct Thermal | [6 empty] | Solvay Trona Mine | Mines Trona (not coal). Operated by Solvay Chemicals. | Underground (Active) | Green River |  |  | Wyoming
United States | Valley Camp 3 Pipeline Project | Operational | 2007 |  | Gas Sales to Pipeline | [6 empty] | Valley Camp 3 Mine |  | Abandoned mine | NAB |  |  | WV | Unknown |  |  |  | Unknown | Unknown
United States | West Elk Mine Project | Operational | ? |  | Gas Sales to Pipeline | [6 empty] | West Elk Mine |  | Underground (Active) | WTB |  |  | CO | Private | Mountain Coal Company, L.L.C. |  |  | Unknown | Unknown | Gob/Goaf