## READ ME
Instructions
This simple Excel workbook supplements the EPA WaterSense Mulifamily Housing Water Assessment Worksheets.
The Water Assessment Worksheets is an editable Word document with worksheets that allow a facility manager or facility management personnel to inventory multifamily property information. Collecting this information may help establish an EPA Water Score in the ENERGY STAR Portfolio. Additionally, tracking meter data and inventory existing equipment will help identify and prioritize potential areas for improved water efficiency.
This workbook mirrors some of the tables in the Water Assessment Worksheets and may be of use by facilities that have assets that exceed the number of rows made available in the tables in the Word document.

## Worksheet 3-Bathrooms
Toilets |  |  |  | Lavatory Faucets |  |  | Showerheads |  |  | Bath&Shower Diverters
Location (e.g. floor, unit #) | Toilet Type (tank-type or flushometer-valve) | Number Installed | Existing Flush Volume (gallons per flush [gpf]) | Location (e.g. floor, unit #) | Number Installed | Existing Flow Rate (gallons per minute [gpm]) | Location (e.g. floor, unit #) | Number Installed | Existing Flow Rate (gpm) | Location (e.g. floor, unit #) | Number Installed | Existing Leak Rate (gpm)
add rows as needed |  |  |  | add rows as needed |  |  | add rows as needed |  |  | add rows as needed

## Worksheet 4-Kitchen and Laundry
Kitchen Faucets |  |  | Dishwashers | [6 empty] | Clothes Washers
Location (e.g. floor, unit #) | Number Installed | Existing Flow Rate (gpm) | Location (e.g. floor, unit #) | Manufactuer | Model Number | Gallons per Cycle (gpc) | Number Installed | ENERGY STAR Certified? (Y/N) | Approx Age (years) | Location (e.g. floor, unit #) | Type (top or front-load) | Manufactuer | Model Number | IWF or Gallons per Load | Number Installed | ENERGY STAR Certified? (Y/N) | Approx Age (years)
add rows as needed |  |  | add rows as needed | [6 empty] | add rows as needed

## Worksheet 5 - Irrigation Zone
Irrigation/Landscape Meter Reading Log
Irrigation Zone (if applicable) | Date | Meter/Submeter Reading | Units
add rows as needed

## Worksheet 6 - Pools
Pool Meter Reading Log
Date | Meter/Submeter Reading | Units
add rows as needed

## Worksheet 7 - HVAC & Mechanical
Single-Pass Cooling Assessment | [6 empty] | Cooling Tower or Boiler Meter Reading Log
--Operating Schedule--
Location | Equipment Cooled | Flow rate (gpm) | Minutes/Hour | Hours/Day | Days/Week | Weeks/Year | Date | Make-Up Meter Reading | Units | Blowdown Meter Reading | Units
add rows as needed | [6 empty] | add rows as needed

## Appendix A
Summary of Needed Repairs and Replacement Items
Item Number | Location | Item Name | Reason for Needed Repair/ Replacement | Estimated Repair/ Replacement Cost ($) | Repair Timeframe | Completion Date
Example | Unit 201 | Aerator in master bathroom. | Aerator is missing. Purchase WaterSense labeled faucet aerator flowing at 1.5 gpm. | 5 | Immediate | 2017-06-30
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
add rows as needed