## Sheet1
Site Identifying Information |  |  |  |  | Dates |  | Material Released |  |  | Contaminants |  | Unit Type | Media affected | Description of Release |  | Regulatory Implications | [5 empty] | Damages | Data sources
State | County | City | Company | Facility | Date Release Began | Date Release Ended | Waste (includes only used, spent, or waste materials) | Amount released | Units | Contaminant Group | Contaminants |  |  | Cause | Notes | Release Incident Evaluation | Permitted well or waste management unit | Illegal Activity or Non-Compliance with Existing Regs | Act of God | Equipment Failure or Human Error | Notes on regulatory implications
Release Incidents Meeting Criteria
Texas | N/A | Midway | N/A | N/A | 2016 | 2016 | Wastes from flooding of oil wells and storage tanks | N/A | N/A | N/A | N/A | Well | Surface Water, Soil | Flooding, tank failures | -- | Yes | N/A | No | Yes | Flooded extraction wells and storage tanks | -- | Oily sheen on river, contaminated soil. "Free oil picked up and berm was pressure washed. Soil inside firewall is being remediated…Remediation of tr-line area of pecan tress near well 700 is finished." | Compendium; https://www.elpasotimes.com/story/news/2016/04/30/flooding-sweeps-oil-chemicals-into-rivers/83671348/
California | Kern | N/A | Edison | Edison Oil Field | 1960 | 2015 | Oil field wastewater | 500000 | gallons/day | Inorganics | Boron, chloride | Wastewater disposal in evaporation ditches and spray irrigation | Groundwater | Seepage from disposal unit, spray irrigation | -- | Yes | Spray irrigation unpermitted, no information about whether evaporation ditches are permitted | Valley Water was advised in the 1990s to halt spraying operations, but it was not until 2013 that the regional water board began to clamp down | No | No | -- | Five of six monitoring wells in the 94-acre waste site showed high levels of salt, boron, and chloride, but it is not known how far and fast the contaminated plume has traveled. | Compendium; http://www.latimes.com/local/california/la-me-oil-waste-pits-20150731-story.html
Pennsylvania | Tioga | Pittsburgh | EQT Corp | EQT Corp | 2011 | 2012 | Wastewater | N/A | Wastewater impoundment | Inorganics | Chloride "...contamination is present at high enough levels that this water is still being collected and transported off-site for proper treatment and disposal. Groundwater also continues to show contamination present above standards…" | Surface impoundment | Groundwater, surface water | holes in synthetic liner | 75-100 holes were identified in the liner after it was emptied. Monitoring wells and seep samples showed elevated conductivity and chloride | Yes | Yes | Yes | No | Yes | Initially the impoundment was only permitted for the storage of freshwater and EQT used it to store flowback water. PADEP repermited for wastewater. | Pennsylvania Department of Environmental Protection won a $4.5 million dollar penalty. Elevated levels of chloride in groundwater monitoring wells and nearby spring, and Rock Run. "Trees and shrubs along the discharge flow path also were severely impacted....significant areas of stressed vegetation around the well pad in all directions...EQT eventually removed the liner and excavated contaminated soil ...contamination is present at high enough levels that this water is still being collected and transported off-site for proper treatment and disposal. Groundwater also continues to show contamination present above standards...The department incurred over $112,296 in costs and expenses as a result of its investigation." | https://www.chamberlitigation.com/sites/default/files/cases/files/16161616/Complaint%20in%20Action%20for%20Declaratory%20Judgment%20--%20EQT%20Production%20Co.%20v.%20Dept.%20of%20Environmental%20Protection%20%28Commonwealth%20Court%20of%20Pennsylvania%29.pdf EQT Corp.'s $1.14 Million Fine Upheld for Fracking Fluid Leak: https://news.bloombergenvironment.com/environment-and-energy/eqt-corps-114-million-fine-upheld-for-fracking-fluid-leak;Pennsylvania DEP Seeks $4.5 Million Penalty from EQT Production Company for Major Pollution Incident in Tioga County https://www.prnewswire.com/news-releases/pennsylvania-dep-seeks-45-million-penalty-from-eqt-production-company-for-major-pollution-incident-in-tioga-county-278371501.html https://responsibledrillingalliance.org/freshwater-impoundment-leaked-flowback/
Pennsylvania | Washington | -- | Range Resources-Appalachia, LLC | Hopewell Township 12 | 2013 | 2013 | Reuse water | 30 | Barrels | Inorganics | Chloride | Surface impoundment | soil, groundwater | Leak | Failed to properly control brine fluid. Released at a pump/manifold structure when a valve malfunctioned. Elevated chloride levels in the leak detection zone indicates potential soil and groundwater contamination. | Yes | Yes | Yes | No | Yes | Failed to install and implement groundwater monitoring program designed to detect any leakage from the impoundment as required by permit. | Contamination of soil and groundwater. Contaminant levels not available. Cleanup ordered by consent order. | Range Resources-Appalachia, LLC Consent Order and Agreement, September 17, 2014. http://files.dep.state.pa.us/RegionalResources/SWRO/SWROPortalFiles/Range(COA)(Final%20Signed%209-17-2014).pdf
Pennsylvania | Washington | -- | Range Resources-Appalachia, LLC | Amwell Township 15 | 2013 | 2014 | Frac fluid | 25 | Barrels | Inorganics | Chloride | Surface impoundment | Soil | Leak during pumping, discharge through hole in liner | 2013 - 25 barrels of frac fluid discharged onto ground while pumping frac fluids from holding tanks to centralized impoundment 2014 - diluted frac fluid dischsrged from impoundment through hole in liner | Yes | Yes | No | No | Yes | -- | Contamination of soil . Contaminant levels not available. Cleanup ordered by consent order. | Range Resources-Appalachia, LLC Consent Order and Agreement, September 17, 2014. http://files.dep.state.pa.us/RegionalResources/SWRO/SWROPortalFiles/Range(COA)(Final%20Signed%209-17-2014).pdf
Pennsylvania | Washington | -- | Range Resources-Appalachia, LLC | Chartiers Township 16 | 2012 | 2012 | Frac fluid | N/A | N/A | Inorganics, metals | Chloride, total dissolved solids, manganese | Surface impoundment | Soil | Hole in liner of surface impoundment | -- | Yes | Yes | No | No | Yes | -- | Contamination of soil. Contaminant levels not available. Cleanup ordered by consent order. | Range Resources-Appalachia, LLC Consent Order and Agreement, September 17, 2014. http://files.dep.state.pa.us/RegionalResources/SWRO/SWROPortalFiles/Range(COA)(Final%20Signed%209-17-2014).pdf
Pennsylvania | Washington | -- | Range Resources-Appalachia, LLC | Mount Pleasant Township 17 | 2014 | 2014 | Frac fluid, brine, flowback water, treated fluids, production fluids | N/A | N/A | N/A | N/A | Surface impoundment | Surface Water | Discharge to surface water through temporary water line | Illegal discharge to surface water | Yes | Yes | Yes | No | No | Illegal discharge of fluids to nearby stream. | Caused erosion and sediment to enter nearby stream. | Range Resources-Appalachia, LLC Consent Order and Agreement, September 17, 2014. http://files.dep.state.pa.us/RegionalResources/SWRO/SWROPortalFiles/Range(COA)(Final%20Signed%209-17-2014).pdf
Pennsylvania | Washington | -- | Range Resources-Appalachia, LLC | Yeager | 2014 | 2014 | Flowback, frac fluids, or similar fluids stored for use and/or reuse | N/A | N/A | Inorganics | Chloride, total dissolved solids | Surface impoundment | soil, groundwater | Unspecified release from impoundments. Chloride and total dissolved solids elevated in soils beneath impoundment liner and in monitoring wells. | Unspecified discharge | Yes | Yes | N/A | N/A | N/A | -- | Elevated levels of chloride and total dissolved solids in soil and groundwater monitoring wells. Contaminant levels not available. | Range Resources-Appalachia, LLC Consent Order and Agreement, September 17, 2014. http://files.dep.state.pa.us/RegionalResources/SWRO/SWROPortalFiles/Range(COA)(Final%20Signed%209-17-2014).pdf
Potential Release Incidents with Missing Information
North Dakota | N/A | N/A | N/A | N/A | Multiple spills analyzed. "Brine spills parallel the rise in unconventional oil production since 2007" | N/A | Oil and gas wastewater (OGW) | N/A | N/A | NORM, Total dissolved solids | Na, Cl, Br, Se, V, Pb, NH4, 228Ra + 226Ra | N/A | Inorganic water quality of Surface water, and NORM levels in soil/sediment | "Mostly infrastructure failures" usually during transfer | -- | Potential - some spills refer to pipeline failure, which is outside of scope | N/A | N/A | N/A | N/A | -- | Trace metal levels exceeded national ecological and drinking water regulations for multiple elements in some spill sites. Environmentally toxic selenium was measured in the majority of spill waters at elevated concentrations up to 172 μg/L, 35 times the National Recommended Criterion Continuous Concentration (CCC) for freshwater aquatic life (5 μg/L). Likewise, high levels of NH4 in spill waters (up to 42 mg/L) far exceed the US Environmental Protection Agency (EPA) acute and chronic ambient water quality criteria for protecting freshwater organisms from potential effects of Total Ammonium Nitrogen (TAN). Additionally, certain elements were measured at concentrations above the National Maximum Contaminant Level (MCL) Drinking Water (Se, Tl, Ra) and Secondary Drinking Water (Cl, Fe, Mn) standards in some spill waters. The relatively long half-life of 226Ra (∼1600 years) suggests that Ra contamination in spill sites will remain for thousands of years | Brine Spills Associated with Unconventional Oil Development in North Dakota: https://pubs.acs.org/doi/abs/10.1021/acs.est.5b06349
Colorado | Weld | N/A | N/A | N/A | No year given - published in 2014 | N/A | Hydraulic fracturing and/or flowback fluids | N/A | N/A | BTEX components | Benzene, toluene, ethylbenzene, and xylene | N/A | Surface Water and Ground Water | N/A | -- | Potential - but missing date | N/A | N/A | N/A | N/A | -- | Elevated levels of benzene, toluene, ethylbenzene, and xylene (BTEX) components in affected groundwater. Following remediation of the spills, a significant reduction (84%) was observed in BTEX levels in the affected wells | A Critical Review of the Risks to Water Resources from: https://pubs.acs.org/doi/10.1021/es405118y Unconventional Shale Gas Development and Hydraulic Fracturing in the United States
Pennsylvania | N/A | Pittsburgh | N/A | N/A | No year given - published in 2014 | N/A | Wastewater | N/A | N/A | N/A | Bromide, THM | Disposal - type not specified | N/A | Linked directly to the disposal and ineffective removal of bromide from wastewater | -- | Potential - but missing date | N/A | N/A | N/A | N/A | -- | In spite of a 2011 ban on the disposal of shale gas wastewater to streams in PA, evidence for the Marcellus wastewater disposal based on isotopic ratios and elevated Br levels collected from the Clarion River after May 2011 was suggested to reflect either illegal dumping or incomplete implementation of the ban where a portion of unconventional wastewater is still being transferred to brine treatment facilities. | A Critical Review of the Risks to Water Resources from: https://pubs.acs.org/doi/10.1021/es405118y Unconventional Shale Gas Development and Hydraulic Fracturing in the United States
Pennsylvania | N/A | Warren | N/A | N/A | 2008 | 2011 (references a "three year boom", but no exact start/stop year) | Wastewater | 2.9 billion | Liters | N/A | N/A | Disposal site | Surface Water | N/A | -- | Potential - not clear whether release continued through 2012 | N/A | N/A | N/A | N/A | -- | Significantly elevated concentrations of strontium in the shells of freshwater mussels | Fracking wastewater accumulation found in freshwater mussels' shells: https://news.psu.edu/story/543054/2018/10/22/research/fracking-wastewater-accumulation-found-freshwater-mussels-shells
North Dakota | Mountrail | N/A | Basic Energy Services | N/A | 2018 | 2018 | Produced water | 21000 | Gallons | N/A | N/A | Saltwater disposal facility | N/A | Broken pipe | -- | Potential - but the broken pipe might mean it is outside our jurisdiction | N/A | N/A | N/A | Yes | -- | Affected farmland | Produced water spill affects farmland: https://www.usnews.com/news/best-states/north-dakota/articles/2018-09-18/produced-water-spill-impacts-farmland-in-mountrail-county