## 15 ppm S Precision
15 ppm Diesel Sulfur Precision Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method:
Organization ID No. (as in ASTM D XXXX-XX):
Laboratory Identification
Laboratory Name:
Laboratory Street Address:
Laboratory City:
Laboratory State:
Laboratory Zip code:
Laboratory Contact Person:
Laboratory Contact Phone Number
Laboratory Contact Facsimile Number
Laboratory Contact E-mail Address
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.)
15 ppm Sulfur Precision Criterion - a standard deviation less than 0.72 ppm, computed from the results of a minimum of 20 repeat tests made over 20 days on samples taken from a single homogenous commerically available diesel fuel with a sulfur range of 5 to 15 ppm. The 20 results must be a series of tests with a sequential record of the analyses and no omissions. A lab facility may exclude a given sample or test result only if the exclusion is for a valid reason under good laboratory practices and it maintains records regarding the sample and test results and the reason for excluding them.
Is 15 ppm Sulfur Precision Criterion Met? | REQUIRED DATA MISSING
standard deviation | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
DATA REQUIRED IN CELL D20
DATA REQUIRED IN CELL D21
DATA REQUIRED IN CELL D22
DATA REQUIRED IN CELL D23
DATA REQUIRED IN CELL D24
DATA REQUIRED IN CELL D25
DATA REQUIRED IN CELL D26
DATA REQUIRED IN CELL D27
DATA REQUIRED IN CELL D28
DATA REQUIRED IN CELL D29
DATA REQUIRED IN CELL D30
DATA REQUIRED IN CELL D31
DATA REQUIRED IN CELL D32
DATA REQUIRED IN CELL D33
DATA REQUIRED IN CELL D34
DATA REQUIRED IN CELL D35
DATA REQUIRED IN CELL D36
DATA REQUIRED IN CELL D37
DATA REQUIRED IN CELL D38
DATA REQUIRED IN CELL D39

## 15 ppm S Accuracy
15 ppm Diesel Sulfur Accuracy Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method: | 0
Organization ID No. (as in ASTM D XXXX-XX): | 0
Laboratory Identification
Laboratory Name: | 0
Laboratory Street Address: | 0
Laboratory City: | 0
Laboratory State: | 0
Laboratory Zip code: | 0
Laboratory Contact Person: | 0
Laboratory Contact Phone Number | 0
Laboratory Contact Facsimile Number | 0
Laboratory Contact E-mail Address | 0
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.)
1 to 10 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 1 to 10 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 0.54 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 10 to 20 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 10 to 20 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 0.54 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 1-10 ppm |  |  |  |  | Accuracy Criterion for 10-20 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 1-10 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING |  |  |  | Is 10-20 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING
Arithmetic Average (ppm) | REQUIRED DATA MISSING |  |  |  | Arithmetic Average (ppm) | REQUIRED DATA MISSING
Vendor Name of Gravimetric Standard |  |  |  |  | Vendor Name of Gravimetric Standard
Lot Identification Number of Gravimetric Standard |  |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard |  |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm) |  |  |  | ARV TOO LOW IN CONCENTRATION | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) |  |  |  | ARV TOO LOW IN CONCENTRATION
Difference between Arithmetic Average and ARV of Gravimetric Standard | REQUIRED DATA MISSING |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
|  |  |  | DATA REQUIRED IN CELL D26 |  |  |  |  | DATA REQUIRED IN CELL J26
|  |  |  | DATA REQUIRED IN CELL D27 |  |  |  |  | DATA REQUIRED IN CELL J27
|  |  |  | DATA REQUIRED IN CELL D28 |  |  |  |  | DATA REQUIRED IN CELL J28
|  |  |  | DATA REQUIRED IN CELL D29 |  |  |  |  | DATA REQUIRED IN CELL J29
|  |  |  | DATA REQUIRED IN CELL D30 |  |  |  |  | DATA REQUIRED IN CELL J30
|  |  |  | DATA REQUIRED IN CELL D31 |  |  |  |  | DATA REQUIRED IN CELL J31
|  |  |  | DATA REQUIRED IN CELL D32 |  |  |  |  | DATA REQUIRED IN CELL J32
|  |  |  | DATA REQUIRED IN CELL D33 |  |  |  |  | DATA REQUIRED IN CELL J33
|  |  |  | DATA REQUIRED IN CELL D34 |  |  |  |  | DATA REQUIRED IN CELL J34
|  |  |  | DATA REQUIRED IN CELL D35 |  |  |  |  | DATA REQUIRED IN CELL J35

## 500 ppm S Precision
500 ppm Diesel Sulfur Precision Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method:
Organization ID No. (as in ASTM D XXXX-XX):
Laboratory Identification
Laboratory Name:
Laboratory Street Address:
Laboratory City:
Laboratory State:
Laboratory Zip code:
Laboratory Contact Person:
Laboratory Contact Phone Number
Laboratory Contact Facsimile Number
Laboratory Contact E-mail Address
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.)
500 ppm Sulfur Precision Criterion - a standard deviation less than 9.68 ppm, computed from the results of a minimum of 20 repeat tests made over 20 days on samples taken from a single homogenous commerically available diesel fuel with a sulfur range of 200 to 500 ppm. The 20 results must be a series of tests with a sequential record of the analyses and no omissions. A lab facility may exclude a given sample or test result only if the exclusion is for a valid reason under good laboratory practices and it maintains records regarding the sample and test results and the reason for excluding them.
Is 500 ppm Sulfur Precision Criterion Met? | REQUIRED DATA MISSING
standard deviation | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
DATA REQUIRED IN CELL D20
DATA REQUIRED IN CELL D21
DATA REQUIRED IN CELL D22
DATA REQUIRED IN CELL D23
DATA REQUIRED IN CELL D24
DATA REQUIRED IN CELL D25
DATA REQUIRED IN CELL D26
DATA REQUIRED IN CELL D27
DATA REQUIRED IN CELL D28
DATA REQUIRED IN CELL D29
DATA REQUIRED IN CELL D30
DATA REQUIRED IN CELL D31
DATA REQUIRED IN CELL D32
DATA REQUIRED IN CELL D33
DATA REQUIRED IN CELL D34
DATA REQUIRED IN CELL D35
DATA REQUIRED IN CELL D36
DATA REQUIRED IN CELL D37
DATA REQUIRED IN CELL D38
DATA REQUIRED IN CELL D39

## 500 ppm S Accuracy
500 ppm Diesel Sulfur Accuracy Demonstration [DLQ001:OMB # 2060-03008 Expires 11/30/2022]
Test Method
Name of Method: | 0
Organization ID No. (as in ASTM D XXXX-XX): | 0
Laboratory Identification
Laboratory Name: | 0
Laboratory Street Address: | 0
Laboratory City: | 0
Laboratory State: | 0
Laboratory Zip code: | 0
Laboratory Contact Person: | 0
Laboratory Contact Phone Number | 0
Laboratory Contact Facsimile Number | 0
Laboratory Contact E-mail Address | 0
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.)
100 to 200 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 100 to 200 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 7.26 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 400 to 500 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 400 to 500 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 7.26 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 100-200 ppm |  |  |  |  | Accuracy Criterion for 400-500 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 100-200 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING |  |  |  | Is 400-500 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING
Arithmetic Average (ppm): | REQUIRED DATA MISSING |  |  |  | Arithmetic Average (ppm) | REQUIRED DATA MISSING
Vendor Name of Gravimetric Standard: |  |  |  |  | Vendor Name of Gravimetric Standard
Lot Identification Number of Gravimetric Standard: |  |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard |  |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm): |  |  |  | ARV TOO LOW IN CONCENTRATION | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) |  |  |  | ARV TOO LOW IN CONCENTRATION
Difference between Arithmetic Average and ARV of Gravimetric Standard: | REQUIRED DATA MISSING |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
|  |  |  | DATA REQUIRED IN CELL D26 |  |  |  |  | DATA REQUIRED IN CELL J26
|  |  |  | DATA REQUIRED IN CELL D27 |  |  |  |  | DATA REQUIRED IN CELL J27
|  |  |  | DATA REQUIRED IN CELL D28 |  |  |  |  | DATA REQUIRED IN CELL J28
|  |  |  | DATA REQUIRED IN CELL D29 |  |  |  |  | DATA REQUIRED IN CELL J29
|  |  |  | DATA REQUIRED IN CELL D30 |  |  |  |  | DATA REQUIRED IN CELL J30
|  |  |  | DATA REQUIRED IN CELL D31 |  |  |  |  | DATA REQUIRED IN CELL J31
|  |  |  | DATA REQUIRED IN CELL D32 |  |  |  |  | DATA REQUIRED IN CELL J32
|  |  |  | DATA REQUIRED IN CELL D33 |  |  |  |  | DATA REQUIRED IN CELL J33
|  |  |  | DATA REQUIRED IN CELL D34 |  |  |  |  | DATA REQUIRED IN CELL J34
|  |  |  | DATA REQUIRED IN CELL D35 |  |  |  |  | DATA REQUIRED IN CELL J35

## EX - 15 ppm S Precision
15 ppm Diesel Sulfur Precision Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method: | Total Sulfur in Liquid Aromatic Hydrocarbons and Their Derivatives by Oxidative and Electrochemical Detection
Organization ID No. (as in ASTM D XXXX-XX): | ASTM D 6428-99
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.) |  |  |  | No
15 ppm Sulfur Precision Criterion - a standard deviation less than 0.72 ppm, computed from the results of a minimum of 20 repeat tests made over 20 days on samples taken from a single homogenous commerically available diesel fuel with a sulfur range of 5 to 15 ppm. The 20 results must be a series of tests with a sequential record of the analyses and no omissions. A lab facility may exclude a given sample or test result only if the exclusion is for a valid reason under good laboratory practices and it maintains records regarding the sample and test results and the reason for excluding them.
Is 15 ppm Sulfur Precision Criterion Met? | PASSED
standard deviation | 0.039203
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2004-10-26 | 8:00 | 6.003 | OK
######### | 2004-10-27 | 8:01 | 6.021 | OK
######### | 2004-10-28 | 8:20 | 6.043 | OK
######### | 2004-10-29 | 8:23 | 5.993 | OK
######### | 2004-10-30 | 9:00 | 6.003 | OK
######### | 2004-11-01 | 9:10 | 6.092 | OK
######### | 2004-11-02 | 9:20 | 6.101 | OK
######### | 2004-11-03 | 9:30 | 6.045 | OK
######### | 2004-11-05 | 9:40 | 6.003 | OK
######### | 2004-11-06 | 9:50 | 6.021 | OK
######### | 2004-11-07 | 10:00 | 5.989 | OK
######### | 2004-11-08 | 10:10 | 5.962 | OK
######### | 2004-11-09 | 10:20 | 6.01 | OK
######### | 2004-11-10 | 10:30 | 6.032 | OK
######### | 2004-11-11 | 10:40 | 6.053 | OK
######### | 2004-11-12 | 10:50 | 6.05 | OK
######### | 2004-11-13 | 11:00 | 5.989 | OK
######### | 2004-11-14 | 11:10 | 6.033 | OK
######### | 2004-11-15 | 11:20 | 5.939 | OK
######### | 2004-11-16 | 11:30 | 6.042 | OK

## EX - 15 ppm S Accuracy
15 ppm Diesel Sulfur Accuracy Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method: | Total Sulfur in Liquid Aromatic Hydrocarbons and Their Derivatives by Oxidative and Electrochemical Detection
Organization ID No. (as in ASTM D XXXX-XX): | ASTM D 6428-99
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.) | [5 empty] | No
1 to 10 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 1 to 10 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 0.54 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 10 to 20 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 10 to 20 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 0.54 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 1-10 ppm |  |  |  |  | Accuracy Criterion for 10-20 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 1-10 ppm Sulfur Accuracy Criterion Met? | PASSED |  |  |  | Is 10-20 ppm Sulfur Accuracy Criterion Met? | PASSED
Arithmetic Average (ppm) | 7.9485 |  |  |  | Arithmetic Average (ppm) | 13.9075
Vendor Name of Gravimetric Standard | NIST |  |  |  | Vendor Name of Gravimetric Standard | NIST
Lot Identification Number of Gravimetric Standard | ALDS45678 |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard | ALDS53478 |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm) | 8 |  |  | OK | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) | 13.5 |  |  | OK
Difference between Arithmetic Average and ARV of Gravimetric Standard | 0.0515 |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | 0.4075
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2005-01-13 | 8:00 | 7.341 | OK | ######### | 2005-01-14 | 8:00 | 13.239 | OK
######### | 2005-01-13 | 8:30 | 7.562 | OK | ######### | 2005-01-14 | 8:30 | 14.231 | OK
######### | 2005-01-13 | 9:00 | 7.894 | OK | ######### | 2005-01-14 | 9:00 | 13.899 | OK
######### | 2005-01-13 | 9:30 | 8.219 | OK | ######### | 2005-01-14 | 9:30 | 14.035 | OK
######### | 2005-01-13 | 10:00 | 8.234 | OK | ######### | 2005-01-14 | 10:00 | 14.001 | OK
######### | 2005-01-13 | 10:30 | 8.1 | OK | ######### | 2005-01-14 | 10:30 | 13.98 | OK
######### | 2005-01-13 | 11:00 | 8.114 | OK | ######### | 2005-01-14 | 11:00 | 13.211 | OK
######### | 2005-01-13 | 11:30 | 7.989 | OK | ######### | 2005-01-14 | 11:30 | 14.345 | OK
######### | 2005-01-13 | 12:00 | 7.687 | OK | ######### | 2005-01-14 | 12:00 | 13.678 | OK
######### | 2005-01-13 | 12:30 | 8.345 | OK | ######### | 2005-01-14 | 12:30 | 14.456 | OK

## EX - 500 ppm S Precision
500 ppm Diesel Sulfur Precision Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method: | Standard Test Method for Sulfur in Petroleum Products by Wavelength Dispersive X-ray Fluorescence Spectrometry
Organization ID No. (as in ASTM D XXXX-XX): | ASTM D 2622-03
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.) |  |  |  | No
500 ppm Sulfur Precision Criterion - a standard deviation less than 9.68 ppm, computed from the results of a minimum of 20 repeat tests made over 20 days on samples taken from a single homogenous commerically available diesel fuel with a sulfur range of 200 to 500 ppm. The 20 results must be a series of tests with a sequential record of the analyses and no omissions. A lab facility may exclude a given sample or test result only if the exclusion is for a valid reason under good laboratory practices and it maintains records regarding the sample and test results and the reason for excluding them.
Is 500 ppm Sulfur Precision Criterion Met? | PASSED
standard deviation | 4.4907
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2004-10-26 | 8:00 | 330.023 | OK
######### | 2004-10-27 | 8:01 | 331.234 | OK
######### | 2004-10-28 | 8:20 | 332.897 | OK
######### | 2004-10-29 | 8:23 | 334.598 | OK
######### | 2004-10-30 | 9:00 | 335.998 | OK
######### | 2004-11-01 | 9:10 | 328.359 | OK
######### | 2004-11-02 | 9:20 | 329.062 | OK
######### | 2004-11-03 | 9:30 | 330.108 | OK
######### | 2004-11-05 | 9:40 | 333.73 | OK
######### | 2004-11-06 | 9:50 | 335.092 | OK
######### | 2004-11-07 | 10:00 | 326.34 | OK
######### | 2004-11-08 | 10:10 | 328.903 | OK
######### | 2004-11-09 | 10:20 | 329.863 | OK
######### | 2004-11-10 | 10:30 | 332.998 | OK
######### | 2004-11-11 | 10:40 | 334.001 | OK
######### | 2004-11-12 | 10:50 | 340.1 | OK
######### | 2004-11-13 | 11:00 | 341.102 | OK
######### | 2004-11-14 | 11:10 | 339.887 | OK
######### | 2004-11-15 | 11:20 | 338.776 | OK
######### | 2004-11-16 | 11:30 | 340.002 | OK

## EX - 500 ppm S Accuracy
500 ppm Diesel Sulfur Accuracy Demonstration [DLQ001:OMB # 2060-0308 Expires 11/30/2022]
Test Method
Name of Method: | Standard Test Method for Sulfur in Petroleum Products by Wavelength Dispersive X-ray Fluorescence Spectrometry
Organization ID No. (as in ASTM D XXXX-XX): | ASTM D 2622-03
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
Confidential Business Information Claim. A company may assert a business confidentiality claim covering the information contained in this submission. If no such claim is made the information may be made available to the public by EPA without further notice. All questions of confidentiality will be handled pursuant to 40 CFR Part 2. Is confidentiality claimed for the information in this submission? (Note: Please answer by typing "Yes" or "No" in the adjacent cell.) | [5 empty] | No
100 to 200 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 100 to 200 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 7.26 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 400 to 500 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 400 to 500 ppm sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 7.26 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 100-200 ppm |  |  |  |  | Accuracy Criterion for 400-500 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 100-200 ppm Sulfur Accuracy Criterion Met? | PASSED |  |  |  | Is 400-500 ppm Sulfur Accuracy Criterion Met? | PASSED
Arithmetic Average (ppm): | 150.5643 |  |  |  | Arithmetic Average (ppm) | 498.3953
Vendor Name of Gravimetric Standard: | NIST |  |  |  | Vendor Name of Gravimetric Standard | NIST
Lot Identification Number of Gravimetric Standard: | AMD4567 |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard | MNV5678 |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm): | 151 |  |  | OK | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) | 500 |  |  | OK
Difference between Arithmetic Average and ARV of Gravimetric Standard: | 0.4357 |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | 1.6047
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2005-01-13 | 8:00 | 150.003 | OK | ######### | 2005-01-14 | 8:00 | 499.98 | OK
######### | 2005-01-13 | 8:30 | 150.03 | OK | ######### | 2005-01-14 | 8:30 | 498.97 | OK
######### | 2005-01-13 | 9:00 | 150.1 | OK | ######### | 2005-01-14 | 9:00 | 496.451 | OK
######### | 2005-01-13 | 9:30 | 149.65 | OK | ######### | 2005-01-14 | 9:30 | 498.67 | OK
######### | 2005-01-13 | 10:00 | 148.5 | OK | ######### | 2005-01-14 | 10:00 | 495.98 | OK
######### | 2005-01-13 | 10:30 | 150 | OK | ######### | 2005-01-14 | 10:30 | 497.56 | OK
######### | 2005-01-13 | 11:00 | 150.1 | OK | ######### | 2005-01-14 | 11:00 | 499.45 | OK
######### | 2005-01-13 | 11:30 | 151.91 | OK | ######### | 2005-01-14 | 11:30 | 497.89 | OK
######### | 2005-01-13 | 12:00 | 152.13 | OK | ######### | 2005-01-14 | 12:00 | 499.012 | OK
######### | 2005-01-13 | 12:30 | 153.22 | OK | ######### | 2005-01-14 | 12:30 | 499.99 | OK