## 10 ppm S Precision
Spreadsheet Example VCSB 10 ppm Gasoline Sulfur Precision Demonstration [PBMS0008:OMB Control Number 2060-0692: expires 12/31/2022]
Test Method
Name of Method:
Laboratory Identification
Laboratory Name:
Laboratory Street Address:
Laboratory City:
Laboratory State:
Laboratory Zip code:
Laboratory Contact Person:
Laboratory Contact Phone Number
Laboratory Contact Facsimile Number
Laboratory Contact E-mail Address
10 ppm Sulfur Precision Criterion - The maximum allowable standard deviation computed from results of a minimum of 20 tests made over 20 days (tests may be arranged into no fewer than five batches of four or fewer test each, with only one such batch allowed per day over the minimum of 20 days) on samples using good laboratory practices taken from a single homogenous commercially available gasoline must be less than or equal to 1.5 times the repeatability (r) divided by 2.77, where "r" equalts the ASTM repeatability of ASTM D7039-13. Example: A 10ppm sulfur gasoline sample: maximum allowable standard deviation of 20 tests less than or equal 1.5*(1.73 ppm/2.77)=0.94ppm
Is 10 ppm Sulfur Precision Criterion Met? | REQUIRED DATA MISSING
standard deviation | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
DATA REQUIRED IN CELL D18
DATA REQUIRED IN CELL D19
DATA REQUIRED IN CELL D20
DATA REQUIRED IN CELL D21
DATA REQUIRED IN CELL D22
DATA REQUIRED IN CELL D23
DATA REQUIRED IN CELL D24
DATA REQUIRED IN CELL D25
DATA REQUIRED IN CELL D26
DATA REQUIRED IN CELL D27
DATA REQUIRED IN CELL D28
DATA REQUIRED IN CELL D29
DATA REQUIRED IN CELL D30
DATA REQUIRED IN CELL D31
DATA REQUIRED IN CELL D32
DATA REQUIRED IN CELL D33
DATA REQUIRED IN CELL D34
DATA REQUIRED IN CELL D35
DATA REQUIRED IN CELL D36
DATA REQUIRED IN CELL D37

## 10 ppm S Accuracy
Spreadsheet Example VCSB 10 ppm Gasoline Sulfur Accuracy Demonstration [PBMS0008:OMB Control Number 2060-0692: expires 12/31/2022]
Test Method
Name of Method: | 0
Laboratory Identification
Laboratory Name: | 0
Laboratory Street Address: | 0
Laboratory City: | 0
Laboratory State: | 0
Laboratory Zip code: | 0
Laboratory Contact Person: | 0
Laboratory Contact Phone Number | 0
Laboratory Contact Facsimile Number | 0
Laboratory Contact E-mail Address | 0
1 to 10 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 1 to 10 ppm sulfur, say 10 ppm., shall not differ from the accepted reference value (ARV) of that standard by more than 0.70 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 10 to 20 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 10 to 20 ppm, say 20 ppm. sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 1.02 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 1-10 ppm |  |  |  |  | Accuracy Criterion for 10-20 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 1-10 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING |  |  |  | Is 10-20 ppm Sulfur Accuracy Criterion Met? | REQUIRED DATA MISSING
Arithmetic Average (ppm) | REQUIRED DATA MISSING |  |  |  | Arithmetic Average (ppm) | REQUIRED DATA MISSING
Vendor Name of Gravimetric Standard |  |  |  |  | Vendor Name of Gravimetric Standard
Lot Identification Number of Gravimetric Standard |  |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard |  |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm) |  |  |  | ARV TOO LOW IN CONCENTRATION | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) |  |  |  | ARV TOO LOW IN CONCENTRATION
Difference between Arithmetic Average and ARV of Gravimetric Standard | REQUIRED DATA MISSING |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | REQUIRED DATA MISSING
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
|  |  |  | DATA REQUIRED IN CELL D26 |  |  |  |  | DATA REQUIRED IN CELL J26
|  |  |  | DATA REQUIRED IN CELL D27 |  |  |  |  | DATA REQUIRED IN CELL J27
|  |  |  | DATA REQUIRED IN CELL D28 |  |  |  |  | DATA REQUIRED IN CELL J28
|  |  |  | DATA REQUIRED IN CELL D29 |  |  |  |  | DATA REQUIRED IN CELL J29
|  |  |  | DATA REQUIRED IN CELL D30 |  |  |  |  | DATA REQUIRED IN CELL J30
|  |  |  | DATA REQUIRED IN CELL D31 |  |  |  |  | DATA REQUIRED IN CELL J31
|  |  |  | DATA REQUIRED IN CELL D32 |  |  |  |  | DATA REQUIRED IN CELL J32
|  |  |  | DATA REQUIRED IN CELL D33 |  |  |  |  | DATA REQUIRED IN CELL J33
|  |  |  | DATA REQUIRED IN CELL D34 |  |  |  |  | DATA REQUIRED IN CELL J34
|  |  |  | DATA REQUIRED IN CELL D35 |  |  |  |  | DATA REQUIRED IN CELL J35

## EX - 10 ppm S Precision
Spreadsheet Example VCSB 10 ppm Gasoline Sulfur Precision Demonstration [PBMS0008:vOMB Control Number 2060-0692: expires 12/31/2022]
Test Method
Name of Method: | Total Sulfur in Liquid Aromatic Hydrocarbons and Their Derivatives by XRF
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
10 ppm Sulfur Precision Criterion - The maximum allowable standard deviation computed from results of a minimum of 20 tests made over 20 days (7 or fewer tests per week and 2 or fewer tests per day) on samples using good laboratory practices taken from a single homogenous commercially available gasoline must be less than or equal to 1.5 times the repeatability (r) divided by 2.77, where "r" equalts the ASTM repeatability of ASTM D7039-13. Example: A 10ppm sulfur gasoline sample: maximum allowable standard deviation of 20 tests less than or equal 1.5*(1.73 ppm/2.77)=0.94ppm
Is 10 ppm Sulfur Precision Criterion Met? | PASSED
standard deviation | 0.039203
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2013-10-26 | 8:00 | 6.003 | OK
######### | 2013-10-27 | 8:01 | 6.021 | OK
######### | 2013-10-28 | 8:20 | 6.043 | OK
######### | 2013-10-29 | 8:23 | 5.993 | OK
######### | 2013-10-30 | 9:00 | 6.003 | OK
######### | 2013-11-01 | 9:10 | 6.092 | OK
######### | 2013-11-02 | 9:20 | 6.101 | OK
######### | 2013-11-03 | 9:30 | 6.045 | OK
######### | 2013-11-05 | 9:40 | 6.003 | OK
######### | 2013-11-06 | 9:50 | 6.021 | OK
######### | 2013-11-07 | 10:00 | 5.989 | OK
######### | 2013-11-08 | 10:10 | 5.962 | OK
######### | 2013-11-09 | 10:20 | 6.01 | OK
######### | 2013-11-10 | 10:30 | 6.032 | OK
######### | 2013-11-11 | 10:40 | 6.053 | OK
######### | 2013-11-12 | 10:50 | 6.05 | OK
######### | 2013-11-13 | 11:00 | 5.989 | OK
######### | 2013-11-14 | 11:10 | 6.033 | OK
######### | 2013-11-15 | 11:20 | 5.939 | OK
######### | 2013-11-16 | 11:30 | 6.042 | OK

## EX - 10 ppm S Accuracy
Spreadsheet Example VCSB 10 ppm Gasoline Sulfur Accuracy Demonstration [PBMS0008:OMB Control Number 2060-0692: expires 12/31/2022]
Test Method
Name of Method: | Total Sulfur in Liquid Aromatic Hydrocarbons and Their Derivatives by XRF
Laboratory Identification
Laboratory Name: | USEPA National and Vehicle Fuels Emissions Laboratory/OAR
Laboratory Street Address: | 2565 Plymouth Road, Mailcode AATSG
Laboratory City: | Ann Arbor
Laboratory State: | Michigan
Laboratory Zip code: | 48105
Laboratory Contact Person: | Joe Sopata
Laboratory Contact Phone Number | 202-343-9034
Laboratory Contact Facsimile Number | 202-343-2801
Laboratory Contact E-mail Address | sopata.joe@epa.gov
1 to 10 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 1 to 10 ppm sulfur, say 10 ppm., shall not differ from the accepted reference value (ARV) of that standard by more than 0.70 ppm. Individual test results shall be compensated for any known chemical interferences. |  |  |  |  | 10 to 20 ppm Accuracy Criterion - the arithmetic average of a continuous series of at least 10 tests performed on a commercially available gravimetric sulfur standard in the range of 10 to 20 ppm, say 20 ppm. sulfur shall not differ from the accepted reference value (ARV) of that standard by more than 1.02 ppm. Individual test results shall be compensated for any known chemical interferences.
Accuracy Criterion for 1-10 ppm |  |  |  |  | Accuracy Criterion for 10-20 ppm
gravimetric sulfur standard |  |  |  |  | gravimetric sulfur standard
Is 1-10 ppm Sulfur Accuracy Criterion Met? | PASSED |  |  |  | Is 10-20 ppm Sulfur Accuracy Criterion Met? | PASSED
Arithmetic Average (ppm) | 7.9485 |  |  |  | Arithmetic Average (ppm) | 13.9075
Vendor Name of Gravimetric Standard | NIST |  |  |  | Vendor Name of Gravimetric Standard | NIST
Lot Identification Number of Gravimetric Standard | ALDS45680 |  |  | Concentration QC Check on ARV | Lot Identification Number of Gravimetric Standard | ALDS53481 |  |  | Concentration QC Check on ARV
Accepted Reference Value (ARV) of Gravimetric Standard (ppm) | 8 |  |  | OK | Accepted Reference Value (ARV) of Gravimetric Standard (ppm) | 13.5 |  |  | OK
Difference between Arithmetic Average and ARV of Gravimetric Standard | 0.0515 |  |  |  | Difference between Arithmetic Average and ARV of Gravimetric Standard | 0.4075
Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result | Laboratory Test Identification Number | Date | Time | Test Result (ppm) | Data Entry QC Check on Test Result
######### | 2013-11-13 | 8:00 | 7.341 | OK | ######### | 2013-11-13 | 9:00 | 13.239 | OK
######### | 2013-11-13 | 8:00 | 7.562 | OK | ######### | 2013-11-13 | 9:00 | 14.231 | OK
######### | 2013-11-13 | 8:00 | 7.894 | OK | ######### | 2013-11-13 | 9:00 | 13.899 | OK
######### | 2013-11-13 | 8:00 | 8.219 | OK | ######### | 2013-11-13 | 9:00 | 14.035 | OK
######### | 2013-11-13 | 8:00 | 8.234 | OK | ######### | 2013-11-13 | 9:00 | 14.001 | OK
######### | 2013-11-13 | 8:00 | 8.1 | OK | ######### | 2013-11-13 | 9:00 | 13.98 | OK
######### | 2013-11-13 | 8:00 | 8.114 | OK | ######### | 2013-11-13 | 9:00 | 13.211 | OK
######### | 2013-11-13 | 8:00 | 7.989 | OK | ######### | 2013-11-13 | 9:00 | 14.345 | OK
######### | 2013-11-13 | 8:00 | 7.687 | OK | ######### | 2013-11-13 | 9:00 | 13.678 | OK
######### | 2013-11-13 | 8:00 | 8.345 | OK | ######### | 2013-11-13 | 9:00 | 14.456 | OK