## Table of Contents
Table of Contents This tab contains two tables. Table 1 describes the workbook contents and links to each data export table, organized as individual tabs, within this workbook. Hyperlinks are provided in column A. Table 2 provides a description of data type nomenclature used in this workbook. All data in the individual data export tables are presented at the facility level unless otherwise specified. | Note that all data in the data exports are presented at the facility level, unless otherwise specified
Data Export Tab | Contains
Submissions | General information about the Methane Challenge reports submitted by the Partner
Mains | Information about Distribution Mains
Services | Information about Distrubtion Services
Distribution_Blowdowns | Information about Distribution Pipeline Blowdowns
Excavation_Damages | Information about Excavation Damages
Transmission Blowdowns | Information about Transmission Pipeline Blowdowns
GB_RecipComp_Summary | Summary level information about Gathering and Boosting Reciprocating Compressors
GB_RecipComp_CompLevel | Compressor-level information about Gathering and Boosting Reciprocating Compressors
TS_RecipComp_Summary | Summary level information about Transmission and Storage Reciprocating Compressors
TS_RecipComp_CompLevel | Compressor-level information about Transmission and Storage Reciprocating Compressors
TS_RecipComp_VentLevel | Vent-level information about Transmission and Storage Reciprocating Compressors
TS_CentComp_Summary | Summary level information about Transmission and Storage Centrifugal Compressors
TS_CentComp_CompLevel | Compressor-level information about Transmission and Storage Centrifugal Compressors
TS_CentComp_VentLevel | Vent-level information about Transmission and Storage Centrifugal Compressors
TS_Pneumatic_Devices | Information about Transmission and Storage Pneumatic Controllers
This file uses the following data type nomenclature
Data Type | Data Type Description
Character | Text data. In some cases the text will be 'free text' (i.e., the user can enter any text), in others, the value may be a specifically-formatted ID or data choosen from a defined list of responses. The Data Units column will provide more information on the text if it is not free text.
Date | The Data Units column will indicate the format of the date
Integer | Integer data
Logical | All logical data in the dataset are represented as "TRUE" or "FALSE"
Numeric | Any non-integer number

## Submissions
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Submissions | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Submissions | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Submissions | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Submissions | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Submissions | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Submissions | SUBMISSION_VERSION | N/A | Version of the report submitted to Methane Challenge for the Reporting Year (data only available for the most recent submission) | Integer | N/A
Submissions | SUBMISSION_DATE | NA | Date on which the current version of the report was submitted | Date | MM-DD-YYYY

## Mains
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Mains | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Mains | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Mains | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Mains | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Mains | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Mains | MAINS_INTIALINV_CASTIRON | 'Dist - Mains' | Initial inventory of cast iron distribution mains as of January 1 of the first year of current commitment (miles) | Numeric | Miles of main
Mains | MAINS_INTIALINV_UPS | 'Dist - Mains' | Initial inventory of unprotected steel distribution mains as of January 1 of the first year of current commitment (miles) | Numeric | Miles of main
Mains | MAINS_MILES_UPS | 'Dist - Mains' | Total miles of distribution mains: Unprotected Steel | Numeric | Miles of main
Mains | MAINS_MILES_PS | 'Dist - Mains' | Total miles of distribution mains: Protected Steel | Numeric | Miles of main
Mains | MAINS_MILES_PLASTIC | 'Dist - Mains' | Total miles of distribution mains: Plastic | Numeric | Miles of main
Mains | MAINS_MILES_CASTIRON | 'Dist - Mains' | Total miles of distribution mains: Cast Iron | Numeric | Miles of main
Mains | MAINS_MILES_RECONDCASTIRON | 'Dist - Mains' | Total miles of distribution mains: Reconditioned Cast Iron (with cured-in-place liners) | Numeric | Miles of main
Mains | MAINS_MILES_UPSWLINERS | 'Dist - Mains' | Total miles of distribution mains: Unprotected Steel with cured-in-place liners | Numeric | Miles of main
Mains | MAINS_CH4EMISSIONS_UPS | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Unprotected Steel | Numeric | Metric tons of methane
Mains | MAINS_CH4EMISSIONS_PS | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Protected Steel | Numeric | Metric tons of methane
Mains | MAINS_CH4EMISSIONS_PLASTIC | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Plastic | Numeric | Metric tons of methane
Mains | MAINS_CH4EMISSIONS_CASTIRON | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Cast Iron | Numeric | Metric tons of methane
Mains | MAINS_CH4EMISSIONS_RECONDCI | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Reconditioned Cast Iron (with cured-in-place liners) | Numeric | Metric tons of methane
Mains | MAINS_CH4EMISSIONS_UPSWLINERS | 'Dist - Mains' | Annual CH4 emissions (mt CH4): Unprotected Steel with cured-in-place liners | Numeric | Metric tons of methane
Mains | MAINS_CI_REPLACE_PLASTIC | 'Dist - Mains' | Miles of cast iron mains: Replaced with plastic | Numeric | Miles of main
Mains | MAINS_CI_REPLACE_PS | 'Dist - Mains' | Miles of cast iron mains: Replaced with protected steel | Numeric | Miles of main
Mains | MAINS_CI_RECOND_LINERS | 'Dist - Mains' | Miles of cast iron mains: Rehabilitated with cured-in-place liners | Numeric | Miles of main
Mains | MAINS_CI_RETIRED | 'Dist - Mains' | Miles of cast iron mains: Retired without replacement | Numeric | Miles of main
Mains | MAINS_UPS_REPLACE_PS | 'Dist - Mains' | Miles of unprotected steel mains: Cathodically protected or replaced with protected steel | Numeric | Miles of main
Mains | MAINS_UPS_REPLACE_PLASTIC | 'Dist - Mains' | Miles of unprotected steel mains: Replaced with Plastic | Numeric | Miles of main
Mains | MAINS_UPS_REHAB_LINERS | 'Dist - Mains' | Miles of unprotected steel mains: Rehabilitated with cured-in-place liners | Numeric | Miles of main
Mains | MAINS_UPS_RETIRED | 'Dist - Mains' | Miles of unprotected steel mains: Retired without replacement | Numeric | Miles of main
Mains | MAINS_EMISSIONREDUCTIONS | 'Dist - Mains' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
Mains | MAINS_ADDITIONALINFO | 'Dist - Mains' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## Services
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Services | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Services | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Services | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Services | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Services | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Services | SERVICES_INTIALINV_CASTIRON | 'Dist - Services' | Initial inventory of cast iron services as of January 1 of the first year of current commitment (count) | Integer | Count of services
Services | SERVICES_INTIALINV_UPS | 'Dist - Services' | Initial inventory of unprotected steel services as of January 1 of the first year of current commitment (count) | Integer | Count of services
Services | SERVICES_COUNT_UPS | 'Dist - Services' | Total Number of Distribution Services: Unprotected Steel | Integer | Count of services
Services | SERVICES_COUNT_PS | 'Dist - Services' | Total Number of Distribution Services: Protected Steel | Integer | Count of services
Services | SERVICES_COUNT_PLASTIC | 'Dist - Services' | Total Number of Distribution Services: Plastic | Integer | Count of services
Services | SERVICES_COUNT_COPPER | 'Dist - Services' | Total Number of Distribution Services: Copper | Integer | Count of services
Services | SERVICES_COUNT_CASTIRON | 'Dist - Services' | Total Number of Distribution Services: Cast Iron | Integer | Count of services
Services | SERVICES_COUNT_RECONDCASTIRON | 'Dist - Services' | Total Number of Distribution Services: Reconditioned Cast Iron (with Plastic Liners) | Integer | Count of services
Services | SERVICES_COUNT_UPSWLINERS | 'Dist - Services' | Total Number of Distribution Services: Unprotected Steel with Plastic Liners | Integer | Count of services
Services | SERVICES_EMISSIONS_UPS | 'Dist - Services' | Annual CH4 emissions (mt CH4): Unprotected Steel | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_PS | 'Dist - Services' | Annual CH4 emissions (mt CH4): Protected Steel | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_PLASTIC | 'Dist - Services' | Annual CH4 emissions (mt CH4): Plastic | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_COPPER | 'Dist - Services' | Annual CH4 emissions (mt CH4): Copper | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_CASTIRON | 'Dist - Services' | Annual CH4 emissions (mt CH4): Cast Iron | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_RECONDCI | 'Dist - Services' | Annual CH4 emissions (mt CH4): Reconditioned Cast Iron (with Plastic Liners) | Numeric | Metric tons of methane
Services | SERVICES_EMISSIONS_UPSWLINERS | 'Dist - Services' | Annual CH4 emissions (mt CH4): Unprotected Steel with Plastic Liners | Numeric | Metric tons of methane
Services | SERVICES_CI_REPLACE_PLASTIC | 'Dist - Services' | Number of cast iron services: Replaced with plastic | Integer | Count of services
Services | SERVICES_CI_REPLACE_STEEL | 'Dist - Services' | Number of cast iron services: Replaced with protected steel | Integer | Count of services
Services | SERVICES_CI_REPLACE_COPPER | 'Dist - Services' | Number of cast iron services: Replaced with copper | Integer | Count of services
Services | SERVICES_CI_RECOND_LINERS | 'Dist - Services' | Number of cast iron services: Reconditioned with cured-in-place liners | Integer | Count of services
Services | SERVICES_UPS_REPLACE_PS | 'Dist - Services' | Number of unprotected steel services: Cathodically protected or replaced with protected steel | Integer | Count of services
Services | SERVICES_UPS_REPLACE_PLASTIC | 'Dist - Services' | Number of unprotected steel services: Replaced with plastic | Integer | Count of services
Services | SERVICES_UPS_REPLACE_COPPER | 'Dist - Services' | Number of unprotected steel services: Replaced with copper | Integer | Count of services
Services | SERVICES_UPS_REHAB_LINERS | 'Dist - Services' | Number of unprotected steel services: Rehabilitated with cured-in-place liners | Integer | Count of services
Services | SERVICES_EMISSIONREDUCTIONS | 'Dist - Services' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
Services | SERVICES_ADDITIONALINFO | 'Dist - Services' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## Distribution_Blowdowns
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Distribution_Blowdowns | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Distribution_Blowdowns | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Distribution_Blowdowns | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Distribution_Blowdowns | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Distribution_Blowdowns | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Distribution_Blowdowns | D_BLOWDOWNS_COUNT | 'Dist - Blowdowns' | Number of blowdowns | Integer | Count of blowdowns
Distribution_Blowdowns | D_BLOWDOWNS_CH4EMISSIONS | 'Dist - Blowdowns' | Total CH4 emissions (mt CH4) | Numeric | Metric tons of methane
Distribution_Blowdowns | D_BLOWDOWNS_COUNT_TO_COMPCAP | 'Dist - Blowdowns' | Number of blowdowns that routed gas to: Compressor or capture system for beneficial use | Integer | Count of blowdowns
Distribution_Blowdowns | D_BLOWDOWNS_COUNT_TO_FLARE | 'Dist - Blowdowns' | Number of blowdowns that routed gas to: Flare | Integer | Count of blowdowns
Distribution_Blowdowns | D_BLOWDOWNS_COUNT_TO_LPS | 'Dist - Blowdowns' | Number of blowdowns that routed gas to: Low-pressure system | Integer | Count of blowdowns
Distribution_Blowdowns | D_BLOWDOWNS_COUNT_HOTTAPS | 'Dist - Blowdowns' | Number of hot taps utilized that avoided the need to blowdown gas to the atmosphere | Integer | Count of hot taps
Distribution_Blowdowns | D_BLOWDOWNS_POTENTIALEMISSIONS | 'Dist - Blowdowns' | Total potential emissions (mt CH4) | Numeric | Metric tons of methane
Distribution_Blowdowns | D_BLOWDOWNS_EMISSIONREDUCTIONS | 'Dist - Blowdowns' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
Distribution_Blowdowns | D_BLOWDOWNS_ADDITIONALINFO | 'Dist - Blowdowns' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## Excavation_Damages
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Excavation_Damages | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Excavation_Damages | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Excavation_Damages | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Excavation_Damages | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Excavation_Damages | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Excavation_Damages | EXDAMAGES_TOTALDAMAGES | 'Dist - Excavation' | Excavation damages during reporting year: Total number of excavation damages | Integer | Count of damages
Excavation_Damages | EXDAMAGES_PERKLOCATECALLS | 'Dist - Excavation' | Excavation damages during reporting year: Total number of excavation damages per thousand locate calls | Numeric | Damages / Thousand Locate Calls
Excavation_Damages | EXDAMAGES_RELEASEOFNATGAS | 'Dist - Excavation' | Excavation damages during reporting year: Total number of excavation damages which resulted in a release of natural gas | Integer | Count of damages
Excavation_Damages | EXDAMAGES_RESULTEDINSHUTDOWN | 'Dist - Excavation' | Excavation damages during reporting year: Total number of excavation damages which resulted in the pipeline being shut down | Integer | Count of damages
Excavation_Damages | EXDAMAGES_GIVENPRIORNOTICE | 'Dist - Excavation' | Excavation damages during reporting year: Total number of excavation damages where the operator was given prior notification of excavation activity | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CLASS1 | 'Dist - Excavation' | Total number of excavation damages per class location (optional, if data is available): Class 1 | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CLASS2 | 'Dist - Excavation' | Total number of excavation damages per class location (optional, if data is available): Class 2 | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CLASS3 | 'Dist - Excavation' | Total number of excavation damages per class location (optional, if data is available): Class 3 | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CLASS4 | 'Dist - Excavation' | Total number of excavation damages per class location (optional, if data is available): Class 4 | Integer | Count of damages
Excavation_Damages | EXDAMAGES_STEEL_MAIN | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Steel Main | Integer | Count of damages
Excavation_Damages | EXDAMAGES_STEEL_SERVICE | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Steel Service | Integer | Count of damages
Excavation_Damages | EXDAMAGES_STEEL_INSIDEMR | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Steel Inside Meter/Regulator Set | Integer | Count of damages
Excavation_Damages | EXDAMAGES_STEEL_OTHER | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Steel Other | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CASTIRON_MAIN | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Cast Iron Main | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CASTIRON_SERVICE | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Cast Iron Service | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CASTIRON_INSIDEMR | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Cast Iron Inside Meter/Regulator Set | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CASTIRON_OTHER | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Cast Iron Other | Integer | Count of damages
Excavation_Damages | EXDAMAGES_COPPER_MAIN | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Copper Main | Integer | Count of damages
Excavation_Damages | EXDAMAGES_COPPER_SERVICE | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Copper Service | Integer | Count of damages
Excavation_Damages | EXDAMAGES_COPPER_INSIDEMR | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Copper Inside Meter/Regulator Set | Integer | Count of damages
Excavation_Damages | EXDAMAGES_COPPER_OTHER | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Copper Other | Integer | Count of damages
Excavation_Damages | EXDAMAGES_PLASTIC_MAIN | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Plastic Main | Integer | Count of damages
Excavation_Damages | EXDAMAGES_PLASTIC_SERVICE | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Plastic Service | Integer | Count of damages
Excavation_Damages | EXDAMAGES_PLASTIC_INSIDEMR | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Plastic Inside Meter/Regulator Set | Integer | Count of damages
Excavation_Damages | EXDAMAGES_PLASTIC_OTHER | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Plastic Other | Integer | Count of damages
Excavation_Damages | EXDAMAGES_OTHER_MAIN | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Other Material Main | Integer | Count of damages
Excavation_Damages | EXDAMAGES_OTHER_SERVICE | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Other Material Service | Integer | Count of damages
Excavation_Damages | EXDAMAGES_OTHER_INSIDEMR | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Other Material Inside Meter/Regulator Set | Integer | Count of damages
Excavation_Damages | EXDAMAGES_OTHER_OTHER | 'Dist - Excavation' | Total number of excavation damages by pipe material and part of system involved - Other Material, Other Part of System | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_CONTRACTOR | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Contractor | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_RAILROAD | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Railroad | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_COUNTY | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: County | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_STATE | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: State | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_DEVELOPER | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Developer | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_FARMER | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Farmer | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_UTILITY | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Utility | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_MUNCIPALITY | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Municipality | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_OCCUPANT | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Occupant | Integer | Count of damages
Excavation_Damages | EXDAMAGES_CAUSEBY_UNKNOWNOTHER | 'Dist - Excavation' | Total number of excavation damages by type that caused excavation damage incidents: Unknown/Other | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_OCNINSUFF | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: One-Call Notification Practices Not Sufficient | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_LOCATEINSUFF | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Locating Practices Not Sufficient | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_EXCAPRACINSUFF | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Excavation Practices Not Sufficient | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_OCNCENTERERROR | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: One-Call Notification Center Error | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_ABANDONEDFAC | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Abandoned Facility | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_DETERIORATEDFAC | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Deteriorated Facility | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_PREVIOUSDAMAGE | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Previous Damage | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ROOT_OTHERMISC | 'Dist - Excavation' | Total number of excavation damages by apparent root cause: Other/Miscellaneous | Integer | Count of damages
Excavation_Damages | EXDAMAGES_ACTIONSTOMINIMIZE | 'Dist - Excavation' | Actions taken to minimize excavation damages/reduce methane emissions from excavation damages | Character | N/A
Excavation_Damages | EXDAMAGES_GOALFORREDUCING | 'Dist - Excavation' | Company-specific goal for reducing excavation damages and/or methane emissions from excavation damages (when available) | Character | N/A
Excavation_Damages | EXDAMAGES_PROGRESSTOGOAL | 'Dist - Excavation' | Progress in meeting company-specific goal (when available) | Character | N/A
Excavation_Damages | EXDAMAGES_ADDITIONALINFO | 'Dist - Excavation' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## Transmission_Blowdowns
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
Transmission_Blowdowns | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
Transmission_Blowdowns | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
Transmission_Blowdowns | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
Transmission_Blowdowns | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
Transmission_Blowdowns | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
Transmission_Blowdowns | T_BLOWDOWNS_CT_PIPEINTEGRITY | 'Trans - Blowdowns' | Total number of blowdowns - Pipeline integrity work (e.g., the preparation work of modifying facilities, ongoing assessments, maintenance or mitigation) (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_PIPEINTEGRITY | 'Trans - Blowdowns' | Total CH4 emissions - Pipeline integrity work (e.g., the preparation work of modifying facilities, ongoing assessments, maintenance or mitigation) (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_CT_PIPELINEOM | 'Trans - Blowdowns' | Total number of blowdowns - Traditional operations or pipeline maintenance (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_PIPELINEOM | 'Trans - Blowdowns' | Total CH4 emissions - Traditional operations or pipeline maintenance (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_CT_EQUIPREPLREPAIR | 'Trans - Blowdowns' | Total number of blowdowns - Equipment replacement or repair (e.g., valves) (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_EQUIPREPLREPAIR | 'Trans - Blowdowns' | Total CH4 emissions - Equipment replacement or repair (e.g., valves) (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_CT_PIPEABANDONMENT | 'Trans - Blowdowns' | Total number of blowdowns - Pipe abandonment (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_PIPEABANDONMENT | 'Trans - Blowdowns' | Total CH4 emissions - Pipe abandonment (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_CT_NEWCONSTRUCTMOD | 'Trans - Blowdowns' | Total number of blowdowns - New construction or modification of pipelines including commissioning and change of service (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_NEWCONSTRUCTMOD | 'Trans - Blowdowns' | Total CH4 emissions - New construction or modification of pipelines including commissioning and change of service (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_CT_OPPRECAUTION | 'Trans - Blowdowns' | Total number of blowdowns - Operational precaution during activities (e.g. excavation near pipelines) (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_OPPRECAUTION | 'Trans - Blowdowns' | Total CH4 emissions - Operational precaution during activities (e.g. excavation near pipelines) (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_OTHER | 'Trans - Blowdowns' | Total number of blowdowns - All other pipeline segments with a physical volume greater than or equal to 50 cubic feet (Method 1) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_OTHER | 'Trans - Blowdowns' | Total CH4 emissions - All other pipeline segments with a physical volume greater than or equal to 50 cubic feet (Method 1) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_FLOWMETER | 'Trans - Blowdowns' | Total number of blowdowns - Calculated using flow meter (Method 2) | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_EM_FLOWMETER | 'Trans - Blowdowns' | Total CH4 emissions - Calculated using flow meter (Method 2) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_TOTAL | 'Trans - Blowdowns' | Total number of blowdowns to which a BMP was applied | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_TO_COMPCAP | 'Trans - Blowdowns' | Number of blowdowns that routed gas to: Compressor or capture system for beneficial use | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_TO_FLARE | 'Trans - Blowdowns' | Number of blowdowns that routed gas to: Flare | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_TO_LPS | 'Trans - Blowdowns' | Number of blowdowns that routed gas to: Low-pressure system | Integer | Count of blowdowns
Transmission_Blowdowns | T_BLOWDOWNS_COUNT_HOTTAPS | 'Trans - Blowdowns' | Number of hot taps utilized that avoided the need to blowdown gas to the atmosphere | Integer | Count of hot taps
Transmission_Blowdowns | T_BLOWDOWNS_POTENTIALEMISSIONS | 'Trans - Blowdowns' | Total potential emissions (mt CH4) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_EMISSIONREDUCTIONS | 'Trans - Blowdowns' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
Transmission_Blowdowns | T_BLOWDOWNS_ADDITIONALINFO | 'Trans - Blowdowns' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## GB_RecipComp_Summary
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
GB_RecipComp_Summary | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
GB_RecipComp_Summary | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
GB_RecipComp_Summary | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
GB_RecipComp_Summary | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
GB_RecipComp_Summary | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
GB_RecipComp_Summary | RCOMP_GB_COUNT | 'G&B - Recip. Compressors' | Number of reciprocating compressors | Integer | Count of compressors
GB_RecipComp_Summary | RCOMP_GB_CH4EMISSIONS | 'G&B - Recip. Compressors' | Annual CH4 Emissions (mt CH4) | Numeric | Metric tons of methane
GB_RecipComp_Summary | RCOMP_GB_COUNT_TOVRU | 'G&B - Recip. Compressors' | Number of reciprocating compressors with rod packing leaks or vents routed to VRU or beneficial use during reporting year | Integer | Count of compressors
GB_RecipComp_Summary | RCOMP_GB_COUNT_TOFLARE | 'G&B - Recip. Compressors' | Number of reciprocating compressors with rod packing leaks or vents routed to flare or control device during reporting year | Integer | Count of compressors
GB_RecipComp_Summary | RCOMP_GB_COUNT_PACKINGREPLACED | 'G&B - Recip. Compressors' | Number of reciprocating compressors for which rod packing was replaced during reporting year | Integer | Count of compressors
GB_RecipComp_Summary | RCOMP_GB_CALCMETHODOLOGY | 'G&B - Recip. Compressors' | Methodology used to quantify reductions | Character | N/A
GB_RecipComp_Summary | RCOMP_GB_EMISSIONREDUCTIONS | 'G&B - Recip. Compressors' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
GB_RecipComp_Summary | RCOMP_GB_ADDITIONALINFO | 'G&B - Recip. Compressors' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## GB_RecipComp_CompLevel
Note - each record (i.e., row) in this tab of the data export corresponds to a single compressor at the reporting facility. There may be multiple entries per facility.
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
GB_RecipComp_CompLevel | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
GB_RecipComp_CompLevel | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
GB_RecipComp_CompLevel | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
GB_RecipComp_CompLevel | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
GB_RecipComp_CompLevel | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
GB_RecipComp_CompLevel | RCOMP_GB_COMPID | 'G&B - Recip. Compressors' | Unique name or ID for compressor | Character | N/A
GB_RecipComp_CompLevel | RCOMP_GB_ISPACKINGREPLACED | 'G&B - Recip. Compressors' | Is rod packing replacement occurring every 26,000 hours or 36 months? | Character | Yes/No
GB_RecipComp_CompLevel | RCOMP_GB_DATELASTREPLACED | 'G&B - Recip. Compressors' | Date of last rod packing replacement | Date | YYYY-MM-DDTtimestamp
GB_RecipComp_CompLevel | RCOMP_GB_HOURSSINCEREPLACED | 'G&B - Recip. Compressors' | Number of operating hours since rod packing replacement | Integer | Hours

## TS_RecipComp_Summary
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_RecipComp_Summary | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
TS_RecipComp_Summary | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_RecipComp_Summary | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_RecipComp_Summary | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_RecipComp_Summary | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_RecipComp_Summary | RCOMP_TS_REPORTER_EF | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Reporter Emission Factor for Rod Packing Atmospheric Leak or Vents -- Reporter EF (scfh) | Numeric | Standard cubic feet methane per hour
TS_RecipComp_Summary | RCOMP_TS_NUM_MEASURED_COMP_EF | 'T&S - Recip. Compressors' | Number of measured compressors (during the current year and 2 previous years) from which the reporter EF was developed | Integer | Count of compressors
TS_RecipComp_Summary | RCOMP_TS_COUNT_TOVRU | 'T&S - Recip. Compressors' | Number of reciprocating compressors with rod packing leaks or vents routed to VRU or beneficial use during reporting year | Integer | Count of compressors
TS_RecipComp_Summary | RCOMP_TS_COUNT_TOFLARE | 'T&S - Recip. Compressors' | Number of reciprocating compressors with rod packing leaks or vents routed to flare or control device during reporting year | Integer | Count of compressors
TS_RecipComp_Summary | RCOMP_TS_COUNT_PACKINGREPLACED | 'T&S - Recip. Compressors' | Number of reciprocating compressors for which rod packing was replaced during reporting year | Integer | Count of compressors
TS_RecipComp_Summary | RCOMP_TS_EMISSIONREDUCTIONS | 'T&S - Recip. Compressors' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
TS_RecipComp_Summary | RCOMP_TS_ADDITIONALINFO | 'T&S - Recip. Compressors' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## TS_RecipComp_CompLevel
Note - each record (i.e., row) in this tab of the data export corresponds to a single compressor at the reporting facility. There may be multiple entries per facility.
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_RecipComp_CompLevel | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
TS_RecipComp_CompLevel | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_RecipComp_CompLevel | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_RecipComp_CompLevel | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_RecipComp_CompLevel | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_RecipComp_CompLevel | RCOMP_TS_COMPID | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Unique name or ID for compressor | Character | N/A
TS_RecipComp_CompLevel | RCOMP_TS_HRS_OPERATINGMODE | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Hours in operating-mode | Integer | Hours
TS_RecipComp_CompLevel | RCOMP_TS_HRS_STANDBYPRESSURIZE | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Hours in standby-pressurized-mode | Integer | Hours
TS_RecipComp_CompLevel | RCOMP_TS_HRS_NOTPRESSURIZED | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Hours in not-operating-depressurized-mode | Integer | Hours
TS_RecipComp_CompLevel | RCOMP_TS_ISPACKINGREPLACED | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Is rod packing replacement occurring every 26,000 hours or 36 months? | Character | Yes/No
TS_RecipComp_CompLevel | RCOMP_TS_DATELASTREPLACED | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Date of last rod packing replacement | Date | YYYY-MM-DDTtimestamp
TS_RecipComp_CompLevel | RCOMP_TS_HOURSSINCEREPLACED | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Number of operating hours since rod packing replacement | Integer | Hours
TS_RecipComp_CompLevel | RCOMP_TS_IS_COMP_MANIFOLDED | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Is compressor part of a manifolded group of compressor sources? | Character | Yes/No
TS_RecipComp_CompLevel | RCOMP_TS_COMPVENT_LOCATION | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Where are rod packing venting emissions from the compressor released? | Character | Atmosphere; Flare; Vapor Recovery; Combustion (fuel or thermal oxidizer)
TS_RecipComp_CompLevel | RCOMP_TS_NOTOPERATINGMODEALLYR | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors with Rod Packing -- Was compressor in not-operating-depressurized-mode all year? | Character | Yes/No

## TS_RecipComp_VentLevel
Note - each record (i.e., row) in this tab of the data export corresponds to a single compressor vent/leak, on the named compressor, at the reporting facility. There may be multiple entries per facility AND per compressor.
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_RecipComp_VentLevel | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | YYYY
TS_RecipComp_VentLevel | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_RecipComp_VentLevel | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_RecipComp_VentLevel | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_RecipComp_VentLevel | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_RecipComp_VentLevel | RCOMP_TS_LEAKVENTID | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Unique name or ID for the individual leak or vent to the atmosphere | Character | N/A
TS_RecipComp_VentLevel | RCOMP_TS_COMPID | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Unique name or ID for compressor | Character | N/A
TS_RecipComp_VentLevel | RCOMP_TS_EMISSION_CALC_METHOD | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Emissions Calculation Method | Character | As Found Measurement; Continuous Measurement; Reporter Emission Factor
TS_RecipComp_VentLevel | RCOMP_TS_MEASVOLFLOW_ASFOUND | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Measured volumetric flow at standard conditions from the rod packing leak or vent -- As found (scfh) Reported only if RCOMP_TS_EMISSION_CALC_METHOD == "As Found Measurement" | Numeric | Standard cubic feet methane per hour
TS_RecipComp_VentLevel | RCOMP_TS_MEASVOLFLOW_CONT | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Measured volumetric flow at standard conditions from the rod packing leak or vent -- Continuous (annual MMscf) Reported only if RCOMP_TS_EMISSION_CALC_METHOD == "Continuous Measurement" | Numeric | Million standard cubic feet methane per year
TS_RecipComp_VentLevel | RCOMP_TS_LEAKVENT_CH4EMISSIONS | 'T&S - Recip. Compressors' | Transmission and Storage Reciprocating Compressors - Rod Packing Individual Atmospheric Vents -- Annual CH4 emissions (mt CH4) | Numeric | Metric tons of methane

## TS_CentComp_Summary
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_CentComp_Summary | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | Four digit year
TS_CentComp_Summary | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_CentComp_Summary | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_CentComp_Summary | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. This will be a useful column for joining tables. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_CentComp_Summary | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. This will be a useful column for joining tables. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_CentComp_Summary | CCOMP_COUNT_DRYSEALS | 'T&S - Centrifugal Compressors' | Number of centrifugal compressors with dry seals | Integer | Count of compressors
TS_CentComp_Summary | CCOMP_TS_REPORTER_EF | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors - Reporter Emission Factor for Wet Seal Degassing Vents-- Reporter EF (scfh) | Numeric | Standard cubic feet methane per hour
TS_CentComp_Summary | CCOMP_TS_NUM_MEASURED_COMP_EF | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors - Reporter Emission Factor for Wet Seal Degassing Vents-- Number of measured compressors (during the current year and 2 previous years) from which the reporter EF was developed | Integer | Count of compressors
TS_CentComp_Summary | CCOMP_TS_COUNT_TOVRU | 'T&S - Centrifugal Compressors' | Number of wet seal compressor de-gassing leaks or vents routed to VRU or beneficial use during reporting year | Integer | Count of vents/leaks
TS_CentComp_Summary | CCOMP_TS_COUNT_TOFLARE | 'T&S - Centrifugal Compressors' | Number of wet seal compressor de-gassing leaks or vents routed to flare or control device during reporting year | Integer | Count of vents/leaks
TS_CentComp_Summary | CCOMP_TS_COUNT_TODRYSEAL | 'T&S - Centrifugal Compressors' | Number of wet seal compressors converted to dry seal | Integer | Count of compressors
TS_CentComp_Summary | CCOMP_TS_EMISSIONREDUCTIONS | 'T&S - Centrifugal Compressors' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
TS_CentComp_Summary | CCOMP_TS_ADDITIONALINFO | 'T&S - Centrifugal Compressors' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A

## TS_CentComp_CompLevel
Note - each record (i.e., row) in this tab of the data export corresponds to a single compressor at the reporting facility. There may be multiple entries per facility.
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_CentComp_CompLevel | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | Four digit year
TS_CentComp_CompLevel | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_CentComp_CompLevel | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_CentComp_CompLevel | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. This will be a useful column for joining tables. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_CentComp_CompLevel | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. This will be a useful column for joining tables. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_CentComp_CompLevel | CCOMP_TS_COMPID | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Unique name or ID for centrifugal compressor with wet seals | Character | N/A
TS_CentComp_CompLevel | CCOMP_TS_COUNT_WETSEALS | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Number of wet seals | Integer | Count of compressor seals
TS_CentComp_CompLevel | CCOMP_TS_HRS_OPERATINGMODE | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Hours in operating mode | Integer | Hours
TS_CentComp_CompLevel | CCOMP_TS_IS_COMP_MANIFOLDED | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Is compressor part of a manifolded group of compressor sources? (Y/N) | Character | Yes/No
TS_CentComp_CompLevel | CCOMP_TS_COMPVENT_LOCATION | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Where are wet seal degassing emissions from the compressor released? | Character | Atmosphere; Flare; Vapor Recovery; Combustion (fuel or thermal oxidizer)
TS_CentComp_CompLevel | CCOMP_TS_NOTOPERATINGMODEALLYR | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seals -- Was compressor in not-operating-depressurized-mode all year? (Y/N) | Character | Yes/No

## TS_CentComp_VentLevel
Note - each record (i.e., row) in this tab of the data export corresponds to a single compressor vent/leak, on the named compressor, at the reporting facility. There may be multiple entries per facility AND per compressor.
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_CentComp_VentLevel | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | Four digit year
TS_CentComp_VentLevel | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_CentComp_VentLevel | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_CentComp_VentLevel | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. This will be a useful column for joining tables. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_CentComp_VentLevel | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. This will be a useful column for joining tables. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_CentComp_VentLevel | CCOMP_TS_LEAKVENTID | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Unique name or ID for the individual leak or vent to the atmosphere | Character | N/A
TS_CentComp_VentLevel | CCOMP_TS_COMPID | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Unique name or ID for centrifugal compressor with wet seal degassing vented to the atmosphere | Character | N/A
TS_CentComp_VentLevel | CCOMP_TS_EMISSION_CALC_METHOD | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Emissions Calculation Method | Character | As Found Measurement; Continuous Measurement; Reporter Emission Factor
TS_CentComp_VentLevel | CCOMP_TS_MEASVOLFLOW_ASFOUND | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Measured volumetric flow rate at standard conditions from the individual vent -- As found when in operating mode (scfh) Reported only if CCOMP_TS_EMISSION_CALC_METHOD == "As Found Measurement" | Numeric | Standard cubic feet methane per hour
TS_CentComp_VentLevel | CCOMP_TS_MEASVOLFLOW_CONT | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Measured volumetric flow rate at standard conditions from the individual vent -- Continuous during the reporting year (MMscf) Reported only if CCOMP_TS_EMISSION_CALC_METHOD == "Continuous Measurement" | Numeric | Million standard cubic feet methane per year
TS_CentComp_VentLevel | CCOMP_TS_LEAKVENT_CH4EMISSIONS | 'T&S - Centrifugal Compressors' | Transmission and Storage Centrifugal Compressors with Wet Seal Degassing Vented to the Atmosphere -- Annual CH4 emissions (mt CH4) | Numeric | Metric tons of methane

## TS_Pneumatic_Devices
Data Export Tab | Data Export Column Name | Reporting Form Tab | Reporting Form Data Element | Data Type | Data Units | Return to Table of Contents
TS_Pneumatic_Devices | REPORTING_YEAR | 'Facility Info' | Methane Challenge Reporting Year -- year during which reported activities/emissions/reductions occurred | Integer | Four digit year
TS_Pneumatic_Devices | PARTNER_NAME | 'Facility Info' | Name of partner that reported | Character | N/A
TS_Pneumatic_Devices | FACILITY_NAME | 'Facility Info' | Name of Methane Challenge facility the data were reported for. See the BMP Technical Document for more information on how Methane Challenge defines facilities. | Character | N/A
TS_Pneumatic_Devices | MCPARTNER_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner; assigned by e-GGRT. | Character | 'MC' followed by a three digit ID code for the partner (e.g., MC999)
TS_Pneumatic_Devices | MCFACILITY_ID | 'Facility Info' | Unique ID for a given Methane Challenge partner's facility; assigned by e-GGRT. Each partner facility has its own ID. | Character | 'MC' followed by the partner's three digit ID code plus a three digit ID code for the facility (e.g., MC999001)
TS_Pneumatic_Devices | PNEUM_TS_HIGH_COUNT | 'T&S - Pneumatic Controllers' | High-bleed pneumatic controllers (greater than 6 scf per hour) -- Total Number | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_HIGH_OPHOURS | 'T&S - Pneumatic Controllers' | High-bleed pneumatic controllers (greater than 6 scf per hour) -- Average operating hours per controller (hr/yr) | Integer | Hours
TS_Pneumatic_Devices | PNEUM_TS_HIGH_CH4EMISSIONS | 'T&S - Pneumatic Controllers' | High-bleed pneumatic controllers (greater than 6 scf per hour) -- Total CH4 Emissions (mt CH4) | Numeric | Metric tons of methane
TS_Pneumatic_Devices | PNEUM_TS_LOW_COUNT | 'T&S - Pneumatic Controllers' | Low-bleed pneumatic controllers (less than or equal to 6 scf per hour) -- Total Number | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_LOW_OPHOURS | 'T&S - Pneumatic Controllers' | Low-bleed pneumatic controllers (less than or equal to 6 scf per hour) -- Average operating hours per controller (hr/yr) | Integer | Hours
TS_Pneumatic_Devices | PNEUM_TS_LOW_CH4EMISSIONS | 'T&S - Pneumatic Controllers' | Low-bleed pneumatic controllers (less than or equal to 6 scf per hour) -- Total CH4 Emissions (mt CH4) | Numeric | Metric tons of methane
TS_Pneumatic_Devices | PNEUM_TS_HIGH_EXEMPTIONCOUNT | 'T&S - Pneumatic Controllers' | Number of high-bleed controllers claiming operational exemptions | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_EXEMPTION_RATIONALE | 'T&S - Pneumatic Controllers' | Rationale for operational exemption | Character | N/A
TS_Pneumatic_Devices | PNEUM_TS_HIGHTOLOW_COUNT | 'T&S - Pneumatic Controllers' | Number of high-bleed controllers converted to low-bleed | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_HIGHTOZERO_COUNT | 'T&S - Pneumatic Controllers' | Number of high-bleed controllers converted to zero emitting or removed from service | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_LOWTOZERO_COUNT | 'T&S - Pneumatic Controllers' | Number of low bleed controllers converted to zero emitting or removed from service | Integer | Count of controllers
TS_Pneumatic_Devices | PNEUM_TS_EMISSIONREDUCTIONS | 'T&S - Pneumatic Controllers' | Emission reductions from voluntary action (mt CH4) | Numeric | Metric tons of methane
TS_Pneumatic_Devices | PNEUM_TS_ADDITIONALINFO | 'T&S - Pneumatic Controllers' | This space provides an opportunity for reporting optional, qualitative information that was not covered in the above data elements which communicates progress on the applicable commitment. | Character | N/A