## Summary
Count of Unique Landfills in this File | Count of Unique Operational Projects in this File
48 | 16
The LMOP Database contains key information about MSW landfills and LFG energy projects in the United States. Information in the LMOP Database is compiled from a variety of sources. Data received for inclusion in the LMOP Database are reviewed for reasonableness and are corroborated via other data sources when possible. Not all data are updated each year. While the Program strives to keep the information as updated and accurate as possible, the database is not exhaustive. The LMOP Database does not include data for every MSW landfill in the United States.
Descriptions for the Options in the "Current Project Status" Field
Operational: Project or expansion is online. |  | Candidate: Landfill is accepting waste or has been closed for five years or less, has at least one million tons of waste, and does not have an operational, under-construction, or planned project; can also be designated based on actual interest by the site.
Shutdown: Project or expansion has ceased operations.
Future Potential: Landfill is open but does not meet the technical criteria for Candidate status yet; or landfill already has an Operational project but there is opportunity for additional energy recovery.
Construction: Construction is underway on project or expansion.
Planned: Planning is underway on project or expansion (between Candidate and Construction). |  | Low Potential: Landfill is closed and does not meet the technical criteria for Candidate status; or landfill is not considered a Candidate due to site-specific information.
Unknown: LMOP Database does not have sufficient data to determine potential for an LFG energy project.

## LMOP Database
GHGRP ID | Landfill ID | Landfill Name | State | Physical Address | City | County | Zip Code | Latitude | Longitude | Ownership Type | Landfill Owner Organization(s) | Year Landfill Opened | Landfill Closure Year | Current Landfill Status | Waste in Place (tons) | Waste in Place Year | LFG Collection System In Place? | LFG Collected (mmscfd) | LFG Flared (mmscfd) | Project ID | Current Project Status | Project Name | Project Start Date | Project Shutdown Date | Project Type Category | LFG Energy Project Type | RNG Delivery Method | Actual MW Generation | Rated MW Capacity | LFG Flow to Project (mmscfd) | Current Year Emission Reductions (MMTCO2e/yr) - Direct | Current Year Emission Reductions (MMTCO2e/yr) - Avoided
| 2101 | Abbeville County Sanitary LF | SC |  | Abbeville | Abbeville | 29620 | 34.1945 | -82.5153 | Public | Abbeville County, SC |  | 1998 | Closed |  |  | No |  |  | 180162-0 | Low Potential |  |  |  | Unknown | Unknown
| 2102 | Abbeville County Subtitle D MSWLF | SC | 1094 Gassoway Farm Road | Abbeville | Abbeville | 29620 | 34.185 | -82.5155 | Public | Abbeville County, SC |  | 2030 | Open |  |  | No |  |  | 180163-0 | Unknown |  |  |  | Unknown | Unknown
| 2104 | Aiken County Landfill #3 Wagener Site | SC | 1769 Wagener Trail Road | Wagener | Aiken | 29164 | 33.6125 | -81.4125 | Public | Aiken County, SC |  |  | Closed |  |  | No |  |  | 180165-0 | Unknown |  |  |  | Unknown | Unknown
| 2106 | Allendale County | SC |  | Allendale | Allendale | 29810 |  |  | Private | WasteMasters of South Carolina, Inc. |  |  | Closed |  |  | No |  |  | 180167-0 | Unknown |  |  |  | Unknown | Unknown
1002813 | 2051 | Anderson Regional Landfill | SC | 203 Landfill Road | Belton | Anderson | 29627 | 34.5752 | -82.458 | Private | Waste Connections, Inc. | 1972 | 2037 | Open | 6457143 | 2018 | Yes | 1.205 |  | 167138-0 | Operational | Project #1 | 2008-10-01 |  | Electricity | Reciprocating Engine |  | 1.7 | 3.2 | 0.9 | 0.07681 | 0.00897
| 2107 | Bamberg County Landfill | SC |  | Bamberg | Bamberg | 29003 |  |  | Public | Bamberg County, SC |  |  | Closed |  |  | No |  |  | 180168-0 | Unknown |  |  |  | Unknown | Unknown
| 2108 | Barnwell County Landfill | SC | 155 Landfill Road | Barnwell | Barnwell | 29812 | 33.318 | -81.335 | Public | Barnwell County, SC |  | 1998 | Closed |  |  | No |  |  | 180169-0 | Low Potential |  |  |  | Unknown | Unknown
1004099 | 10600 | Bees Ferry Road Subtitle D LF | SC | 1344 Bees Ferry Road | Charleston | Charleston | 29414 | 32.8103 | -80.1091 | Public | Charleston County, SC | 1977 | 2043 | Open | 4338695 | 2018 | No |  |  | 180912-0 | Candidate |  |  |  | Unknown | Unknown
1003478 | 2109 | Berkeley County Subtitle D LF | SC | 555 Oakley Road | Moncks Corner | Berkeley | 29461 | 33.1325 | -80.0427 | Public | Berkeley County Water and Sanitation Authority, SC | 1976 | 2037 | Open | 4826389 | 2018 | Yes | 0.503 |  | 166977-0 | Operational | Project #1 | 2011-02-01 |  | Electricity | Reciprocating Engine |  | 0.8 | 1.6 | 0.5 | 0.03614 | 0.00422
1004232 | 1847 | Blackberry Valley Landfill | SC | 409 Blackberry Valley Road | Greenville | Greenville | 29617 | 34.913 | -82.486 | Public | Greenville County, SC | 1972 | 1987 | Closed | 1000000 |  | Yes | 0.132 | 0.132 | 166426-0 | Shutdown | Project #1 | 1991-01-01 | 1998-09-02 | Direct | Direct Thermal |  |  |  | 0.3
| 2095 | Cherokee County Landfill | SC | 192 Lemuels Road | Gaffney | Cherokee | 29341 | 35.1137 | -81.6067 | Public | Cherokee County, SC | 1972 | 1998 | Closed | 2400000 |  | Yes | 0.173 | 0.173 | 180156-0 | Low Potential |  |  |  | Unknown | Unknown
| 2110 | Chester County Landfill | SC | 2351 Peden Bridge Road | Chester | Chester | 29706 | 34.6645 | -81.0786 | Public | Chester County | 1978 | 1994 | Closed | 615600 |  | No |  |  | 180171-0 | Low Potential |  |  |  | Unknown | Unknown
1004423 | 2114 | City of Greenville Closed Landfill | SC | 684 Mauldin Road | Greenville | Greenville | 29607 | 34.785 | -82.357 | Public | City of Greenville | 1962 | 1995 | Closed | 2233361 | 1995 | No |  |  | 180175-0 | Low Potential |  |  |  | Unknown | Unknown
| 2111 | Clarendon County MSWLF | SC |  | Manning | Clarendon | 29102 |  |  | Public | Clarendon County, SC |  | 1995 | Closed |  |  | No |  |  | 180172-0 | Low Potential |  |  |  | Unknown | Unknown
| 1919 | Croft Landfill | SC | Gibson Road | Spartanburg | Spartanburg | 29302 | 34.864 | -81.8636 | Public | Spartanburg County Public Works Department, SC | 1972 | 1997 | Closed | 890816 |  | No |  |  | 166974-0 | Low Potential |  |  |  | Direct | Direct Thermal
1004074 | 1848 | Enoree Landfill | SC | 1311 Anderson Ridge Road | Greer | Greenville | 29651 | 34.8012 | -82.1847 | Public | Greenville County, SC | 1991 | 2007 | Closed | 5334538 | 2007 | Yes | 0.979 | 0.002 | 166427-0 | Shutdown | Project #1 | 2008-08-08 | 2017-12-31 | Electricity | Reciprocating Engine |  | 2 | 3.2 | 0.93 | 0 | 0
1004074 | 1848 | Enoree Landfill | SC | 1311 Anderson Ridge Road | Greer | Greenville | 29651 | 34.8012 | -82.1847 | Public | Greenville County, SC | 1991 | 2007 | Closed | 5334538 | 2007 | Yes | 0.979 | 0.002 | 166427-1 | Operational | Project #1, De-Expansion #1 | 2018-01-01 |  | Electricity | Reciprocating Engine |  | 1.4 | 1.6 | 0.95 | 0.06325 | 0.00739
| 1923 | Florence County LF | SC |  | Florence | Florence | 29560 | 33.8664 | -79.7418 | Public | Florence County, SC | 1987 | 1996 | Closed | 1114000 |  | No |  |  | 166979-0 | Low Potential |  |  |  | Unknown | Unknown
1008024 | 2123 | Fort Jackson Sanitary LF | SC |  | Fort Jackson | Richland | 29207 |  |  | Public | United States Army | 1974 | 1993 | Closed | 1556311 | 1993 | No |  |  | 180184-0 | Low Potential |  |  |  | Unknown | Unknown
1003528 | 2113 | Georgetown County Subtitle D LF | SC | 201 Landfill Road | Georgetown | Georgetown | 29440 | 33.4529 | -79.3153 | Public | Georgetown County Environmental Services Division, SC | 1977 | 2041 | Open | 2002692 | 2018 | Yes | 0.182 |  | 166429-0 | Shutdown | Project #1 | 2010-03-01 | 2014-12-31 | Electricity | Reciprocating Engine |  | 0.55 | 1.1 |  | 0 | 0
1003528 | 2113 | Georgetown County Subtitle D LF | SC | 201 Landfill Road | Georgetown | Georgetown | 29440 | 33.4529 | -79.3153 | Public | Georgetown County Environmental Services Division, SC | 1977 | 2041 | Open | 2002692 | 2018 | Yes | 0.182 |  | 166429-1 | Shutdown | Project #1, De-Expansion #1 | 2014-01-01 | 2017-12-31 | Electricity | Reciprocating Engine |  | 0.43 | 1.1 |  | 0 | 0
1003528 | 2113 | Georgetown County Subtitle D LF | SC | 201 Landfill Road | Georgetown | Georgetown | 29440 | 33.4529 | -79.3153 | Public | Georgetown County Environmental Services Division, SC | 1977 | 2041 | Open | 2002692 | 2018 | Yes | 0.182 |  | 166429-2 | Operational | Project #1, De-Expansion #2 | 2018-01-01 |  | Electricity | Reciprocating Engine |  | 0.05 | 1.1 |  | 0.00226 | 0.00026
1003039 | 2115 | Greenwood County Landfills | SC | 1115 Siloam Church Road | Greenwood | Greenwood | 29646 | 34.1977 | -82.0779 | Public | Greenwood County Public Works, SC | 1970 | 2030 | Open | 2746188 | 2017 | Yes | 0.351 |  | 180176-0 | Operational | Project #1 | 2009-06-25 | 2017-12-31 | Direct | Boiler |  |  |  | 0.432 | 0.03782 | 0.00373
1003039 | 2115 | Greenwood County Landfills | SC | 1115 Siloam Church Road | Greenwood | Greenwood | 29646 | 34.1977 | -82.0779 | Public | Greenwood County Public Works, SC | 1970 | 2030 | Open | 2746188 | 2017 | Yes | 0.351 |  | 180176-1 | Planned | Project #1, Expansion #1 | 2019-12-31 |  | Direct | Boiler |  |  |  | 0.432 | 0 | 0
1006090 | 2096 | Hickory Hill MSWLF | SC | 2621 Lowcountry Drive | Ridgeland | Jasper | 29936 | 32.495 | -80.968 | Private | Waste Management, Inc. | 1982 | 2027 | Open | 7208421 | 2018 | Yes | 1.264 | 1.264 | 180157-0 | Candidate |  |  |  | Unknown | Unknown
1005912 | 2099 | Highway 321 Lexington County Landfill | SC | 3241 Charleston Highway (Hwy 321) | West Columbia | Lexington | 29172 | 33.9079 | -81.0662 | Public | County of Lexington, SC | 1960 | 1988 | Closed | 2485571 |  | Yes | 0.27 | 0.27 | 180160-0 | Shutdown | Project #1 | 1988-01-01 | 1990-01-01 | Direct | Direct Thermal
1005912 | 2099 | Highway 321 Lexington County Landfill | SC | 3241 Charleston Highway (Hwy 321) | West Columbia | Lexington | 29172 | 33.9079 | -81.0662 | Public | County of Lexington, SC | 1960 | 1988 | Closed | 2485571 |  | Yes | 0.27 | 0.27 | 180997-0 | Low Potential | Project #2 |  |  | Unknown | Unknown
1003394 | 1917 | Horry County SWA Landfill | SC | 1886 S Highway 90 McNeill Street | Conway | Horry | 29526 | 33.8158 | -78.9609 | Public | Horry County Solid Waste Authority, SC | 1965 | 2040 | Open | 7002392 | 2018 | Yes | 1.2 |  | 166972-0 | Operational | Project #1 | 2001-09-04 |  | Electricity | Reciprocating Engine |  | 2 | 2.2 | 0.93 | 0.09036 | 0.01055
1003394 | 1917 | Horry County SWA Landfill | SC | 1886 S Highway 90 McNeill Street | Conway | Horry | 29526 | 33.8158 | -78.9609 | Public | Horry County Solid Waste Authority, SC | 1965 | 2040 | Open | 7002392 | 2018 | Yes | 1.2 |  | 166972-1 | Operational | Project #1, Expansion #1 | 2003-03-01 |  | Electricity | Reciprocating Engine |  | 1 | 1.1 | 0.467 | 0.04518 | 0.00528
| 2117 | Kershaw County Landfill | SC | Park Road | Cassatt | Kershaw | 29032 | 34.3 | -80.5268 | Public | Kershaw County, SC | 1978 | 2000 | Closed | 1048021 |  | No |  |  | 180178-0 | Low Potential |  |  |  | Unknown | Unknown
| 2118 | Lancaster County | SC |  | Lancaster | Lancaster | 29721 |  |  | Public | Lancaster County Public Works Department, SC |  |  | Closed |  |  | No |  |  | 180179-0 | Unknown |  |  |  | Unknown | Unknown
| 1920 | Langley Landfill | SC | 458 Huber Clay Road | Langley | Aiken | 29851 | 33.4928 | -81.8415 | Public | Aiken County, SC | 1979 | 1998 | Closed | 1273000 | 1998 | Yes |  |  | 166976-0 | Operational | Project #1 | 2007-01-01 |  | Direct | Direct Thermal |  |  |  | 1.296 | 0.11345 | 0.0112
| 2119 | Laurens County Sanitary LF | SC |  | Laurens | Laurens | 29360 |  |  | Public | Laurens County Public Works Department, SC |  |  | Closed |  |  | No |  |  | 180180-0 | Unknown |  |  |  | Unknown | Unknown
1002557 | 2094 | Lee County LF, LLC | SC | 1431 Sumter Highway | Bishopville | Lee | 29010 | 34.18 | -80.2725 | Private | Republic Services, Inc. | 1994 | 2057 | Open | 19551876 | 2018 | Yes | 6.15 | 1.36 | 180155-0 | Operational | Project #1 | 2005-03-01 |  | Electricity | Reciprocating Engine |  | 2.35 | 5.4 | 1.8 | 0.10617 | 0.0124
1002557 | 2094 | Lee County LF, LLC | SC | 1431 Sumter Highway | Bishopville | Lee | 29010 | 34.18 | -80.2725 | Private | Republic Services, Inc. | 1994 | 2057 | Open | 19551876 | 2018 | Yes | 6.15 | 1.36 | 180155-1 | Operational | Project #1, Expansion #1 | 2009-06-01 |  | Electricity | Gas Turbine |  | 2.35 | 5.5 | 1.8 | 0.10617 | 0.0124
| 2120 | Lexington County Edmund Facility | SC | 498 Landfill Lane | Lexington | Lexington | 29073 | 33.8576 | -81.1819 | Public | County of Lexington, SC | 1988 | 1995 | Closed | 500000 | 1995 | No |  |  | 180181-0 | Low Potential |  |  |  | Unknown | Unknown
1002558 | 2124 | Northeast Sanitary Landfill | SC | 1581 Westvaco Road | Eastover | Richland | 29044 | 34.0138 | -80.6839 | Private | Republic Services, Inc. | 1988 | 2055 | Open | 4502471 | 2018 | Yes | 1.097 | 1.097 | 180185-0 | Candidate |  |  |  | Unknown | Unknown
1007582 | 2000 | Oakridge Landfill Inc. | SC | 2183 Highway 78 | Dorchester | Dorchester | 29437 | 33.1359 | -80.3963 | Private | Waste Management, Inc. | 1987 | 2043 | Open | 14300237 | 2018 | Yes | 1.751 | 1.101 | 167085-0 | Operational | Project #1 | 2018-05-03 |  | Direct | Leachate Evaporation |  |  |  | 0.86 | 0.07529 | 0.00743
| 2100 | Orangeburg County Landfill | SC |  | Orangeburg | Orangeburg |  | 33.4949 | -80.8491 | Public | Orangeburg County | 1972 | 1996 | Closed | 1093022 | 1996 | No |  |  | 180161-0 | Low Potential |  |  |  | Unknown | Unknown
1007892 | 1928 | Palmetto Landfill | SC | 360 New Hope Road | Wellford | Spartanburg | 29385 | 34.9348 | -82.0761 | Private | Waste Management, Inc. | 1979 | 2016 | Closed | 22938750 | 2015 | Yes | 5.12 | 1.429 | 166993-0 | Shutdown | Project #1 | 2003-04-01 | 2008-12-31 | Electricity | Cogeneration |  | 4.4 | 4.8 |  | 0 | 0
1007892 | 1928 | Palmetto Landfill | SC | 360 New Hope Road | Wellford | Spartanburg | 29385 | 34.9348 | -82.0761 | Private | Waste Management, Inc. | 1979 | 2016 | Closed | 22938750 | 2015 | Yes | 5.12 | 1.429 | 166993-1 | Operational | Project #1, Expansion #1 | 2009-08-01 |  | Electricity | Cogeneration |  | 6.5 | 11 |  | 0.29367 | 0.03429
1007892 | 1928 | Palmetto Landfill | SC | 360 New Hope Road | Wellford | Spartanburg | 29385 | 34.9348 | -82.0761 | Private | Waste Management, Inc. | 1979 | 2016 | Closed | 22938750 | 2015 | Yes | 5.12 | 1.429 | 180843-0 | Shutdown | Project #2 | 2006-09-01 | 2012-01-01 | Direct | Direct Thermal |  |  |  | 1.152
1007892 | 1928 | Palmetto Landfill | SC | 360 New Hope Road | Wellford | Spartanburg | 29385 | 34.9348 | -82.0761 | Private | Waste Management, Inc. | 1979 | 2016 | Closed | 22938750 | 2015 | Yes | 5.12 | 1.429 | 181091-0 | Shutdown | Project #3 | 2013-01-01 | 2015-08-31 | Renewable Natural Gas | Vehicle Fuel | Local Use
| 2097 | Pendleton Sanitary Landfill | SC |  | Pendleton | Anderson |  | 34.626 | -82.7983 | Public | Anderson County Environmental Services Division, SC | 1973 | 1993 | Closed | 600000 |  | No |  |  | 180158-0 | Low Potential |  |  |  | Unknown | Unknown
| 2122 | Pickens County Landfill | SC | 2043 Old Liberty Road | Liberty | Pickens | 29657 | 34.8265 | -82.6625 | Public | Pickens County, SC |  | 1998 | Closed |  |  | Yes | 0.27 | 0.27 | 180183-0 | Low Potential |  |  |  | Unknown | Unknown
1007706 | 1854 | Richland County Landfill | SC | 1047 Highway Church Road | Elgin | Richland | 29045 | 34.1042 | -80.782 | Private | Waste Management, Inc. | 1972 | 2043 | Open | 20168736 | 2018 | Yes | 4.664 | 1.857 | 166434-0 | Operational | Project #1 | 2006-02-28 |  | Electricity | Gas Turbine |  | 2.3 | 5.5 |  | 0.10391 | 0.01213
1007706 | 1854 | Richland County Landfill | SC | 1047 Highway Church Road | Elgin | Richland | 29045 | 34.1042 | -80.782 | Private | Waste Management, Inc. | 1972 | 2043 | Open | 20168736 | 2018 | Yes | 4.664 | 1.857 | 166434-1 | Operational | Project #1, Expansion #1 | 2013-01-01 |  | Electricity | Reciprocating Engine |  | 1 | 3.2 |  | 0.04518 | 0.00528
1007706 | 1854 | Richland County Landfill | SC | 1047 Highway Church Road | Elgin | Richland | 29045 | 34.1042 | -80.782 | Private | Waste Management, Inc. | 1972 | 2043 | Open | 20168736 | 2018 | Yes | 4.664 | 1.857 | 201467-0 | Operational | Project #2 | 2016-10-15 |  | Direct | Leachate Evaporation |  |  |  | 0.92 | 0.08054 | 0.00795
| 2305 | Richland County Landfill (closed) | SC | Monticello Road 6 miles past I-20 on Hwy 215 North | Columbia | Richland | 29202 | 34.1323 | -81.1136 | Public | Richland County, SC | 1972 |  | Closed | 1846796 | 2007 | No |  |  | 180399-0 | Unknown |  |  |  | Unknown | Unknown
| 2112 | Sandy Pines Landfill | SC |  |  | Dorchester |  |  |  | Private | Waste Management, Inc. |  |  | Closed | 310908 | 2001 | No |  |  | 180173-0 | Unknown |  |  |  | Unknown | Unknown
| 2121 | Seneca MSWLF | SC | 10528 Wells Highway | Seneca | Oconee | 29678 | 34.6535 | -82.9466 | Public | Oconee County, SC | 1945 | 1998 | Closed | 749266 |  | Yes | 0.0792 | 0.0792 | 180182-0 | Low Potential |  |  |  | Direct | Direct Thermal
| 2130 | Starr Sanitary Landfill | SC | Roy Arnold Road | Starr | Anderson | 29684 | 34.4095 | -82.6855 | Public | Anderson County Environmental Services Division, SC | 1973 | 1993 | Closed | 1120000 |  | No |  |  | 181007-0 | Low Potential |  |  |  | Unknown | Unknown
| 2065 | Sumter County MSW LF | SC | 2185 East Brewington Road | Sumter | Sumter | 29153 | 33.9128 | -80.2248 | Public | Sumter County, SC | 1973 | 1998 | Closed | 786000 | 1998 | No |  |  | 180108-0 | Low Potential |  |  |  | Unknown | Unknown
1006351 | 2105 | Three Rivers Regional Subtitle D MSWLF | SC | 9900 Atomic Road Savannah River Site | Jackson | Aiken | 29831 | 33.3563 | -81.8095 | Public | Three Rivers Solid Waste Authority, SC | 1998 | 2071 | Open | 5015987 | 2018 | Yes | 2.038 |  | 180166-0 | Operational | Project #1 | 2008-05-15 |  | Direct | Boiler |  |  |  | 1.3 | 0.1138 | 0.01124
1006351 | 2105 | Three Rivers Regional Subtitle D MSWLF | SC | 9900 Atomic Road Savannah River Site | Jackson | Aiken | 29831 | 33.3563 | -81.8095 | Public | Three Rivers Solid Waste Authority, SC | 1998 | 2071 | Open | 5015987 | 2018 | Yes | 2.038 |  | 180166-1 | Operational | Project #1, Expansion #1 | 2013-01-01 |  | Direct | Boiler |  |  |  | 0.65 | 0.0569 | 0.00562
1004041 | 11180 | Twin Chimneys Landfill | SC | 11075 Augusta Road | Honea Path | Greenville | 29654 | 34.54 | -82.312 | Public | Greenville County, SC | 2007 | 2052 | Open | 3567551 | 2018 | Yes | 1.683 | 1.683 | 180966-0 | Planned | Project #1 | 2020-12-31 |  | Renewable Natural Gas | Vehicle Fuel | Local Use
1004485 | 2126 | Union County Regional MSW Landfill | SC | 898 Wildcat Road | Enoree | Union | 29335 | 34.6125 | -81.821 | Private | Republic Services, Inc. | 2002 | 2093 | Open | 9500242 | 2018 | Yes | 1.87 |  | 180187-0 | Operational | Project #1 | 2015-04-01 |  | Electricity | Reciprocating Engine |  | 3.2 | 3.2 |  | 0.14458 | 0.01688
1004251 | 1918 | Wellford LF | SC | 595 Little Mountain Road | Wellford | Spartanburg | 29385 | 34.9967 | -82.1386 | Public | Spartanburg County Public Works Department, SC | 1977 | 2046 | Open | 3663675 | 2018 | Yes | 1.26 | 0.18 | 166973-0 | Operational | Project #1 | 2011-06-22 |  | Direct | Boiler |  |  |  | 0.72 | 0.06303 | 0.00622
1004251 | 1918 | Wellford LF | SC | 595 Little Mountain Road | Wellford | Spartanburg | 29385 | 34.9967 | -82.1386 | Public | Spartanburg County Public Works Department, SC | 1977 | 2046 | Open | 3663675 | 2018 | Yes | 1.26 | 0.18 | 180996-0 | Operational | Project #2 | 2011-05-31 |  | Electricity | Reciprocating Engine |  | 0.8 | 1.6 | 0.36 | 0.03614 | 0.00422
| 2103 | Westinghouse Savannah River Co. LF | SC |  | Aiken | Aiken | 29808 |  |  | Private | Westinghouse Savannah River Co. |  |  | Closed |  |  | No |  |  | 180164-0 | Unknown |  |  |  | Unknown | Unknown
| 2127 | Williamsburg County MSWLF | SC | 564 Old Gapway Road | Salters | Williamsburg | 29590 | 33.615 | -79.867 | Public | Williamsburg County, SC | 1977 | 2010 | Closed |  |  | No |  |  | 180188-0 | Low Potential |  |  |  | Unknown | Unknown
1008000 | 1916 | York County LF | SC | 289 Public Works Road | York | York | 29745 | 34.9766 | -81.1996 | Public | York County, SC | 1950 | 1998 | Closed | 3236785 | 1998 | No |  |  | 166971-0 | Low Potential |  |  |  | Unknown | Unknown
Note on A1: GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Note on B1: Unique identifying number for each landfill
Note on C1: Landfill name
Note on D1: State landfill is located in
Note on E1: Physical address of landfill
Note on F1: City landfill is located in or near
Note on G1: County landfill is located in
Note on H1: Zip code for the landfill
Note on I1: Latitude coordinate (decimal) for the landfill
Note on J1: Longitude coordinate (decimal) for the landfill
Note on K1: Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Note on L1: Organization that owns the landfill
Note on M1: Year landfill opened or began accepting waste (YYYY)
Note on N1: Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Note on O1: Open/Closed status of landfill
Note on P1: Waste-in-place at the landfill in short tons
Note on Q1: Year corresponding to the waste-in-place at the landfill (YYYY)
Note on R1: Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
Note on S1: Amount of landfill gas being collected in million standard cubic feet per day
Note on T1: Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Note on U1: Unique identifying number combination for "parent" project and "expansion" number
Note on V1: Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Note on W1: Specific project name (if applicable)
Note on X1: Date project or expansion became operational (MM/DD/YYYY)
Note on Y1: Date project or expansion shut down (MM/DD/YYYY)
Note on Z1: Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
Note on AA1: Specific type of LFG energy project technology
Note on AB1: Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Note on AC1: Actual or estimated electric generation in megawatts for electricity-generating projects
Note on AD1: Rated capacity in megawatts for electricity-generating projects
Note on AE1: Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Note on AF1: Direct methane reductions by the energy project for the current year
Note on AG1: Avoided carbon dioxide emission reductions by the energy project for the current year

## Field Descriptions
Field Name | Description
GHGRP ID | GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Landfill ID | Unique identifying number for each landfill
Landfill Name | Landfill name
State | State landfill is located in
Physical Address | Physical address of landfill
City | City landfill is located in or near
County | County landfill is located in
Zip Code | Zip code for the landfill
Latitude | Latitude coordinate (decimal) for the landfill
Longitude | Longitude coordinate (decimal) for the landfill
Ownership Type | Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Landfill Owner Organization(s) | Organization that owns the landfill
Year Landfill Opened | Year landfill opened or began accepting waste (YYYY)
Landfill Closure Year | Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Current Landfill Status | Open/Closed status of landfill
Waste in Place (tons) | Waste-in-place at the landfill in short tons
Waste in Place Year | Year corresponding to the waste-in-place at the landfill (YYYY)
LFG Collection System In Place? | Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
LFG Collected (mmscfd) | Amount of landfill gas being collected in million standard cubic feet per day
LFG Flared (mmscfd) | Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Project ID | Unique identifying number combination for "parent" project and "expansion" number
Current Project Status | Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Project Name | Specific project name (if applicable)
Project Start Date | Date project or expansion became operational (MM/DD/YYYY)
Project Shutdown Date | Date project or expansion shut down (MM/DD/YYYY)
Project Type Category | Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
LFG Energy Project Type | Specific type of LFG energy project technology
RNG Delivery Method | Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Actual MW Generation | Actual or estimated electric generation in megawatts for electricity-generating projects
Rated MW Capacity | Rated capacity in megawatts for electricity-generating projects
LFG Flow to Project (mmscfd) | Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Current Year Emission Reductions (MMTCO2e/yr) - Direct | Direct methane reductions by the energy project for the current year
Current Year Emission Reductions (MMTCO2e/yr) - Avoided | Avoided carbon dioxide emission reductions by the energy project for the current year