## Summary
Count of Unique Landfills in this File | Count of Unique Projects in this File
67 | 65
The LMOP Database contains key information about MSW landfills and LFG energy projects in the United States. Information in the LMOP Database is compiled from a variety of sources. Data received for inclusion in the LMOP Database are reviewed for reasonableness and are corroborated via other data sources when possible. Not all data are updated each year. While the Program strives to keep the information as updated and accurate as possible, the database is not exhaustive. The LMOP Database does not include data for every MSW landfill in the United States.
Descriptions for the Options in the "Current Project Status" Field
Construction: Construction is underway on project or expansion.
Planned: Planning is underway on project or expansion (between Candidate and Construction).

## LMOP Database
GHGRP ID | Landfill ID | Landfill Name | State | City | County | Ownership Type | Landfill Owner Organization(s) | Waste in Place (tons) | Waste in Place Year | LFG Collection System In Place? | LFG Collected (mmscfd) | LFG Flared (mmscfd) | Project ID | Current Project Status | Project Name | Project Start Date | Project Type Category | LFG Energy Project Type | RNG Delivery Method | LFG Use Details | Actual MW Generation | Rated MW Capacity | LFG Flow to Project (mmscfd) | Potential End Users | Project Developer(s) | Product Supplier(s)
1003406 | 2282 | Eco-Vista Landfill | AR | Springdale | Washington | Private | Waste Management, Inc. | 8917277 | 2018 | Yes | 2.181 | 0 | 201449-0 | Construction | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1003046 | 1800 | North Center Street Landfill | AZ | Scottsdale | Maricopa | Public | Salt River Pima-Maricopa Indian Community (SRP-MIC) | 2206102 | 1992 | Yes | 0.126 | 0.126 | 200930-0 | Planned | Project #3 (Combination) | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection | RNG to be sold into nearby natural gas pipeline |  |  | 4.32 |  | DTE Biomass Energy
1002831 | 1798 | Salt River Landfill | AZ | Scottsdale | Maricopa | Public | Salt River Pima-Maricopa Indian Community (SRP-MIC) | 13993500 | 2018 | Yes | 2.134 | 2.134 | 200930-0 | Planned | Project #3 (Combination) | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection | RNG to be sold into nearby natural gas pipeline |  |  | 4.32 |  | DTE Biomass Energy
1003229 | 1799 | Tri-Cities Landfill | AZ | Scottsdale | Maricopa | Public | Salt River Pima-Maricopa Indian Community (SRP-MIC) | 11500000 | 1993 | Yes | 0.36 | 0.36 | 200930-0 | Planned | Project #3 (Combination) | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection | RNG to be sold into nearby natural gas pipeline |  |  | 4.32 |  | DTE Biomass Energy
1002896 | 58 | Bakersfield Metropolitan SLF (BENA) | CA | Edison | Kern | Public | Kern County, CA | 10362077 | 2018 | Yes | 1.679 | 1.679 | 114-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | 60% of LFG to create RNG vehicle fuel and 40% of LFG to generate electricity at local power plant |  |  | 1.87 | Shell Energy | Bena Power Producers | Caterpillar, Inc.
1011449 | 72 | BKK Landfill-Phases I & II | CA | West Covina | Los Angeles | Private | BKK Corporation | 49245368 | 1996 | Yes | 11.904 | 0.546 | 200996-0 | Planned | Project #3 | 2020-12-31 | Electricity | Microturbine |  | (1) EC-250 Ecostation at 250 kW; patented Power Oxidizer technology generates clean power from low-quality gases | 0.25 |  |  | BKK Landfill | Ener-Core, Inc. | Ener-Core, Inc.
1002104 | 128 | Coyote Canyon SLF | CA | Newport Beach | Orange | Public | County of Orange - OC Waste & Recycling, CA | 38999999 | 1990 | Yes | 4.917 | 4.917 | 201240-0 | Planned | Project #2 | 2020-12-31 | Electricity | Fuel Cell |  | (2) 2.35 Mwac FCE SureSource Hydrogen carbonate fuel cell power plants producing 1270 kg of vehicle quality hydrogen daily, 46 MMBtu/hr input | 4 |  | 2.736 |  | FuelCell Energy, Inc. | FuelCell Energy, Inc.
1004010 | 11120 | Forward Landfill | CA | Manteca | San Joaquin | Private | Republic Services, Inc. | 27029334 | 2018 | Yes | 5.257 | 4.094 | 201446-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | [5 empty] | Ameresco, Inc.
1002107 | 62 | Frank R. Bowerman SLF | CA | Irvine | Orange | Public | County of Orange - OC Waste & Recycling, CA | 54928377 | 2018 | Yes | 15.12 | 4.37 | 201241-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use | LFG upgrading to vehicle fuel, transport by tube trailer to end user; 1,252 MMBtu/day output |  |  | 1.728 | local vehicle fuel users at RNG filling station | Montauk Energy
1006216 | 172 | Highway 59 Landfill | CA | Merced | Merced | Public | Merced County Regional Waste Management Authority, CA | 7177170 | 2018 | Yes | 1.142 | 1.142 | 229-0 | Planned | Project #1 | 2020-12-31 | Electricity | Cogeneration |  | up to (4) 800-kW microturbines with heat recovery to be installed at UC Merced |  | 3.2 |  | University of California at Merced |  | Capstone Turbine Corporation
1004011 | 184 | Keller Canyon LF | CA | Pittsburg | Contra Costa | Private | Republic Services, Inc. | 19935762 | 2018 | Yes | 5.847 | 4.022 | 201445-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | [5 empty] | Ameresco, Inc. | DMT Clear Gas Solutions LLC
1004550 | 217 | Monterey Peninsula SLF | CA | Marina | Monterey | Public | Monterey Regional Waste Management District, CA | 11823644 | 2018 | Yes | 2.412 |  | 201366-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use
1006179 | 225 | Newby Island SLF Phases I, II, & III | CA | Milpitas | Santa Clara | Private | Republic Services, Inc. | 30296412 | 2018 | Yes | 7.564 |  | 201001-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1002106 | 251 | Prima Deshecha SLF | CA | San Juan Capistrano | Orange | Public | County of Orange - OC Waste & Recycling, CA | 22331121 | 2018 | Yes | 4.32 | 1.08 | 200993-0 | Planned | Project #2 | 2022-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use | LFG upgrading to vehicle fuel, transport by tube trailer to end user; 3,000 MMBtu/day output. |  |  | 4.32 | CR&R fleet of refuse vehicles
1002318 | 273 | Santiago Canyon SLF | CA | Orange | Orange | Public | County of Orange - OC Waste & Recycling, CA | 13524431 | 2000 | Yes | 1.48 | 1.48 | 332-0 | Planned | Project #1 | 2020-12-01 | Renewable Natural Gas | Vehicle Fuel | Local Use | LFG will be upgraded to be used in solid waste hauling trucks |  |  | 0.345 | County of Orange - OC Waste & Recycling, CA
1007816 | 279 | Simi Valley LF | CA | Simi Valley | Ventura | Private | Waste Management, Inc. | 29022661 | 2018 | Yes | 6.088 | 6.088 | 201439-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Unknown
1006089 | 343 | Toyon Canyon LF | CA | Los Angeles | Los Angeles | Public | City of Los Angeles, Bureau of Sanitation, CA | 16574265 | 1985 | Yes | 0.828 | 0.828 | 200901-0 | Planned | Project #2 | 2020-12-31 | Electricity | Microturbine |  | (1) EC-250 EcoStation at 250 kW and (2) EC-333 EcoStations; patented Power Oxidizer technology generates clean power from low-quality gases | 0.916 |  |  | LADWP | Ener-Core, Inc. | Ener-Core, Inc.
1001819 | 319 | West Central LF | CA | Igo | Shasta | Public | Shasta County, CA | 4444888 | 2018 | Yes | 0.938 | 0.938 | 379-0 | Planned |  | 2020-12-01 | Unknown | Unknown |  |  | 2 |  | 1 |  | Environmental Energy Solutions, LLC (Evensol)
1002588 | 408 | Indian River County LF Class I | FL | Vero Beach | Indian River | Public | Indian River County Solid Waste Disposal District, FL | 5225445 | 2017 | Yes | 0.668 | 0.668 | 200998-0 | Planned | Project #2 | 2020-12-31 | Electricity | Reciprocating Engine |  | (2) 2-MW generators | 4
1005630 | 433 | New River Regional LF | FL | Raiford | Union | Public | New River Solid Waste Association, FL | 5116360 | 2018 | Yes | 1.838 | 1.838 | 498-0 | Planned | Project #1 | 2020-06-30 | Renewable Natural Gas | Vehicle Fuel | Local Use |  |  |  | 0.36 | Fast fill station to be located at the site; NRRL vehicles & Alachua County trucks | Fortistar Methane Group
1006292 | 10540 | North Dade Landfill | FL | Opa-Locka | Miami-Dade | Public | Miami-Dade County, FL | 13929246 | 2018 | Yes | 1.426 | 1.426 | 180906-0 | Planned | Project #1 | 2020-12-31 | Electricity | Reciprocating Engine |  | Detroit Diesel engines, capable of running on 30% CH4 | 2.5 |  | 1 |  | INGENCO
1003560 | 2135 | Southeast Hillsborough County LF | FL | Lithia | Hillsborough | Public | Hillsborough County Public Works Dept./Solid Waste Management Div., FL | 10616175 | 2008 | Yes | 1.621 | 1.621 | 180200-0 | Planned | Project #1 | 2020-12-31 | Direct | Leachate Evaporation | [5 empty] | University of Florida IFAS (Institute of Food and Agricultural Sciences) ~2.5 miles; proposed County WWTP to be located ~2 miles away (proposed construction 2012); electric utilities
1002340 | 2288 | City of LaGrange Landfill | GA | LaGrange | Troup | Public | City of LaGrange, GA | 2918206 | 2018 | Yes | 0.597 | 0.317 | 201358-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  |  | City of LaGrange | Savannah Energy
1003710 | 10403 | Eagle Point Landfill LLC | GA | Ball Ground | Forsyth | Private | Advanced Disposal Services | 16826028 | 2018 | Yes | 9.381 | 9.381 | 180881-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | Designed to treat up to 6,000 scfm LFG, using pretreatment to remove moisture and PM, then Air Liquide's Biogaz Membrane system, for ~4 mmscfd high-Btu gas |  |  | 5.76 | Atlanta Gas Light Company | Aria Energy, LLC
1002564 | 634 | Scott Area SLF | IA | Davenport | Scott | Public | Waste Commission of Scott County, IA | 4482988 | 2018 | Yes | 0.792 | 0.792 | 201367-0 | Planned | Project #2 | 2021-12-01 | Unknown | Unknown |  |  |  |  | 0.5 | Kinder Morgan
1001637 | 1899 | Advanced Disposal Orchard Hills Landfill Inc. | IL | Davis Junction | Ogle | Private | Advanced Disposal Services | 30267437 | 2018 | Yes | 7.697 | 7.697 | 166949-1 | Planned | Project #1, Re-Start | 2020-12-31 | Electricity | Reciprocating Engine |  | (6) GE-Jenbacher 620 engines specifically designed for LFG combustion; each has 20 six-liter cylinders, 2 turbos and a crankcase recirculation system; each produces 2.7 MW at 4,160 volts |  | 17.03 |  |  | Hoosier Energy REC, Inc. | GE Energy - Jenbacher Gas Engines
1006176 | 2315 | Prairie View RDF | IL | Wilmington | Will | Public | Will County, IL | 10510182 | 2018 | Yes | 4.252 | 2.102 | 200974-0 | Planned | Project #2 | 2021-11-30 | Renewable Natural Gas | Vehicle Fuel | Local Use
1003697 | 1874 | Roxana LF | IL | Edwardsville | Madison | Private | Republic Services, Inc. | 27167763 | 2018 | Yes | 7.29 | 7.29 | 201005-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1003240 | 562 | Medora SLF | IN | Medora | Jackson | Private | Rumpke of Indiana, LLC | 5752115 | 2018 | No |  |  | 631-0 | Planned | Project #1 | 2021-12-31 | Renewable Natural Gas | Other | Pipeline Injection
1007094 | 11460 | Big Run Landfill | KY | Ashland | Boyd | Private | Rumpke | 10020976 | 2018 | Yes | 4.065 | 4.065 | 181005-0 | Construction | Project #1 | 2020-08-01 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | LFG will be directed into interstate natural gas transmission system, for first five years will generate RINs and LCFS credits; membrane for CO2 rejection, PSA for N2/O2 rejection |  |  | 3.1 | L'Oreal USA | Big Run Power Producers, LLC | DMT Clear Gas Solutions LLC
1001952 | 692 | West Kentucky Landfill | KY | Mayfield | Graves | Private | WCA Waste Corporation | 2027893 | 2018 | No |  |  | 762-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection |  |  |  |  | Texas Gas interstate pipeline
1005253 | 11240 | Juniper Ridge Landfill | ME | Old Town | Penobscot | Public | State of Maine | 8819734 | 2018 | Yes | 2.425 | 2.425 | 180985-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Other | Unknown |  |  |  | 2.592 | New England electric grid
1003601 | 1885 | Riverview Land Preserve | MI | Riverview | Wayne | Public | City of Riverview, MI | 22217089 | 2018 | Yes | 6.503 |  | 201009-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
| 813 | Clay County SLF | MN | Hawley | Clay | Public | Clay County, MN |  |  | Yes |  |  | 883-0 | Planned | Project #1 | 2020-12-31 | Direct | Boiler | [5 empty] | Clay County landfill shop
1002059 | 820 | Pine Bend Landfill | MN | Inver Grove Heights | Dakota | Private | Republic Services, Inc. | 21563503 | 2018 | Yes | 6 | 0 | 201433-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection
1003101 | 1080 | East Carolina Regional LF | NC | Aulander | Bertie | Private | Republic Services, Inc. | 11944524 | 2018 | Yes | 4.278 | 4.278 | 1153-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection | [5 empty] | Environmental Energy Solutions, LLC (Evensol)
1007044 | 2200 | Foothills Environmental Landfill | NC | Lenoir | Caldwell | Private | Republic Services, Inc. | 5624071 | 2018 | Yes | 2.022 | 2.022 | 180283-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection | [5 empty] | Environmental Energy Solutions, LLC (Evensol)
1006119 | 1113 | New Hanover County Secure Landfill | NC | Wilmington | New Hanover | Public | New Hanover County Department of Environmental Management, NC | 5500223 | 2018 | No |  |  | 1187-0 | Planned |  | 2020-12-31 | Unknown | Unknown
1007984 | 2199 | Upper Piedmont Regional Landfill | NC | Rougemont | Person | Private | Republic Services, Inc. | 4961960 | 2018 | Yes | 2.018 | 2.018 | 180282-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Other | Pipeline Injection |  |  |  |  | Dominion Energy | Environmental Energy Solutions, LLC (Evensol)
1001614 | 2153 | City of Fargo Landfill | ND | Fargo | Cass | Public | City of Fargo, ND | 6700475 | 2018 | Yes | 1.2 | 0 | 201434-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Other | Unknown
1006421 | 2025 | Lebanon Regional Solid Waste Facility | NH | West Lebanon | Grafton | Public | City of Lebanon, NH | 1935839 | 2018 | Yes | 0.48 | 0.504 | 167110-0 | Planned | Project #1 | 2020-12-31 | Electricity | Reciprocating Engine |  |  |  | 1 |  | City of Lebanon; Granite State Electric (Liberty Utilities)
1005255 | 2001 | North Country Environmental Services LF | NH | Bethlehem | Grafton | Private | Casella Waste Systems, Inc. | 5277912 | 2018 | Yes | 3.555 | 3.384 | 180965-0 | Planned | Project #2 | 2020-07-31 | Renewable Natural Gas | Other | Pipeline Injection | LFG will be processed on site to RNG and trucked off site for injection into the pipeline |  |  | 3.6 | Liberty Utilities | RUDARPA
1009137 | 964 | NJMC 1-E Landfill | NJ | North Arlington | Bergen | Public | New Jersey Sports and Exposition Authority (NJSEA) | 50589532 | 2008 | Yes | 1.306 | 1.306 | 181071-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use | 342,000 MMBtu/yr of RNG |  |  |  |  | Savannah Energy
1005488 | 990 | Chautauqua County Landfill | NY | Jamestown | Chautauqua | Public | Chautauqua County, NY | 7507370 | 2018 | Yes | 2.751 | 0 | 201322-0 | Planned | Project #3 | 2021-12-31 | Renewable Natural Gas | Other | Pipeline Injection | [5 empty] | Chautauqua Green Energy LLC
1006021 | 986 | Chemung County Landfill | NY | Elmira | Chemung | Public | Chemung County SWMD, NY | 5039113 | 2018 | Yes | 1.21 | 1.21 | 1058-0 | Planned | Project #1 | 2021-12-31 | Unknown | Unknown |  |  |  |  | 1.728 | New York State Electricity & Gas (NYSEG) (Mark Bodwin, 607-721-1731); NYISO
1007801 | 1227 | East Oak SLF | OK | Oklahoma City | Oklahoma | Private | Waste Management, Inc. | 20529214 | 2018 | Yes | 4.681 | 4.681 | 201436-0 | Construction | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  |  | interstate pipeline
1005652 | 2073 | Dry Creek Landfill | OR | Eagle Point | Jackson | Private | Rogue Disposal & Recycling | 7528106 | 2018 | Yes | 2.3687 | 1.2468 | 200963-0 | Planned | Project #2 | 2020-12-01 | Renewable Natural Gas | Vehicle Fuel | Local Use |  |  |  |  | Rogue Disposal; Avista; Southern Oregon University
1003937 | 1293 | Bethlehem Landfill | PA | Bethlehem | Northampton | Private | Waste Connections, Inc. | 9135209 | 2018 | Yes | 4.298 | 4.298 | 201006-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  |  | UGI Utilities | Aria Energy, LLC
| 21203 | Fairless Landfill | PA | Morrisville | Bucks | Private | Waste Management, Inc. |  |  | Unknown |  |  | 201452-0 | Planned | Project #1 | 2021-01-01 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1006261 | 1256 | Keystone Sanitary Landfill, Inc. | PA | Dunmore | Lackawanna | Private | Keystone Sanitary Landfill, Inc. | 45689274 | 2018 | Yes | 18.803 | 8.5 | 200997-0 | Planned | Project #3 | 2020-06-30 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | process LFG into pipeline-ready gas and inject into high-pressure NG pipeline nearby, and sell down the line for CNG for vehicles |  |  |  | UGI | Meadowbrook Energy LLC
1007630 | 2347 | El Coqui Landfill | PR | Humacao | Humacao | Private | EC Waste | 21033663 | 2018 | Yes | 1.843 | 1.843 | 180450-0 | Planned | Project #1 | 2021-01-31 | Renewable Natural Gas | Electricity | Local Use | 1,200 MMBtu/day of RNG at 95% methane to be distributed to industrial clients via 40-ft CNG trucks; also 50,000 lb beverage-quality liquid CO2/day as byproduct from membrane process |  |  | 4.32 | 5 clients including hotel | Biomass Green Fuels LLC. | Air Liquide Biogas; Guild Associates, Inc.
| 2361 | Vega Baja Landfill | PR | Vega Baja | Vega Baja | Public | Municipality of Vega Baja, PR |  |  | No |  |  | 180464-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use | LFG to LNG to CNG |  |  |  | Pfizer; Puerto Rico Eco-Park | Municipality of Vega Baja, PR; Renovatio Energy Corp
1004041 | 11180 | Twin Chimneys Landfill | SC | Honea Path | Greenville | Public | Greenville County, SC | 3567551 | 2018 | Yes | 1.683 | 1.683 | 180966-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Local Use | [5 empty] | Enerdyne Power Systems, Inc.
1003356 | 1337 | Bradley County LF | TN | McDonald | Bradley | Public | Bradley County, TN | 5426555 | 2018 | Yes |  |  | 1413-0 | Construction | Project #1 | 2020-09-30 | Renewable Natural Gas | Other | Pipeline Injection |  |  |  |  | East Tennessee Natural Gas Pipeline
1002466 | 1330 | South Shelby Landfill | TN | Memphis | Shelby | Private | Republic Services, Inc. | 32722803 | 2018 | Yes | 5.314 |  | 201007-0 | Construction | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  |  | BP | Aria Energy, LLC
1004491 | 11761 | Charles M Hinton Jr Regional Landfill | TX | Rowlett | Dallas | Public | City of Garland, TX | 6685586 | 2018 | Yes | 2.847 | 2.847 | 181043-0 | Planned | Project #1 | 2021-01-01 | Renewable Natural Gas | Other | Pipeline Injection |  |  |  |  | Garland Power and Light |  | Houston Service Industries
1006224 | 1463 | City of Fort Worth Southeast Landfill | TX | Forest Hill | Tarrant | Public | City of Fort Worth, TX | 16124240 | 2018 | Yes | 3.702 | 3.702 | 1539-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Unknown
1000090 | 1475 | City of Grand Prairie LF | TX | Grand Prairie | Dallas | Public | City of Grand Prairie, TX | 4540331 | 2018 | Yes | 1.058 | 1.152 | 1552-0 | Construction | Project #1 | 2020-12-31 | Electricity | Reciprocating Engine |  | (2) 2-MW Cummins engines |  |  |  | Frito Lay |  | Cummins Power Generation
1003646 | 1808 | Coastal Plains RDF | TX | Alvin | Galveston | Private | Waste Management, Inc. | 21791298 | 2018 | Yes | 4.19 |  | 201451-0 | Construction | Project #2 | 2020-07-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | Capacity of 1,857 MMBtu/day; CNG |  |  | 3.6 | TruStar Energy, LLC | Montauk Energy | BIOFerm Energy Systems
1005834 | 1461 | DFW Recycling & Disposal Facility | TX | Lewisville | Denton | Private | Waste Management, Inc. | 69603030 | 2018 | Yes | 8.369 |  | 201448-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Unknown
1006899 | 1465 | McCarty Road LF | TX | Houston | Harris | Private | Republic Services, Inc. | 96148883 | 2018 | Yes | 12.526 |  | 201447-0 | Planned | Project #3 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | [5 empty] | Ameresco, Inc. | DMT Clear Gas Solutions LLC
1007852 | 1456 | Skyline LF | TX | Ferris | Ellis | Private | Waste Management, Inc. | 24342406 | 2018 | Yes | 5.582 |  | 201444-0 | Construction | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection | 5,000 scfm inlet capacity, product gas capacity is 3,300 MMBtu/day; Non-regenerative media H2S removal, membranes for CO2 removal, PSA for N2 removal
1002471 | 1820 | Tessman Road Landfill | TX | San Antonio | Bexar | Private | Republic Services, Inc. | 32152628 | 2018 | Yes | 6.424 |  | 201450-0 | Planned | Project #2 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1007799 | 1819 | Williamson County LF | TX | Hutto | Williamson | Public | Williamson County, TX | 8256757 | 2018 | Yes | 2.868 | 2.868 | 101882-0 | Construction | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  |  | Reliant Energy | Reliant Energy
1006417 | 1539 | Bayview LF | UT | Elberta | Utah | Public | Northern Utah Environmental Resource Agency (NUERA) | 3721969 | 2018 | No |  |  | 1616-0 | Construction | Project #1 | 2020-11-30 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  | 1.008 | Kern River Gas; Dominion Energy | Trans-Jordan Cities, UT; W. R. Henderson Construction, Inc.; WRH Biogas | Guild Associates, Inc.
1007090 | 1624 | Horn Rapids Landfill | WA | Richland | Benton | Public | City of Richland, WA | 2346265 | 2017 | Yes | 0.517 | 0.517 | 1703-0 | Planned | Project #1 | 2020-12-31 | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  | 0.864 |  | WRH Biogas
1007195 | 1667 | Advanced Disposal Glacier Ridge Landfill LLC | WI | Horicon | Dodge | Private | Advanced Disposal Services | 14030520 | 2018 | Yes | 3.575 |  | 201443-0 | Construction | Project #3 | 2020-10-31 | Renewable Natural Gas | Other | Unknown | [5 empty] | Air Liquide Biogas | Air Liquide Biogas
Note on A1: GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Note on B1: Unique identifying number for each landfill
Note on C1: Landfill name
Note on D1: State landfill is located in
Note on E1: City landfill is located in or near
Note on F1: County landfill is located in
Note on G1: Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Note on H1: Organization that owns the landfill
Note on I1: Waste-in-place at the landfill in short tons
Note on J1: Year corresponding to the waste-in-place at the landfill (YYYY)
Note on K1: Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
Note on L1: Amount of landfill gas being collected in million standard cubic feet per day
Note on M1: Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Note on N1: Unique identifying number combination for "parent" project and "expansion" number
Note on O1: Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Note on P1: Specific project name (if applicable)
Note on Q1: Date project or expansion will become operational (MM/DD/YYYY)
Note on R1: Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
Note on S1: Specific type of LFG energy project technology
Note on T1: Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Note on U1: Details about the specific use of landfill gas in the project
Note on V1: Actual or estimated electric generation in megawatts for electricity-generating projects
Note on W1: Rated capacity in megawatts for electricity-generating projects
Note on X1: Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Note on Y1: Potential end users of the landfill gas
Note on Z1: Name of project developer organization
Note on AA1: Name of product supplier organization

## Field Descriptions
Field Name | Description
GHGRP ID | GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Landfill ID | Unique identifying number for each landfill
Landfill Name | Landfill name
State | State landfill is located in
City | City landfill is located in or near
County | County landfill is located in
Ownership Type | Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Landfill Owner Organization(s) | Organization that owns the landfill
Waste in Place (tons) | Waste-in-place at the landfill in short tons
Waste in Place Year | Year corresponding to the waste-in-place at the landfill (YYYY)
LFG Collection System In Place? | Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
LFG Collected (mmscfd) | Amount of landfill gas being collected in million standard cubic feet per day
LFG Flared (mmscfd) | Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Project ID | Unique identifying number combination for "parent" project and "expansion" number
Current Project Status | Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Project Name | Specific project name (if applicable)
Project Start Date | Date project or expansion will become operational (MM/DD/YYYY)
Project Type Category | Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
LFG Energy Project Type | Specific type of LFG energy project technology
RNG Delivery Method | Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
LFG Use Details | Details about the specific use of landfill gas in the project
Actual MW Generation | Actual or estimated electric generation in megawatts for electricity-generating projects
Rated MW Capacity | Rated capacity in megawatts for electricity-generating projects
LFG Flow to Project (mmscfd) | Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Potential End Users | Potential end users of the landfill gas
Project Developer(s) | Name of project developer organization
Product Supplier(s) | Name of product supplier organization