## Tracking Matrix
Through the RE-Powering America's Land initiative, the EPA encourages renewable energy development on potentially contaminated land when aligned with the community's vision for the site. This list tracks completed projects where renewable energy systems have been installed on potentially contaminated lands, landfills, or mine sites. Project capacity data reflect total system capacity, which may be installed in whole or in part on potentially contaminated lands, landfills, or mine sites. For systems with an installed capacity less than 10 kW, the capacity is shown as 0.00. Where information was not found for a given site, it is noted as "Unknown" or with a "-" for numerical values. This information is sorted by "State" and then by "Project Name." Installations newly added for October 2020 are highlighted in orange. Projects highlighted in blue represent multiple installations on a single site (location). Projects striped in orange and blue are new for October 2020 and represent an additional installation on an existing renewable energy on contaminated lands site.
|  | Installations newly added for October 2020 |  |  |  |  | Multiple installations on a single site (location) |  |  |  |  | New Projects for October 2020 representing an additional installation on an existing renewable energy on contaminated lands site
This resource is for informational purposes only. The information in this list was gathered from public announcements of renewable energy projects in the form of company press releases, news releases, and, in some cases, conversations with the parties involved. It may not be a comprehensive list of all projects completed on contaminated land. Projects on this list include ground-mounted utility-scale systems, rooftop systems, and systems used for onsite power, including to power cleanup activities. To provide information on additional projects, please email cleanenergy@epa.gov.
1. Site Description | [8 empty] | 2. Renewable Energy Info |  |  |  | 3. Project Implementation
Site/Project Name | EPA Region | State | City | Type of Site | Site Owner | Site Ownership Type | Property Acreage | Former Use Description | RE Type | Project Capacity (MW) | Project Acreage | Primary RE Developer Name | Completion Date | Project Type
Blaney Hill Solar Farm | 6 | AR | Conway | Landfill | City of Conway | Municipal | 154 | Landfill | Solar PV | 1 | 5 | Conway Corp | 2020 | Wholesale Electricity
Ajo Solar Project | 9 | AZ | Ajo | Mine Lands | Freeport-McMoRan Copper & Gold Inc. | Private | 38 | Adjacent to mining | Solar PV | 5 | 38 | Recurrent Energy | 2011 | Wholesale Electricity
Apache Powder | 9 | AZ | Benson | Superfund | Apache Nitrogen Products, Inc. | Private | 1100 | Dynamite manufacturing facility | Solar PV and Wind | 0.0014 | 0 | Unknown | 1997 | Onsite Use - Green Remediation
Bagdad Mine Solar | 9 | AZ | Bagdad (census-designated) | Mine Lands | Freeport-McMoRan | Private | 21750 | Open-pit copper and molybdenum mine | Solar PV | 15 | 24 | Recurrent Energy | 2011 | Wholesale Electricity
Desert Star Solar Plant | 9 | AZ | Buckeye | Landfill | City of Phoenix | Municipal | 2560 | MSW Landfill | Solar PV | 10 | 118 | Arizona Public Service | 2015 | Wholesale Electricity
Tucson International Airport Area | 9 | AZ | Tucson | Superfund | Tucson Airport Authority | Non-profit | 0 | Airport | Solar PV | 2.5 | 0 | Unknown | 2017 | Unknown
Aerojet General Corporation Superfund Site | 9 | CA | Sacramento | Superfund | Aerojet | Private | 5900 | Rocket propulsion development and testing facility | Solar PV | 6 | 40 | Solar Power, Inc. | 2010 | Wholesale Electricity
Camp Pendleton Landfill | 9 | CA | Camp Pendleton | Superfund | U.S. Marine Corps | Federal | 28 | MSW and Light Industrial Waste Landfill | Solar PV | 1.5 | 5 | Kyocera Solar | 2011 | Onsite Use - General
Cloverdale Solar | 9 | CA | Cloverdale | Landfill | Unknown | Unknown | 0 | Wood Landfill | Solar PV | 1.8 | 0 | Greenleaf-TNX | 2014 | Wholesale Electricity
Fischer Properties: Depot Park | 9 | CA | Sacramento | Brownfields | Fischer Properties | Private | 0 | Former U.S. Army Depot | Solar PV | 3 | 15 | SPG Solar | 2010 | Onsite Use - General
Frontier Fertilizer | 9 | CA | Davis | Superfund | Frontier Fertilizer | Private | 18 | Fertilizer and pesticide storage, sales and application | Solar PV | 0.06888 | 0.5 | Unknown | 2011 | Onsite Use - Green Remediation
Indian Valley Wood Products Campus | 9 | CA | Crescent Mills | Brownfields | Sierra Institute | Non-profit | 6 | Lumber Mill | Biomass | 3 | 0 | Sierra Institute | 2019 | Onsite Use - General
Lawrence Livermore National Laboratory | 9 | CA | Livermore | Superfund | U.S. DOE | Federal | 7000 | Ranchland (weapons testing range) | Solar PV | 3.3 | 10 | Unknown | 2009 | Onsite Use - Green Remediation
Leviathan Mine | 9 | CA | Alpine County | Superfund | Atlantic Richfield Company | Private | 0 | Mine | Solar PV | - | 0 | Unknown | 2011 | Onsite Use - Green Remediation
MCE Solar One (Chevron Richmond Refinery) | 9 | CA | Richmond | Landfill | Chevron Corporation | Private | 0 | Oil Refinery Landfill | Solar PV | 10.5 | 60 | Stion | 2018 | Wholesale Electricity
Milliken Landfill | 9 | CA | Ontario | Landfill | County of San Bernardino | Municipal | 196 | MSW Landfill | Solar PV | 3.1 | 15 | PV Navigator | 2017 | Wholesale Electricity
NASA Jet Propulsion Laboratory (JPL) | 9 | CA | Pasadena | Superfund | NASA | Federal | 0 | Research Facility | Solar PV | 0.564 | 0 | Unknown | 2011 | Rooftop
National Semiconductor Corp. | 9 | CA | Sunnyvale | Superfund | Applied Materials | Private | 60 | Manufacturing | Solar PV | 2 | 1.3 | Unknown | 2008 | Rooftop
Newmark Ground Water Contamination | 9 | CA | San Bernardino | Superfund | Unknown | Unknown | 0 | Industrial/Commercial | Solar PV | 0.75 | 3.5 | Unknown | Unknown | Unknown
Pemaco Superfund Site | 9 | CA | Maywood | Superfund | City of Maywood | Municipal | 1.4 | Custom Chemical Blender | Solar PV | 0.0034 | 1.4 | Unknown | 2007 | Onsite Use - Green Remediation
PSEG Pittsburg Solar Energy Center | 9 | CA | Pittsburg | RCRA | USS - Posco Industries | Private | 115 | Steel Mill Landfilll | Solar PV | 25.4 | 115 | PSEG Solar Source | 2015 | Wholesale Electricity
Regulus Solar Power Plant | 9 | CA | Bakersfield | Brownfields | Unknown | Unknown | 0 | Former gas and oil field | Solar PV | 82 | 737 | SunEdison | 2015 | Wholesale Electricity
Sutter's Landing Landfill Solar | 9 | CA | Sacramento | Landfill | City of Sacramento | Municipal | 0 | MSW Landfill | Solar PV | 1.5 | 0 | SMUD/Conergy | 2014 | Wholesale Electricity
Tequesquite Landfill | 9 | CA | Riverside | Landfill | City of Riverside | Municipal | 120 | MSW Landfill | Solar PV | 7.5 | 20 | Sunpower/RBI Solar | 2015 | Wholesale Electricity
Travis AFB | 9 | CA | Near Fairfield | Superfund | U.S. Air Force | Federal | 6368 | Battery shop / Air Force operations | Solar PV | - | 0 | CH2M | 2008 | Onsite Use - Green Remediation
West County Wastewater District | 9 | CA | Richmond | Brownfields | West County Wastewater District | Municipal | 0 | Sludge-drying Pond | Solar PV | 1 | 10 | Solar Power Partners, Inc. | 2008 | Onsite Use - General
Western Regional Sanitary Landfill | 9 | CA | Lincoln | Landfill | Western Placer Waste Management Authority | Private | 0 | MSW Landfill | Solar PV | 0.009 | 0 | Energy 2011 | 2017 | Onsite Use - General
Westlands Solar Park Phase I | 9 | CA | Fresno | Brownfields | Various | Various | 21000 | Farmland | Solar PV | 2 | 0 | Westside Holdings LLC | 2016 | Wholesale Electricity
Aurora/Arapahoe Solar Array | 8 | CO | Aurora | Brownfields | City of Aurora | Municipal | 4.5 | Adjacent to Buckley AFB | Solar PV | 0.5 | 4.5 | Clean Energy Collective | 2013 | Community Owned / Subscription
Belmar Mixed-Use Development | 8 | CO | Lakewood | Brownfields | Various | Various | 47.5 | Shopping mall | Solar PV | 1.7 | 47.5 | SunPower Corporation | 2008 | Rooftop
Boulder Cowdery Meadows Solar Array | 8 | CO | Boulder | Landfill | Cowdery Company | Private | 3.5 | Landfill buffer to Marshall Landfill Superfund Site | Solar PV | 0.5 | 3.5 | Clean Energy Collective | 2013 | Community Owned / Subscription
Coyote Ridge Solar | 8 | CO | Fort Collins | Landfill Buffer | Larimer County | Municipal | 0 | MSW Landfill (buffer) | Solar PV | 1.95 | 9 | Poudre Valley Rural Electric Association | 2017 | Community Owned / Subscription
Dreher Pickle Plant | 8 | CO | Fort Collins | Brownfields | City of Fort Collins | Municipal | 0 | Pickling Plant | Solar PV | 0.6 | 0 | Clean Energy Collective | 2015 | Community Owned / Subscription
Fort Carson | 8 | CO | Fort Carson | RCRA | U.S. Army | Federal | 15 | Construction Landfill | Solar PV | 2 | 12 | Colorado Springs Utilities | 2008 | Wholesale Electricity
New Rifle Mill | 8 | CO | Rifle | Other | City of Rifle | Municipal | 130 | Former DOE Uranium Processing Mill | Solar PV | 1.7 | 12 | SunEdison | 2009 | Onsite Use - General
Norwood Landfill Community Solar | 8 | CO | Norwood | Landfill | Unknown | Unknown | 0 | MSW Landfill | Solar PV | 0.2 | 0 | GRID Alternatives | 2016 | Community Owned / Subscription
Place Bridge Academy | 8 | CO | Denver | Landfill | Denver Public Schools | Municipal | 10 | Landfill | Solar PV | 0.101 | 1.5 | Namaste Solar | 2013 | Onsite Use - General
Barkhamsted-New Hartford Landfill | 1 | CT | Barkhamsted and New Hartford | Superfund | Towns of Barkhamsted and New Hartford | Municipal | 97.8 | Landfill | Solar PV | 1.5 | 0 | Lodestar | 2017 | Wholesale Electricity
Bethel Town Landfill Solar | 1 | CT | Bethel | Landfill | Town of Bethel | Municipal | 0 | MSW Landfill | Solar PV | 0.948 | 4 | Ameresco | 2018 | Wholesale Electricity
Bozrah Landfill Solar | 1 | CT | Bozrah | Landfill | Town of Bozrah | Municipal | 0 | MSW Landfill | Solar PV | 3.1 | 0 | Brightfields | 2016 | Wholesale Electricity
Bridgeport Landfill | 1 | CT | Bridgeport | Landfill | City of Bridgeport | Municipal | 46 | MSW Landfill (1938-91); Construction Landfill (1996-2000) | Solar PV | 2.2 | 22 | American Capital Energy | 2016 | Wholesale Electricity
Cheshire Landfill Solar | 1 | CT | Cheshire | Landfill | Town of Cheshire | Municipal | 0 | MSW Landfill | Solar PV | 0.98 | 4 | Solar City LLC | 2018 | Wholesale Electricity
Derby Landfill Solar | 1 | CT | Derby | Landfill | City of Derby | Municipal | 23 | MSW Landfill | Solar PV | 0.74 | 6 | Jordan Energy and BQ Energy | 2015 | Wholesale Electricity
Ecology Park (AKA Branford Landfill Solar) | 1 | CT | Branford | Landfill | Town of Branford | Municipal | 0 | MSW Landfill and Landfill Buffer | Solar PV | - | 0 | Solar City LLC | 2018 | Unknown
Evansville Avenue Landfill | 1 | CT | Meriden | Landfill | City of Meriden | Municipal | 0 | MSW Landfill | Solar PV | 1.1 | 3 | Greenskies Renewable Energy LLC | 2017 | Wholesale Electricity
Fairfield Landfill | 1 | CT | Fairfield | Landfill | City of Fairfield | Municipal | 0 | MSW Landfill | Solar PV | 1.3 | 0 | Greenskies Renewable Energy, LLC | 2017 | Wholesale Electricity
Gallup's Quarry | 1 | CT | Plainfield | Superfund | Greenleaf Power | Private | 29 | Gravel Pit | Biomass | 37.5 | 0 | Greenleaf Power | 2013 | Wholesale Electricity
Hartford CT Landfill (solar) | 1 | CT | Hartford | Landfill | City of Hartford | Municipal | 96 | MSW Landfill | Solar PV | 1 | 6 | Tecta Solar | 2014 | Wholesale Electricity
Newtown Landfill Solar | 1 | CT | Newtown | Landfill | Town of Newtown | Municipal | 0 | MSW Landfill | Solar PV | 1 | 4 | Solar City | 2018 | Wholesale Electricity
North Haven Landfill | 1 | CT | North Haven | Landfill | City of North Haven | Municipal | 0 | MSW Landfill | Solar PV | 0.384 | 1 | Greenskies Renewable Energy | 2017 | Onsite Use - General
Rogers Road Landfill | 1 | CT | Norwich | Landfill | City of Norwich | Municipal | 98.3 | MSW Landfill | Solar PV | 3 | 5 | SolarCity with Brightfields | 2017 | Wholesale Electricity
Solvents Recovery Service of New England | 1 | CT | Southington | Superfund | Unknown | Unknown | 4 | Hazardous waste treatment and storage facility | Solar PV | 0.05 | 0 | Unknown | 2018 | Onsite Use - Green Remediation
Stafford Landfill (CT) | 1 | CT | Stafford | Landfill | Town of Stafford | Municipal | 0 | MSW Landfill | Solar PV | 0.945 | 0 | Standard Solar, Inc. | 2016 | Wholesale Electricity
Wintergreen Ave. Landfill | 1 | CT | Hamden | Landfill | City of Hamden | Municipal | 0 | MSW Landfill | Solar PV | 1 | 5 | True Green Capital Solar Generation IV | 2016 | Wholesale Electricity
Woodstock (CT) Landfill Solar | 1 | CT | Woodstock | Landfill | Town of Woodstock | Municipal | 0 | MSW Landfill | Solar PV | 1 | 0 | BeFree Solar | 2016 | Wholesale Electricity
Dupont Newport | 3 | DE | Newport | Superfund | DuPont | Private | 0 | Landfill | Solar PV | 0.5 | 5 | Greenwood Energy | 2013 | Wholesale Electricity
McKees Solar Park | 3 | DE | Newark | Landfill | City of Newark | Municipal | 0 | MSW Landfill | Solar PV | 0.23 | 3.91 | Unknown | 2014 | Community Owned / Subscription
North and South Peninsula | 3 | DE | Wilmington | Brownfields | Greenwood Energy | Private | 7 | Industrial | Solar PV | 1.95 | 7 | Greenwood Energy | 2013 | Wholesale Electricity
Bee Ridge Landfill / Rothenbach Park | 4 | FL | Sarasota | Landfill | Sarasota County | Municipal | 450 | MSW Landfill | Solar PV | 0.25 | 0.64 | Florida Power & Light | 2008 | Wholesale Electricity
Kenneth P. Ksionek Community Solar Farm at the Stanton Energy Center (SEC) | 4 | FL | Orlando | Landfill | Orlando Utilities Commission | Municipal | 0 | MSW Landfill | Solar PV | 13 | 24 | American Capital Energy | 2017 | Community Owned / Subscription
Lake Worth Landfill | 4 | FL | Lake Worth | Landfill | City of Lake Worth | Municipal | 63 | Landfill | Solar PV | 2 | 5 | Siemens | 2017 | Wholesale Electricity
Deptford Landfill | 4 | GA | Savannah | Landfill | Dulany Industries | Private | 0 | Landfill | Solar PV | 1.2 | 5 | Unknown | 2019 | Wholesale Electricity
Hickory Ridge Landfill | 4 | GA | Atlanta | Landfill | Republic Services, Inc | Private | 48 | MSW Landfill | Solar PV | 1 | 10 | Republic Services | 2011 | Wholesale Electricity
Jekyll Island Landfill | 4 | GA | Jekyll Island | Landfill | Georgia | Municipal | 0 | Landfill | Solar PV | 1 | 4 | Radiance | 2019 | Wholesale Electricity
Goodfellow Bros. Solar Rooftop | 9 | HI | Kapolei | RCRA | Goodfellow Bros. | Private | 2.6 | Wood Treatement Facility | Solar PV | 0.06 | 0.07 | Hi-Powering Solar, LLC | 2019 | Rooftop
Kapolei Sustainable Energy Park | 9 | HI | Kapolei | RCRA | James Campbell Company LLC | Private | 12 | Former Industrial Disposal Site | Solar PV | 1.2 | 4 | Forest City Hawaii | 2011 | Wholesale Electricity
Schaus-Vorhies Solar | 7 | IA | Fairfield | Brownfields | Schaus-Vorhies Manufacturing | Private | 11 | Foundry | Solar PV | 0.5 | 0 | Ideal Energy | 2016 | Wholesale Electricity
West Dubuque Solar Garden | 7 | IA | Dubuque | Brownfields | A.Y. McDonald Co | Municipal | 0 | Plumbing Manufacturing | Solar PV | 5 | 21.1 | Alliant Energy | 2017 | Wholesale Electricity
Exelon City Solar | 5 | IL | Chicago | Brownfields | City of Chicago | Municipal | 21 | Foundry and casting operation/fastener, hydraulic system components, and ball bearing manufacturer | Solar PV | 10 | 41 | Exelon and SunPower Corporation | 2010 | Wholesale Electricity
Gobnob Wind Turbine Project | 5 | IL | Farmersville | Brownfields | Illinois DNR | State | 14 | Freeman United Crown 1 Mine | Wind | 0.9 | 0 | Rural Electric Convenience Cooperative of Central IL | 2009 | Wholesale Electricity
Crane Naval | 5 | IN | Crane | Landfill | U.S. Navy | Federal | 64000 | Landfill | Solar PV | 17 | 145 | Duke Energy | 2017 | Wholesale Electricity
Kokomo Solar Park | 5 | IN | Kokomo | Superfund | Continental Steel | Private | 183 | Steel Operations (nails, wire, and wire fence) | Solar PV | 7 | 26 | Inovateus Solar LLC | 2016 | Wholesale Electricity
Kokomo Wind Farm (Continental Steel ) | 5 | IN | Kokomo | Superfund | Continental Steel | Private | 183 | Steel Operations (nails, wire, and wire fence) | Wind | - | 0 | Unknown | 2017 | Onsite Use - Green Remediation
Marion County Solar #1 | 5 | IN | Indianapolis | Landfill | Citizens Energy Group | Private | 0 | Monofill Landfill (ash) | Solar PV | 5.2 | 0 | groSolar (now EDF Renewables) | 2015 | Wholesale Electricity
Marion County Solar #2 | 5 | IN | Indianapolis | Brownfields | Citizens Energy Group | Private | 0 | Natural Gas Facility | Solar PV | 1.9 | 0 | groSolar (now EDF Renewables) | 2015 | Wholesale Electricity
Reilly Tar & Chemical (Indianapolis) | 5 | IN | Indianapolis | Superfund | Vertellus Specialities Inc. | Private | 120 | Chemical Manufacturing Facility | Solar PV | 10.8 | 45 | Hanhwa Q Cells | 2014 | Wholesale Electricity
Strother Field Industrial Park | 7 | KS | Winfield | Superfund | Various | Various | 0 | Military and Industrial | Solar PV | 0.063 | 0 | Unknown | 2014 | Rooftop
Fort Campbell Solar Phase One | 4 | KY | Fort Campbell | Landfill | U.S. Army | Federal | 105000 | Landfill | Solar PV | 1.9 | 5 | BITHENERGY | 2015 | Onsite Use - General
Fort Campbell Solar Phase Two | 4 | KY | Fort Campbell | Landfill | U.S. Army | Federal | 105000 | Landfill | Solar PV | 3.1 | 30 | BITHENERGY | 2017 | Wholesale Electricity
Acton Landfill | 1 | MA | Acton | Landfill | Town of Acton | Municipal | 35 | MSW and Light Industrial Waste Landfill | Solar PV | 1.6 | 17.5 | Ameresco | 2013 | Wholesale Electricity
Adams Landfill | 1 | MA | Adams | Landfill | Town of Adams | Municipal | 20 | MSW Landfill | Solar PV | 1.1 | 5 | Apis Energy Group | 2013 | Wholesale Electricity
Aquinnah Landfill | 1 | MA | Aquinnah | Landfill | Town of Aquinnah | Municipal | 6.3 | MSW Landfill | Solar PV | 0.05 | 1.3 | Vineyard Power Solar, LLC | 2012 | Onsite Use - General
Barnstable Landfill | 1 | MA | Barnstable | Landfill | Town of Barnstable | Municipal | 86 | Landfill | Solar PV | 4.2 | 17 | American Capital Energy | 2014 | Wholesale Electricity
Beech St. Landfill | 1 | MA | Rockland | Landfill | Town of Rockland | Municipal | 98 | MSW Landfill | Solar PV | 3.2 | 7.5 | NextSun Energy | 2014 | Wholesale Electricity
Bellingham Landfill Solar | 1 | MA | Bellingham | Landfill | Town of Bellingham? | Municipal | 0 | MSW Landfill | Solar PV | 2.7 | 0 | Kearsarge Bellingham | 2017 | Wholesale Electricity
Bent Mill Solar | 1 | MA | Gardner | State Brownfields | City of Gardner | Municipal | 27 | Manufacturing (furniture) | Solar PV | 1 | 5 | BCC Solar Energy Advantage/Borrego | 2014 | Wholesale Electricity
Berkley Landfill Solar | 1 | MA | Berkley | Landfill | Waste Management | Private | 23 | Residential, commerical, and industrial landfill | Solar PV | 3.6 | 18 | Southern Sky Renewable Energy | 2017 | Wholesale Electricity
Berkshire Truck Plaza | 1 | MA | West Stockbridge | State Brownfields | Private | Private | 14.4 | Former Comercial | Solar PV | 3 | 10 | ALTRU Energy LLC | 2016 | Wholesale Electricity
Bird Machine Landfill | 1 | MA | Walpole | Landfill | Baker Hughes (a GE company) | Private | 134 | Industrial Landfill | Solar PV | 4.75 | 25 | Soltage | 2017 | Wholesale Electricity
Bolton Orchards | 1 | MA | Bolton | Brownfields | Davis Farms Trust | Private | 105.4 | Gravel pit | Solar PV | 6 | 50 | Syncarpha Solar | 2013 | Wholesale Electricity
Bolton Orchards Phase II | 1 | MA | Bolton | Brownfields | Davis Farms Trust | Private | 105.4 | Gravel pit | Solar PV | 2.8 | 13 | Syncarpha / Renewable Energy Massachusetts | 2016 | Community Owned / Subscription
Boxford Landfill | 1 | MA | Boxford | Landfill | Town of Boxford | Municipal | 7 | MSW Landfill | Solar PV | 1 | 3.5 | Borrego Solar | 2017 | Wholesale Electricity
Braintree Landfill | 1 | MA | Braintree | Landfill | Braintree Electric Light Department | Municipal | 0 | MSW Landfill | Solar PV | 1.26 | 0 | Ameresco/Ivory Street Solar, LLC | 2014 | Wholesale Electricity
Brewster Landfill | 1 | MA | Brewster | Landfill | Town of Brewster | Municipal | 16 | MSW Landfill and Recycling Center | Solar PV | 1.23 | 16 | American Capital Energy | 2014 | Wholesale Electricity
Bridge Street Landfill | 1 | MA | Fairhaven | Landfill | Town of Fairhaven | Municipal | 0 | MSW Landfill | Solar PV | 0.578 | 3 | Dynamic Power/Blue Sky/Heliosage | 2013 | Onsite Use - General
Brockton Brightfield | 1 | MA | Brockton | Brownfields | City of Brockton and Bay State Gas Company | Municipal | 27 | Former Gas Works Site | Solar PV | 0.46 | 3.7 | Global Solar | 2006 | Wholesale Electricity
Cedar Street Landfill | 1 | MA | Cohasset | Landfill | Town of Cohasset | Municipal | 43.8 | MSW Landfill | Solar PV | 0.42 | 1.7 | Palmer Capital/CohSolar LLC | 2017 | Wholesale Electricity
Charles George Landfill | 1 | MA | Tyngsboro/Dunstable | Superfund | Charles George Family | Private | 71 | MSW and Industrial Landfill | Solar PV | 3.56 | 18 | Tyngsborough Landfill Solar, LLC | 2017 | Wholesale Electricity
Chatham Landfill | 1 | MA | Chatham | Landfill | Town of Chatham | Municipal | 30 | MSW Landfill | Solar PV | 1.8 | 16.5 | American Capital Energy | 2014 | Wholesale Electricity
Chicopee Elks Landfill | 1 | MA | Chicopee | Landfill | Chicopee Lodge of Elks #1849 | Private | 0 | Landfill | Solar PV | 2.1 | 9.6 | Citizens Enterprises Corp | 2015 | Wholesale Electricity
Chilmark Landfill | 1 | MA | Chilmark | Landfill | Town of Chilmark | Municipal | 11.2 | MSW landfill | Solar PV | 0.099 | 6 | Vineyard Power | 2014 | Wholesale Electricity
Concord Landfill Phase I | 1 | MA | Concord | Landfill | Town of Concord | Municipal | 0 | MSW Landfill | Solar PV | 1.7 | 0 | Kearsarge Energy | 2014 | Wholesale Electricity
Cottage Street Landfill | 1 | MA | Springfield | Landfill | Cottage Developers, LLP. | Municipal | 62 | MSW Landfill | Solar PV | 3.9 | 40 | Western MA Electric Co. (WMECO) | 2014 | Wholesale Electricity
Cowles Gravel Solar | 1 | MA | Westfield | Brownfields | Private trust | Private | 35 | Gravel Pit | Solar PV | 2.6 | 10 | Westfield Solar, Inc. (subsidiary of ConEdison Development) | 2016 | Wholesale Electricity
Delta Hills Landfill | 1 | MA | Chicopee | Landfill | WestMass Area Development Corp. | Private | 0 | MSW Landfill | Solar PV | 2.69 | 8 | CR Solar | 2015 | Wholesale Electricity
Dorchester Solar Power Project | 1 | MA | Dorchester | Brownfields | National Grid | Private | 0 | Former Manufactured Gas Plant | Solar PV | 1.3 | 6 | Unknown | 2012 | Wholesale Electricity
Dover Landfill Solar | 1 | MA | Dover | Landfill | Hale Reservation | Private | 1137 | MSW Landfill | Solar PV | 1.4 | 10 | Blue Wave | 2017 | Community Owned / Subscription
Duxbury Landfill | 1 | MA | Duxbury | Landfill | Town of Duxbury | Municipal | 19 | MSW Landfill | Solar PV | 0.585 | 3 | American Capital Energy (as Duxbury Solar LLC) and Renewable Energy Development Partners, LLC | 2014 | Wholesale Electricity
East Bridgewater Landfill Solar | 1 | MA | East Bridgewater | Landfill | Republic Services | Private | 233 | MSW Landfill | Solar PV | 3.2 | 0 | Soltage | 2017 | Wholesale Electricity
Eastham Landfill | 1 | MA | Eastham | Landfill | Town of Eastham | Municipal | 38 | MSW Landfill | Solar PV | 0.627 | 10.4 | American Capital Energy | 2014 | Wholesale Electricity
Emery Street Landfill | 1 | MA | Palmer | Landfill | Town of Palmer | Municipal | 10 | Landfill | Solar PV | 5 | 1.3 | Borrego Solar; Syncarpha Capital | 2017 | Wholesale Electricity
Everett Solar Power Project | 1 | MA | Everett | Brownfields | National Grid | Private | 0 | Former Manufactured Gas Plant | Solar PV | 0.61 | 2.5 | Unknown | 2010 | Wholesale Electricity
Fairhaven Sanitary Landfill (Canton) | 1 | MA | Canton | Landfill | Town of Canton | Municipal | 15 | MSW Landfill | Solar PV | 5.6 | 12.5 | Southern Sky Renewable Energy / GZA | 2012 | Wholesale Electricity
Falmouth Landfill | 1 | MA | Falmouth | Landfill | Town of Falmouth | Municipal | 48 | MSW Landfill | Solar PV | 4 | 16 | Citizens Energy | 2017 | Wholesale Electricity
Fitchburg Gas & Electric Light Company | 1 | MA | Fitchburg | State Brownfields | Private | Private | 19.5 | Commercial/Industrial | Solar PV | 1 | 15 | UNITIL | 2017 | Wholesale Electricity
FMR Industrial | 1 | MA | Halifax | State Brownfields | Private | Private | 38 | Agriculture/Pasture | Solar PV | 6 | 30 | Halifax Solar, LLC | 2019 | Wholesale Electricity
FMR Lucent Technologies | 1 | MA | North Andover | State Brownfields | Private | Private | 169 | Former Manufacturing | Solar PV | 3.3 | 40 | Heritage Place, LLC | 2016 | Wholesale Electricity
Former Comp Chemical | 1 | MA | Mansfield | State Brownfields | Private | Private | 32 | Former Industrial | Solar PV | 1.95 | 7.5 | Bay4 Energy | 2016 | Wholesale Electricity
Former Grasso Landfill | 1 | MA | Agawam | Landfill | Town of Agawam | Municipal | 9.5 | MSW Landfill | Solar PV | 1.98 | 9.5 | Rivermoor-Citizens Agawam, LLC | 2013 | Wholesale Electricity
Former Parsons Paper Company | 1 | MA | Holyoke | State Brownfields | Private | Private | 0 | Former Paper Company | Solar PV | 2.5 | 15 | Unknown | Unknown | Wholesale Electricity
Genrad Solar | 1 | MA | Stow | RCRA | Teradyne Corp. | Private | 85 | Manufacturing/Electroplating | Solar PV | 2.5 | 12 | REM LLC/Syncarpha Capitol/Gehrlicher | 2013 | Wholesale Electricity
Greenfield Solar Farm | 1 | MA | Greenfield | Landfill | Town of Greenfield | Municipal | 23 | MSW Landfill | Solar PV | 2 | 23 | Axio Power | 2012 | Wholesale Electricity
Greenwood St. Landfill | 1 | MA | Worcester | Landfill | City of Worcester | Municipal | 52 | MSW Landfill | Solar PV | 8.1 | 25 | Borrego Solar | 2017 | Wholesale Electricity
Groton Landfill | 1 | MA | Groton | Landfill | Town of Groton | Municipal | 0 | MSW Landfill | Solar PV | 2.93 | 8 | Groton Landfill Solar, LLC | 2016 | Wholesale Electricity
Groveland Wells Solar | 1 | MA | Groveland | Superfund | Groveland Municipal Light | Municipal | 35 | Manufacturing (metal and plastics) | Solar PV | 3.6 | 19 | Consolidated Edison Development, Inc. | 2013 | Wholesale Electricity
Hartford Turnpike/Shrewsbury Landfill | 1 | MA | Shrewsbury | Landfill | Town of Shrewsbury | Municipal | 270 | Landfill | Solar PV | 3.8 | 0 | Exyte Energy | 2018 | Wholesale Electricity
Harwich Municipal Landfill | 1 | MA | Harwich | Landfill | Town of Harwich | Municipal | 120 | MSW Landfill | Solar PV | 4.5 | 28 | American Capital Energy | 2014 | Wholesale Electricity
Haverhill Solar Power Project | 1 | MA | Haverhill | Brownfields | National Grid | Private | 0 | Former Manufactured Gas Plant | Solar PV | 1 | 5 | Rivermoor Energy | 2010 | Wholesale Electricity
Hill Street Landfill | 1 | MA | Norton | Landfill | City of Norton | Municipal | 38 | Landfill | Solar PV | 2 | 8.5 | Norton Landfill Solar LLC | 2016 | Wholesale Electricity
Hix Bridge Road Landfill | 1 | MA | Westport | Landfill | Town of Westport | Municipal | 15 | MSW Landfill | Solar PV | 0.622 | 2.5 | Ameresco | 2019 | Wholesale Electricity
Howe Street Landfill | 1 | MA | Ashland | Landfill | Town of Ashland | Municipal | 0 | MSW/Industrial Landfill | Solar PV | 1 | 0 | Ameresco | 2018 | Wholesale Electricity
Hudson/Stow Landfill Solar | 1 | MA | Hudson | Landfill | Waste Management | Private | 0 | MSW Landfill | Solar PV | 5 | 28 | Unknown | 2017 | Wholesale Electricity
Hull Wind II | 1 | MA | Hull | Landfill | Town of Hull | Municipal | 13 | MSW Landfill | Wind | 1.8 | 10 | Hull Municipal Light | 2006 | Wholesale Electricity
Hunt Road Landfill | 1 | MA | Amesbury | Landfill | Waste Management | Private | 65 | MSW Landfill | Solar PV | 6 | 30 | Citizens Energy | 2016 | Wholesale Electricity
Huntington Avenue Landfill | 1 | MA | Metheun | Landfill | Town of Methuen | Municipal | 30 | MSW Landfill | Solar PV | 1.3 | 4.7 | Borrego Solar | 2013 | Wholesale Electricity
Indian Orchard Solar Facility | 1 | MA | Springfield | Brownfields | Springfield Redevelopment Authority | Municipal | 15.95 | Former Foundry | Solar PV | 2 | 10 | Citizens Energy | 2011 | Wholesale Electricity
Iron Horse Park / Shaffer Landfill | 1 | MA | Billerica | Superfund | Town of Billerica | Municipal | 40 | MSW Landfill | Solar PV | 5.99 | 30 | Urban Green Technologies | 2014 | Wholesale Electricity
Iron Horse Park Asbestos Landfill Solar | 1 | MA | Billerica | Superfund | B&M/PanAm | Private | 174 | Asbestos Landfill | Solar PV | 6 | 30 | Conti Solar; Syncarpha Capital | 2017 | Wholesale Electricity
Iron Horse Park/Dow Solar | 1 | MA | Billerica | Superfund | Dow Chemical Corp. | Private | 174 | Chemical Manufacturing Facility | Solar PV | 3.68 | 20 | Soltage | 2016 | Wholesale Electricity
Lancaster Landfill | 1 | MA | Lancaster | Landfill | Town of Lancaster | Municipal | 7 | Gravel Pit Adjacent to Landfill | Solar PV | 0.5 | 2.8 | Unknown | 2013 | Wholesale Electricity
Lee Landfill (Willow Hill Road) | 1 | MA | Lee | Landfill | Schweitzer-Mauduit International | Private | 0 | Paper Sludge Landfill | Solar PV | 2.6 | 17.5 | East Light Solar | 2017 | Wholesale Electricity
Lenox Landfill | 1 | MA | Lenox | Landfill | Town of Lenox | Municipal | 0 | MSW Landfill | Solar PV | 0.748 | 0 | Willow Creek Solar LLC (subsidiary of Ameresco) | 2017 | Wholesale Electricity
Lexington Landfill | 1 | MA | Lexington | Landfill | Town of Lexington | Municipal | 29 | Former Landfill | Solar PV | 1.4 | 15 | Syncarpha Capital, LLC | 2016 | Wholesale Electricity
Ludlow Landfill | 1 | MA | Ludlow | Landfill | Town of Ludlow | Municipal | 22 | MSW Landfill | Solar PV | 2.7 | 17 | Borrego Solar | 2013 | Wholesale Electricity
M.T. Sullivan Landfill | 1 | MA | Chicopee | Landfill | City of Chicopee | Private | 50 | Former Landfill | Solar PV | 2 | 13.5 | Southern Sky Renewable Energy | 2017 | Wholesale Electricity
Marion Landfill Community Solar | 1 | MA | Marion | Landfill | Town of Marion | Municipal | 50 | MSW Landfill | Solar PV | 5.2 | 2.4 | My Generation Energy | 2015 | Community Owned / Subscription
Mashpee Landfill Solar | 1 | MA | Mashpee | Landfill | Town of Mashpee | Municipal | 0 | MSW Landfill | Solar PV | 2.1 | 8 | American Capital Energy/Renewable Energy Development Partners, LLC | 2014 | Wholesale Electricity
Massachusetts Military Reservation (Otis) | 1 | MA | Sagamore | Superfund | U.S. Air Force | Federal | 22000 | Military training and aircraft operation and maintenance | Wind | 4.5 | 0 | Unknown | 2011 | Onsite Use - Green Remediation
Montague Landfill Solar | 1 | MA | Montague | Landfill | Town of Montague | Municipal | 0 | MSW Landfill | Solar PV | 5.9 | 40 | Kearsarge Energy | 2018 | Wholesale Electricity
Mount Tom Station | 1 | MA | Holyoke | State Brownfields | ENGIE North America | Private | 128 | Coal Plant | Solar PV | 5.76 | 30 | GDF SUEZ | 2017 | Wholesale Electricity
MT Sullivan Landfill Solar | 1 | MA | Chicopee | Landfill | Waste Management | Private | 0 | MSW Landfill | Solar PV | 2.5 | 6 | Unknown | 2017 | Wholesale Electricity
Needham Landfill | 1 | MA | Needham | Landfill | City of Needham | Municipal | 75.4 | MSW Landfill | Solar PV | 3.7 | 13 | Brightfields | 2016 | Wholesale Electricity
New Bedford High School Solar | 1 | MA | New Bedford | Brownfields | City of New Bedford | Private | 0 | School Public K-12 (current) | Solar PV | 0.5 | 2.5 | Blue Wave Capitol | 2012 | Wholesale Electricity
Norfolk Landfill Phase I | 1 | MA | Norfolk | Landfill | Town of Norfolk | Municipal | 50.5 | MSW Landfill and Adjacent Land | Solar PV | 0.55 | 1.58 | Constellation Solar Massachusetts, LLC | 2012 | Wholesale Electricity
Norfolk Landfill Phase II | 1 | MA | Norfolk | Landfill | Town of Norfolk | Municipal | 50.5 | MSW Landfill and Adjacent Land | Solar PV | 1.05 | 3.54 | Constellation Solar Massachusetts, LLC | 2012 | Wholesale Electricity
North Adams Landfill | 1 | MA | North Adams | Landfill | Town of North Adams | Municipal | 0 | MSW Landfill | Solar PV | 3.5 | 15 | Borrego Solar; Syncarpha Capital | 2015 | Wholesale Electricity
North Carver Landfill | 1 | MA | North Carver | Landfill | Town of North Carver | Municipal | 22 | MSW Landfill | Solar PV | 1.7 | 8 | Southern Sky Renewables | 2016 | Wholesale Electricity
Northampton Landfill Solar | 1 | MA | Northampton | Landfill | City of Northampton | Municipal | 15 | MSW Landfill | Solar PV | 3.17 | 15 | Ameresco | 2017 | Wholesale Electricity
Nyanza Waste Dump Superfund Site | 1 | MA | Ashland | Superfund | Unknown | Unknown | 226 | Chemical Waste Dump | Solar PV | 5.8 | 18 | Ashland Solar LLC | 2020 | Wholesale Electricity
Oliver Street Landfill | 1 | MA | Easthampton | Landfill | City of Easthampton | Municipal | 40 | MSW Landfill | Solar PV | 2.3 | 12 | Borrego Solar | 2012 | Wholesale Electricity
Orleans Landfill | 1 | MA | Orleans | Landfill | Town of Orleans | Municipal | 21 | MSW Landfill | Solar PV | 0.574 | 1.69 | Broadway Renewable Strategies, LLC | 2015 | Wholesale Electricity
Osgood Landing Solar | 1 | MA | North Andover | State Brownfields | Ozzy Properties | Private | 0 | Manufacturing | Solar PV | 6 | 0 | Osgood Solar | 2016 | Wholesale Electricity
Palmer Metropolitan Airfield Solar | 1 | MA | Palmer | Brownfields | JenJill LLC | Private | 30 | Airfield | Solar PV | 5.9 | 30 | Borrego Solar; Syncarpha Capital | 2016 | Wholesale Electricity
Pembroke Landfill Solar | 1 | MA | Pembroke | Landfill | Town of Pembroke | Municipal | 210 | MSW Landfill | Solar PV | 3.256 | 9 | CS Energy | 2017 | Wholesale Electricity
Philips Lightolier Wind | 1 | MA | Fall River | Brownfields | Philips | Private | 31.6 | Manufacturing/Industrial Park | Wind | 2 | 0 | Philips | 2012 | Wholesale Electricity
Pittsfield Municipal Landfill | 1 | MA | Pittsfield | Landfill | City of Pittsfield | Municipal | 44 | MSW Landfill | Solar PV | 2.91 | 9 | Ameresco | 2017 | Wholesale Electricity
Plainville Landfill | 1 | MA | Plainfille | Landfill | Republic Services (Allied Waste) | Private | 138 | MSW Landfill | Solar PV | 6 | 0 | Soltage LLC | 2017 | Wholesale Electricity
Prospect Street Landfill | 1 | MA | Easton | Landfill | Town of Easton | Municipal | 8.2 | MSW Landfill | Solar PV | 1.9 | 8 | Borrego Solar | 2014 | Wholesale Electricity
Quaboag Landfill Solar | 1 | MA | Brookfield | Landfill | Town of Brookfield | Municipal | 15.7 | MSW Landfill | Solar PV | 0.434 | 3 | Washington Gas Energy Systems, Inc. | 2013 | Wholesale Electricity
Raffaele Road Solar Project | 1 | MA | Plymouth | Brownfields | Plymouth Sand and Gravel LLC | Private | 30 | Sand and Gravel Pit | Solar PV | 5.67 | 26 | BlueWave Capital | 2014 | Wholesale Electricity
Randolph Landfill Solar | 1 | MA | Randolph | Landfill | Republic Services | Private | 295 | MSW Landfill | Solar PV | 4.8 | 30 | Soltage | 2017 | Wholesale Electricity
Ravenbrook Farms Landfill | 1 | MA | North Carver | Landfill | Ravenbrook Farms, Inc. (Willard Rhodes) | Private | 31 | MSW, CD&D Landfill | Solar PV | 6 | 14 | Southern Sky Renewable Energy | 2014 | Wholesale Electricity
Raynham Landfill Community Solar | 1 | MA | Raynham | Landfill | Taunton Municipal Light Plant | Municipal | 0 | Landfill | Solar PV | 3 | 14 | Green Street Power Partners, LLC | 2018 | Community Owned / Subscription
Rehoboth Landfill (MA) | 1 | MA | Rehoboth | Landfill | Town of Rehobeth | Municipal | 20.87 | MSW Landfill | Solar PV | 2.49 | 18.3 | NRG Renew LLC | 2015 | Wholesale Electricity
Re-Solve Superfund Solar | 1 | MA | Dartmouth | Superfund | Unknown | Unknown | 6 | Waste Chemical Reclamation | Solar PV | 0.15 | 2 | Weston Solutions | 2012 | Onsite Use - Green Remediation
Revere Solar Power Project | 1 | MA | Revere | Brownfields | National Grid | Private | 0 | Former Manufactured Gas Plant | Solar PV | 0.75 | 3 | Unknown | 2010 | Wholesale Electricity
Rising Paper Solar | 1 | MA | Great Barrington | Landfill | Rising Paper, LLC | Private | 26 | Paper Landfill | Solar PV | 3.2 | 16 | Altus Power America Management, LLC | 2016 | Wholesale Electricity
Rumford Ave. Landfill Solar | 1 | MA | Newtown | Landfill | City of Newtown | Municipal | 0 | MSW and DPW materials landfill | Solar PV | 2.137 | 9 | Ameresco / Rumford Ave. Solar, LLC | 2017 | Wholesale Electricity
Russells Mills Road Landfill | 1 | MA | Dartmouth | Landfill | Town of Dartmouth | Municipal | 115 | MSW Landfill | Solar PV | 1.45 | 6.3 | Borrego Solar | 2013 | Wholesale Electricity
Saugus Landfill Solar | 1 | MA | Saugus | Landfill | Town of Saugus | Municipal | 16 | MSW Landfill | Solar PV | 1.66 | 4 | Ameresco | 2017 | Wholesale Electricity
Scituate Landfill | 1 | MA | Scituate | Landfill | Town of Scituate | Municipal | 29 | Landfill: MSW, construction debris, and wastewater treatment residuals | Solar PV | 3 | 12.5 | Scituate Solar - JV between Brightfields Development LLC and Syncarpha Capital | 2013 | Wholesale Electricity
Shirley Landfill | 1 | MA | Shirley | Landfill | Town of Shirley | Municipal | 10 | MSW Landfill | Solar PV | 1.35 | 3.5 | Altus Power America, LLC | 2017 | Wholesale Electricity
Silver Lake Solar Photovoltaic Facility | 1 | MA | Pittsfield | Superfund | Western Massachusetts Electric Company | Private | 8 | Former GE site and former steam generating site | Solar PV | 1.8 | 8 | Western Massachusetts Electric Company (WMECO) | 2010 | Wholesale Electricity
Simonds Rd. Landfill | 1 | MA | Williamstown | Landfill | Town of Williamstown | Municipal | 18 | MSW Landfill | Solar PV | 2 | 7 | Brightfields | 2018 | Wholesale Electricity
SOLUTIA (MONSANTO) | 1 | MA | Springfield | RCRA | Private | Private | 180 | Former Chemical Plant | Solar PV | 2 | 10 | Unknown | Unknown | Wholesale Electricity
South Hadley Landfill | 1 | MA | South Hadley | Landfill | Town of South Hadley | Municipal | 0 | MSW Landfill | Solar PV | 0.077 | 0 | Tensar/ARM Group | 2012 | Onsite Use - General
Stockbridge Landfill | 1 | MA | Stockbridge | Landfill | Town of Stockbridge | Municipal | 0 | MSW Landfill | Solar PV | 0.9 | 2.6 | Ameresco | 2018 | Wholesale Electricity
Stow Brownfield Solar | 1 | MA | Stow | Brownfields | Unknown | Private | 12 | Unknown | Solar PV | 2.5 | 12 | Syncarpha Solar and Renewable Energy Massachusetts | 2013 | Wholesale Electricity
Sudbury Landfill | 1 | MA | Sudbury | Landfill | Town of Sudbury | Municipal | 18 | MSW Landfill | Solar PV | 1.5 | 5.3 | Ameresco/Solar Sudbury One, LLC | 2013 | Wholesale Electricity
Sullivan's Ledge | 1 | MA | New Bedford | Superfund | City of New Bedford | Municipal | 26.5 | Quarry / Hazardous Waste Disposal | Solar PV | 1.76 | 10 | Bright Plain Renewable Energy | 2014 | Wholesale Electricity
Sylvester Ray Construction & Demolition Debris Landfill | 1 | MA | Marshfield | Landfill | Sylvester Ray, Inc. | Private | 27 | Demolition Landfill | Solar PV | 3.87 | 13 | No Fossil Fuel, LLC | 2013 | Wholesale Electricity
Theophilus Smith Road Landfill | 1 | MA | Dennis | Landfill | Town of Dennis | Municipal | 148 | MSW Landfill | Solar PV | 6 | 34 | American Capital Energy | 2014 | Wholesale Electricity
Tisbury Landfill | 1 | MA | Tisbury | Landfill | Town of Tisbury | Municipal | 22 | MSW Landfill | Solar PV | 1.2 | 4 | American Capital Energy | 2014 | Wholesale Electricity
Titcomb Solar Array | 1 | MA | Amesbury | Landfill | City of Amesbury | Municipal | 17 | MSW Landfill | Solar PV | 4.5 | 16 | Kearsarge Energy | 2019 | Wholesale Electricity
W.R. Grace Solar | 1 | MA | Acton/Concord | Superfund | Town of Concord | Municipal | 240 | Manufacturing (sealants, concrete) | Solar PV | 5.5 | 30 | Kearsarge Energy | 2016 | Wholesale Electricity
Waltham Street Landfill | 1 | MA | Maynard | Landfill | Town of Maynard | Municipal | 14 | MSW Landfill | Solar PV | 1.2 | 5 | EPG Solar | 2013 | Wholesale Electricity
West Boylston Landfill | 1 | MA | West Boylston | Landfill | West Boylston Municipal Lighting Plant | Municipal | 0 | MSW Landfill | Solar PV | 1.5 | 5 | Greenskies Renewable Energy | 2017 | Community Owned / Subscription
West Tisbury Landfill | 1 | MA | West Tisbury | Landfill | Town of West Tisbury | Municipal | 9.3 | MSW Landfill | Solar PV | 0.884 | 6 | Broadway Renewable Strategies, LLC | 2015 | Wholesale Electricity
Westfield Landfill | 1 | MA | Westfield | Landfill | City of Westfield | Municipal | 10 | MSW Landfill | Solar PV | 2.5 | 7.5 | Citizens Energy | 2015 | Wholesale Electricity
Westford St. Landfill | 1 | MA | Lowell | Landfill | City of Lowell | Municipal | 42 | Landfill - MSW, ash, oxide box waste | Solar PV | 1.5 | 6 | Ameresco | 2014 | Wholesale Electricity
Weston Landfill | 1 | MA | Weston | Landfill | Town of Weston | Municipal | 0 | MSW Landfill | Solar PV | 2.27 | 9 | Ameresco (d/b/a/ Church Street Solar) | 2016 | Wholesale Electricity
Wilbraham Landfill | 1 | MA | Wilbraham | Landfill | Town of Wilbraham | Municipal | 0 | MSW Landfill | Solar PV | 0.75 | 3 | Renewable Energy Development Partners | 2016 | Wholesale Electricity
Williamston Landfill | 1 | MA | Williamston | Landfill | Town of Williamston | Municipal | 12 | MSW Landfill | Solar PV | 1.9 | 7 | Brightfields | 2018 | Wholesale Electricity
Woburn Landfill | 1 | MA | Woburn | Landfill | City of North Woburn | Municipal | 50 | MSW Landfill | Solar PV | 3.4 | 0 | Greenwood Energy | 2017 | Wholesale Electricity
Annapolis Renewable Energy Park | 3 | MD | Annapolis | Landfill | City of Annapolis | Municipal | 500 | MSW Landfill | Solar PV | 16.8 | 80 | Annapolis Solar Park LLC (jointly owned by BQ Energy LLC and Building Energy Development US LLC) | 2018 | Wholesale Electricity
Former Ellicott City Landfill | 3 | MD | Ellicott City | Landfill | Howard County | Municipal | 83 | MSW Landfill | Solar PV | 1.2 | 2 | SunEdison | 2011 | Onsite Use - General
Fort Detrick | 3 | MD | Frederick | Superfund | U.S. Army | Federal | 1200 | Army Medical Command Installation | Solar PV | 18.6 | 67 | Ameresco | 2016 | Onsite Use - General
Forty West Landfill | 3 | MD | Hagerstown | Landfill | Washington County | Municipal | 0 | MSW Landfill | Solar PV | 2 | 10 | EPG Solar/Spear Point Energy | 2015 | Wholesale Electricity
Frederick County Landfill Solar | 3 | MD | Frederick | Landfill | Frederick County | Municipal | 0 | Landfill | Solar PV | 1.9 | 14 | Tesla | 2019 | Wholesale Electricity
Hood's Mill Landfill | 3 | MD | Westminster | Landfill | Carroll County | Municipal | 18 | MSW Landfill | Solar PV | 0.002929 | 0 | PSI International | 2018 | Wholesale Electricity
Panorama Landfill Solar | 3 | MD | Fort Washington | Landfill | City of Fort Washington | Municipal | 89 | Landfill | Solar PV | 6.6 | 25 | Nautilus Solar Energy, LLC | 2019 | Community Owned / Subscription
Resh Road Landfill (Resh S1) | 3 | MD | Hagerstown | Landfill | Washington County | Municipal | 0 | MSW Landfill | Solar PV | 2.5 | 0 | EPG Solar/Spear Point Energy | 2016 | Wholesale Electricity
Washington County Rubble Landfill #1 | 3 | MD | Williamsport | Landfill | Washington County | Municipal | 0 | Building materials and construction debris landfill | Solar PV | 2.5 | 0 | EPG Solar/Spear Point Energy | 2015 | Wholesale Electricity
Washington County Rubble Landfill #2 | 3 | MD | Williamsport | Landfill | Washington County | Municipal | 0 | Building materials and construction debris landfill | Solar PV | 2.5 | 0 | EPG Solar/Spear Point Energy | 2015 | Wholesale Electricity
Belfast Landfill | 1 | ME | Belfast | Landfill | City of Belfast | Municipal | 0 | MSW Landfill | Solar PV | 0.122 | 0 | ReVision Energy | 2015 | Wholesale Electricity
Brunswick Landing (Biomass) | 1 | ME | Brunswick | Superfund | Diversified Communications | Private | 0 | Former Naval Air Station Brunswick | Biomass | 1 | 4.25 | Village Green Ventures | 2014 | Wholesale Electricity
Brunswick Landing (Solar) | 1 | ME | Brunswick | Superfund | Diversified Communications | Private | 0 | Former Naval Air Station Brunswick | Solar PV | 1.5 | 0 | Revision | 2018 | Wholesale Electricity
Drowne Road Landfill Solar | 1 | ME | Cumberland | Landfill | Town of Cumberland | Municipal | 10 | MSW Landfill | Solar PV | 0.4747 | 3.5 | ReVision | 2019 | Wholesale Electricity
Eliot Landfill Solar | 1 | ME | Eliot | Landfill | Town of Eliot | Municipal | 0 | MSW Landfill | Solar PV | 0.13 | 0 | ReVision | 2019 | Wholesale Electricity
Grand oats | 1 | ME | Hiram | Brownfields | GrandyOats Granola | Private | 8.2 | Former Elementary School | Solar PV | - | 8.2 | Unknown | 2016 | Onsite Use - General
Highland Ave. Landfill | 1 | ME | South Portland | Landfill | City of South Portland | Municipal | 34 | MSW Landfill | Solar PV | 1 | 2 | ReVision | 2017 | Wholesale Electricity
Portland Landfill Solar | 1 | ME | Portland | Landfill | City of Portland | Municipal | 44 | MSW Landfill | Solar PV | 0.66 | 4.3 | ReVision Energy | 2018 | Wholesale Electricity
Tremont Landfill Solar | 1 | ME | Tremont | Landfill | Town of Tremont | Municipal | 0 | MSW Landfill | Solar PV | 0.153 | 3 | Sundog | 2019 | Wholesale Electricity
Waldoboro Transfer Station Landfill | 1 | ME | Waldoboro | Landfill | City of Waldoboro | Municipal | 0 | Landfill | Solar PV | 0.11 | 0 | Sundog Solar | 2018 | Wholesale Electricity
Woolwich Landfill | 1 | ME | Woolwich | Landfill | Town of Woolwich | Municipal | 0 | MSW Landfill | Solar PV | 0.024 | 0 | ReVision | 2018 | Wholesale Electricity
Burcham Park Landfill | 5 | MI | East Lansing | Landfill | Town of East Lansing | Municipal | 0 | MSW Landfill | Solar PV | 0.3 | 0 | Lansing Board of Water and Light | 2018 | Community Owned / Subscription
Coldwater Board of Public Utilities Solar Field Park | 5 | MI | Coldwater | Brownfields | City of Coldwater | Municipal | 0 | Foundry | Solar PV | 1.3 | 0 | NextEra Energy Resources LLC | 2018 | Wholesale Electricity
Eaton Rapids Landfill | 5 | MI | Hamlin Township | Landfill | Town of Eaton Rapids | Municipal | 30 | MSW Landfill | Solar PV | 0.535 | 0 | Helios Solar LLC | 2014 | Wholesale Electricity
Hutchinson Landfill | 5 | MN | Hutchinson | Landfill | City of Hutchinson | Municipal | 0 | MSW Landfill | Solar PV | 0.4 | 1 | Ameresco | 2015 | Onsite Use - General
Lindenfelser Landfill | 5 | MN | St. Michael | Landfill | Minnesota Pollution Control Agency | Municipal | 0 | MSW Landfill | Solar PV | - | 0 | Unknown | 2016 | Onsite Use - General
Seneca Community Solar Garden | 5 | MN | Eagan | Landfill | Metropolitan Council Environmental Services | Municipal | 7 | Ash Landfill | Solar PV | 1 | 4 | Cyprus Creek Renewables | 2018 | Community Owned / Subscription
Washington County Landfill (MN) | 5 | MN | Lake Elmo | Superfund | Minnesota Pollution Control Agency | Municipal | 25 | Residential, commercial, industrial, demolition landfill | Solar PV | 0.04 | 25 | Unknown | 2016 | Onsite Use - General
Busy Bee's Laundry | 7 | MO | Rolla | Brownfields | Unknown | Private | 0 | Dry Cleaner | Solar PV | 0.56 | 0 | Unknown | 2011 | Onsite Use - Green Remediation
Zortman-Landusky Mine | 8 | MT | N/A | Mine Lands | BLM and MT DEQ | Federal/Municipal | 1200 | Ore mining and gold mining | Wind | 0.225 | 0 | Montana DEQ and U.S. BLM | 2012 | Onsite Use - Green Remediation
Evergreen Packaging Landfill | 4 | NC | Haywood County | Landfill | Evergreen Packaging | Private | 0 | Industrial Landfill | Solar PV | 0.55 | 3 | FLS Energy | 2010 | Wholesale Electricity
NC State University - Agricultural Pesticide Landfill | 4 | NC | Raleigh | Superfund | NC State University | University | 0 | Agricultural Pesticide Landfill | Solar PV | 0.075 | 1.5 | Carolina Solar Energy | 2007 | Wholesale Electricity
ReVenture - Biomass | 4 | NC | Charlotte | Superfund | Clariant Corporation | Private | 667 | Dye and Chemical Manufacturing | Biomass | 3.6 | 0 | Clariant Corporation and Forsite Development | 2015 | Unknown
Arsenic Trioxide Site | 8 | ND | Lidgerwood, Wyndmere, Milnor and Hankinson | Superfund | Multiple | Municipal | 575 | Farmland pesticide contamination | Geothermal | - | 0 | Unknown | 2011 | Onsite Use - General
Former Nebraska Ordnance Plant | 7 | NE | Mead | Superfund | University of Nebraska | Private | 0 | Former Army Ordnance Plant | Wind | 0.01 | 0 | Unknown | 2004 | Onsite Use - Green Remediation
Milton Landfill Solar Garden | 1 | NH | Milton | Landfill | Town of Milton | Municipal | 4.5 | MSW Landfill | Solar PV | 1 | 4.5 | NH Solar Gardens | 2016 | Community Owned / Subscription
Cinnaminson Landfill Solar | 2 | NJ | Cinnaminson | Superfund | Cinnaminson | Municipal | 400 | MSW Landfill | Solar PV | 13 | 25 | MSF | 2019 | Wholesale Electricity
AC Redshaw Elementary School Solar | 2 | NJ | New Brunswick | State Brownfields | New Brunswick Public Schools | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.21 | 0 | Johnson Controls Edison Service Office | 2016 | Rooftop
Albio Sires Elementary School Solar | 2 | NJ | West New York | State Brownfields | West New York School District | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.05 | 0 | G&S Investors | 2013 | Rooftop
American Cyanamid Co | 2 | NJ | Bridgewater | Superfund | Somerset County Improvement Authority and others | Various | 575 | Chemical and Pharmaceutical Manufacturer | Solar PV | 1.6 | 0 | SunLight General Somerset Solar | 2013 | Onsite Use - General
Amerigo A. Anastasia Elementary School Solar | 2 | NJ | Long Branch | State Brownfields | Long Branch Public Schools | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.103 | 0 | Ray Angelini, Inc. | 2012 | Rooftop
Bed Bath and Beyond Solar (Port Reading NJ) | 2 | NJ | Port Reading | State Brownfields | Bed Bath and Beyond Inc. | Private | 28.7 | Retail fulfillment center (current) | Solar PV | 2.1 | 0 | Sunpower | 2011 | Rooftop
Bernards Township Landfill | 2 | NJ | Bernards Twp | Landfill | Bernards Twp | Municipal | 18 | MSW Landfill | Solar PV | 3.68 | 0 | Syncarpha/The Conti Group | 2016 | Wholesale Electricity
Brick Township Landfill | 2 | NJ | Brick Township | Superfund | Brick Township | Municipal | 42 | MSW landfill | Solar PV | 7 | 20 | Brick Standard | 2014 | Wholesale Electricity
Campbell's Soup #1 | 2 | NJ | Camden | Brownfields | Campbell Soup Company | Private | 38 | Industrial | Solar PV | 1.74 | 4.5 | BNB Renewable Energy Holdings | 2017 | Wholesale Electricity
Campbell's Soup #2 | 2 | NJ | Camden | Brownfields | Campbell Soup Company | Private | 38 | Industrial | Solar PV | 2.66 | 0 | BNB Renewable Energy Holdings | 2017 | Wholesale Electricity
Clay Pits-Old Bridge | 2 | NJ | Old Bridge Township | State Brownfields | FWCC, LLC | Private | 0 | Former clay mining and brick manufacturing site | Solar PV | 11 | 28.6 | CEP Old Bridge, LLC | 2018 | Wholesale Electricity
Clean Harbors | 2 | NJ | Bridgeport | Landfill | Clean Harbors Development | Private | 200 | Hazardous waste treatment, storage, and disposal facility | Solar PV | 1.5 | 82 | Clean Harbors | 2011 | Onsite Use - Green Remediation
Diamond Chemical Co. Solar | 2 | NJ | East Rutherford | State Brownfields | Diamond Chemical Company | Private | 0 | Chemical Manufacturing (current) | Solar PV | 1.47 | 0 | Solar Nation New Jersey LLC | 2013 | Onsite Use - General
Edgeboro Landfill | 2 | NJ | East Brunswick | Landfill | Middlesex County | Municipal | 0 | MSW Landfill | Solar PV | 4.3 | 27 | NERC Solar | 2011 | Wholesale Electricity
FedEx Ground Distribution Hub | 2 | NJ | Woodbridge | Brownfields | FedEx | Private | 200 | Former Chemical Facility | Solar PV | 2.42 | 3.3 | BP Solar | 2009 | Rooftop
Fort Dix Landfill Solar | 2 | NJ | Pemberton Township | Superfund | U.S. Department of Defense (joint base operations) | Federal | 42000 | Landfill | Solar PV | 16.5 | 98 | Affiliates of Starwood Energy Group and Energy Management, Inc. | 2017 | Wholesale Electricity
Goya Foods Inc. | 2 | NJ | Jersey City | State Brownfields | Unknown | Unknown | 40 | Corporate Headquarters | Solar PV | 3.45 | 0 | Vanguard Energy Partners | 2015 | Rooftop
Hackensack Solar Farm | 2 | NJ | Hackensack | Brownfields | PSE&G | Private | 40 | Former Manufactured Gas Plant/Storage | Solar PV | 1.06 | 6 | PSE&G | 2012 | Wholesale Electricity
Handson Avenue Landfill | 2 | NJ | Egg Harbor | Superfund | Delilah Road Associates | Private | 40 | Sand/Gravel Pit; MSW and Construction Landfill | Solar PV | 10.66 | 32 | KDC Solar RTC, LLC | 2016 | Wholesale Electricity
Highland Park Solar | 2 | NJ | Highland Park | Landfill | PG&E | Private | 0 | Landfill | Solar PV | 0.64 | 2 | PG&E | 2020 | Wholesale Electricity
Industrial Land Reclaiming Landfill | 2 | NJ | Edison | Landfill | Industrial Land Reclaiming Inc. | Private | 0 | MSW Landfill | Solar PV | 7.75 | 21 | PSE&G/Vanguard Energy Partners, LLC | 2017 | Wholesale Electricity
Injectron Corporation Solar | 2 | NJ | Plainfield | State Brownfields | Injectron Corporation | Private | 0 | Commercial | Solar PV | 1.3 | 0 | G&S Investors | 2012 | Rooftop
Jersey Gardens Mall Solar #1 | 2 | NJ | Elizabeth | Landfill | Simon Property Group | Private | 110 | MSW Landfill | Solar PV | 2 | 0 | Sunpower | 2012 | Rooftop
Jersey Gardens Mall Solar #2 | 2 | NJ | Elizabeth | Landfill | Simon Property Group | Private | 110 | MSW Landfill | Solar PV | 2.8 | 0 | Sunpower | 2012 | Rooftop
Kearny Landfill | 2 | NJ | Kearny | Landfill | New Jersey Meadowlands Commission | Municipal | 35 | MSW Landfill | Solar PV | 3 | 13 | SunDurance Energy LLC | 2012 | Wholesale Electricity
Kessler Industries Solar | 2 | NJ | Woodbridge | State Brownfields | Kessler Industries | Private | 21.4 | Copper and Steel Pipe Manufacturing | Solar PV | 0.64 | 0 | SPG Solar | 2012 | Rooftop
Kinsley Landfill | 2 | NJ | Deptford Township | Landfill | Kinsley's Landfill, Inc. (subsidiary of TransTech) | Private | 140 | MSW Landfill | Solar PV | 11.18 | 35 | PSE&G | 2014 | Wholesale Electricity
L&D Landfill | 2 | NJ | Eastampton, Lumberton, and Mount Holly | Superfund | Waste Management | Private | 200 | Industrial/MSW landfill | Solar PV | 12.93 | 53 | PSE&G | 2016 | Wholesale Electricity
Lincoln Elementary School Solar | 2 | NJ | North Bergen | State Brownfields | North Bergen School District | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.13 | 0 | Barrier Electric | 2011 | Rooftop
Linden Solar Farm | 2 | NJ | Linden | Brownfields | Public Service Electric and Gas Company | Private | 0 | Synthetic Natural Gas Facility | Solar PV | 3.2 | 10 | Advanced Solar Products | 2011 | Wholesale Electricity
Macy's Corporate Services Solar | 2 | NJ | Edison | State Brownfields | Federated Department Stores | Private | 0 | Retail Distribution Center (current) | Solar PV | 1.06 | 0 | Ray Angelini, Inc. | 2012 | Rooftop
Matrix Industrial Site Solar | 2 | NJ | Perth Amboy | State Brownfields | Chevron | Private | 10.1 | Asphalt Refinery | Solar PV | 1.17 | 4.5 | Enxco Development Corporation | 2011 | Rooftop
Mullica Hill Cold Storage Solar | 2 | NJ | Mullica Hill | State Brownfields | The Mullica Hill Group | Private | 0 | Frozen food storage and distribution (current) | Solar PV | 2.67 | 0 | Gehrlicher Solar America | 2016 | Onsite Use - General
North Bergen Pool Complex Solar | 2 | NJ | North Bergen | State Brownfields | Town of North Bergen | Municipal | 0 | Industrial Use | Solar PV | 0.048 | 0 | G&S Investors | 2013 | Onsite Use - General
North Hudson Sewerage Authority Solar | 2 | NJ | Hoboken | State Brownfields | Tri City Sewerage Authority | Municipal | 0 | Wastewater Treatment (current) | Solar PV | 0.17 | 0 | Lighton Industries | 2011 | Rooftop
Northport Industrial Center Solar | 2 | NJ | Elizabeth | State Brownfields | Industrial Developments International, Inc. | Private | 0 | Industrial Distribution Center (current) | Solar PV | 1.25 | 3.9 | Catamount | 2012 | Rooftop
Owens Corning Landfill | 2 | NJ | Gloucester Township | Landfill | Owens Corning | Private | 0 | Landfill | Solar PV | 3 | 14.4 | PV Navigator | 2017 | Wholesale Electricity
Park Elementary School Solar | 2 | NJ | Newark | State Brownfields | Newark Public Schools | Municipal | 4.7 | School Public K-12 (current) | Solar PV | 0.51 | 1.6 | Mercury Solar Systems | 2011 | Rooftop
Parklands Solar Farm | 2 | NJ | Bordentown Township | Landfill | Waste Management | Private | 95 | MSW Landfill | Solar PV | 10.14 | 40 | PSE&G | 2015 | Wholesale Electricity
Paulsboro Terminal Landfill | 2 | NJ | Paulsboro | Brownfields | BP | Private | 17 | Former refined petroleum and specialty chemical bulk storage and distribution facility | Solar PV | 0.276 | 5 | BP | 2002 | Onsite Use - Green Remediation
Pennsauken Brownfield Solar | 2 | NJ | Pennsauken | Brownfields | Vineland Construction | Private | 32 | Manufacturing | Solar PV | 15.2 | 32 | PSE&G | 2019 | Wholesale Electricity
Pennsauken Landfill Renewable Energy Park-Solar | 2 | NJ | Pennsauken | Landfill | Pollution Control Financing Authority of Camden County | Municipal | 39 | MSW, commercial, and non-hazardous industrial landfill | Solar PV | 2.6 | 10 | PPL Renewable Energy | 2008 | Onsite Use - General
Picatinny Burning Grounds Solar | 2 | NJ | Jefferson and Rockaway Townships | Superfund | U.S. Army | Federal | 6400 | Burning waste of combusted munitions | Solar PV | 0.8 | 2 or 3 | Unknown | 2016 | Onsite Use - General
Price Landfill | 2 | NJ | Egg Harbor Township | Superfund | Dewey Place, LLC | Private | 26 | Sand and gravel excavation; landfill for drummed and bulk liquid wastes | Solar PV | 4.2 | 0 | Dewey Place, LLC | Unknown | Unknown
Princeton Landfill Solar | 2 | NJ | Princeton | Landfill | Town of Princeton | Municipal | 0 | Landfill | Solar PV | 2.7 | 8 | GeoPeak | 2017 | Wholesale Electricity
Public School #2 Solar | 2 | NJ | West New York | State Brownfields | West New York School District / Bd of Education | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.17 | 0 | G&S Investors | 2013 | Rooftop
Robert Menendez Elementary School Solar | 2 | NJ | Hoboken | State Brownfields | West New York School District / Bd of Education | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.073 | 0 | G&S Investors | 2013 | Rooftop
Royal Wine Corporation Solar | 2 | NJ | Bayonne | State Brownfields | Unknown | Unknown | 0 | Winery (current) | Solar PV | 1.15 | 0 | HES Energy Services, LLC | 2012 | Rooftop
Schering Corporation Solar | 2 | NJ | Summit | RCRA | Schering Corporation | Private | 60 | Pharmaceutical Manufacturing (current) | Solar PV | 1.65 | 0 | PPL Energy Services Holdings, LLC | 2009 | Rooftop
Science Park High School Solar | 2 | NJ | Newark | State Brownfields | Newark Public Schools | Municipal | 0 | School Public K-12 (current) | Solar PV | 0.032 | 0 | RCC Electrical | 2013 | Rooftop
Silver Lake Solar Farm | 2 | NJ | Edison | Brownfields | Public Service Electric and Gas Company | Private | 5.7 | Gas Manufacturing | Solar PV | 2.02 | 5.7 | J. Fletcher Creamer & Sons | 2010 | Wholesale Electricity
South Brunswick Landfill Solar | 2 | NJ | South Brunswick | Superfund | Republic Services | Private | 68 | MSW Landfill | Solar PV | 13 | 0 | NJR Clean Energy Ventures | 2018 | Wholesale Electricity
Stafford Park Solar Farm | 2 | NJ | Stafford Twp | Landfill | Walters Group | Private | 370 | Landfill | Solar PV | 6 | 30 | Walters Group | 2011 | Onsite Use - General
Tinton Falls Solar | 2 | NJ | Tinton Falls | Mine Lands | Tinton Falls Solar Farm, LLC / Zongyi Solar America Co. | Private | 97 | Sand and Gravel Mining | Solar PV | 20 | 97 | Zongyi Solar America | 2013 | Wholesale Electricity
Town of Livingston Municipal Complex Solar | 2 | NJ | Livingston | State Brownfields | Town of Livingston | Municipal | 0 | Government Facility | Solar PV | 0.051 | 0 | EMSA Solar | 2013 | Rooftop
Trenton Solar Farm | 2 | NJ | Trenton | Brownfields | PSE&G | Private | 0 | Gas Manufacturing | Solar PV | 1.3 | 5.5 | PSE&G | 2010 | Wholesale Electricity
Ventron/Velsicol | 2 | NJ | Wood-Ridge/Carlstadt Township | Superfund | Various | Private | 38.3 | Mercury Processing | Solar PV | 0.048 | 0 | Unknown | Unknown | Rooftop
Wakefern Food Corporation Solar | 2 | NJ | Keasbey | State Brownfields | Wakefern Food Corporation | Private | 0 | Food Distribution Center (current) | Solar PV | 2.38 | 0 | Advanced Solar Products Flemington | 2012 | Rooftop
Welsbach & General Gas Mantle (Camden Radiation) | 2 | NJ | Camden and Gloucester | Superfund | Holt Family | Private | 0 | Incandescent gas mantle manufacturing plants | Solar PV | 9 | 0 | SunPower | 2011 | Rooftop
White Rose Foods Solar | 2 | NJ | Carteret | State Brownfields | Middlesex Avenue Carteret LLC | Private | 57.3 | Smelter, lead manufacturing, and metal refining | Solar PV | 4.9 | 0 | Solar Power | 2012 | Rooftop
Chevron Questa Project | 6 | NM | Questa | Superfund | Chevron Mining | Private | 0 | Mining Site | Solar PV | 1 | 20 | Chevron Technology Venture | 2011 | Wholesale Electricity
Emcore Eubank Landfill | 6 | NM | Albuquerque | Brownfields | New Mexico State Land Office | Municipal | 40 | MSW Landfill | Solar PV | 2 | 17 | Emcore/Suncore | 2013 | Onsite Use - General
Nellis AFB Solar Array II Generating Station | 9 | NV | Las Vegas | RCRA | U.S. Department of Defense | Federal | 14000 | Landfill | Solar PV | 15 | 102 | SunPower | 2016 | Onsite Use - General
Nellis AFB Solar Facility Site I | 9 | NV | Las Vegas | RCRA | U.S. Air Force | Federal | 14000 | Landfill/Landfill Buffer | Solar PV | 13.2 | 140 | MMA Renewable Ventures LLC | 2007 | Onsite Use - General
Lawrence Aviation Industries Site Geothermal | 2 | NY | Port Jefferson Station | Superfund | Unknown | Unknown | 126 | Aviation Manufacturing | Geothermal | 0.05 | 0 | Unknown | 2011 | Onsite Use - General
Accabonac Solar Farm | 2 | NY | East Hampton | Landfill | Town of East Hampton | Municipal | 21 | MSW Landfill | Solar PV | 1.1 | 0 | AES Distributed Energy | 2019 | Wholesale Electricity
Bethlehem Steel Sun | 2 | NY | Lackawanna | RCRA | Tecumseh Redevelopment Inc | Private | 1200 | Steel Mill | Solar PV | 4 | 25 | BQ Energy | 2014 | Wholesale Electricity
Bethlehem Steel Sun Site 2 | 2 | NY | Lackawanna | Superfund | Tecumseh Redevelopment Inc | Private | 1600 | Steel Mill | Solar PV | 9 | 0 | BQ Energy | Unknown | Wholesale Electricity
Bethlehem Steel Winds I | 2 | NY | Hamburg / Lackawanna | Superfund/RCRA | Tecumseh Redevelopment Inc | Private | 1600 | Steel Mill | Wind | 20 | 30 | BQ Energy and First Wind | 2007 | Wholesale Electricity
Bethlehem Steel Winds II | 2 | NY | Hamburg / Lackawanna | Superfund/RCRA | Tecumseh Redevelopment Inc | Private | 1600 | Steel Mill | Wind | 15 | 30 | BQ Energy and First Wind | 2012 | Wholesale Electricity
Blydenburgh Landfill Solar I | 2 | NY | Hauppauge | Landfill | Town of Islip | Municipal | 55 | MSW Landfill | Solar PV | 0.05 | 0 | Town of Islip | 2011 | Wholesale Electricity
Blydenburgh Landfill Solar II | 2 | NY | Hauppauge | Landfill | Town of Islip | Municipal | 0 | MSW Landfill | Solar PV | 2.25 | 0 | Agilitas Capital | 2018 | Wholesale Electricity
Clifton Park Landfill | 2 | NY | Clifton Park | Landfill | Town of Clifton Park | Municipal | 25 | MSW Landfill | Solar PV | 1 | 9 | Onyx Renewable Partners | 2017 | Wholesale Electricity
Dennings Point Landfill Solar | 2 | NY | Beacon | Landfill | City of Beacon | Municipal | 16.6 | MSW Landfill | Solar PV | 2 | 11 | BQ Energy | 2018 | Wholesale Electricity
Emerson Street Landfill | 2 | NY | Rochester | Landfill | City of Rochester | Municipal | 250 | MSW Ash and Construction/Debris Landfill | Solar PV | 2.6 | 11.7 | Solar Liberty | 2017 | Wholesale Electricity
Former Ferdula Landfill | 2 | NY | Frankfurt | Landfill | Unknown | Unknown | 2 | MSW Landfill | Wind | - | 0 | Unknown | 1998 | Onsite Use - Green Remediation
Homeridae Project | 2 | NY | Olean | State Brownfields | Unknown | Unknown | 16.68 | Industrial (part of an oil refinery and oil storage site) | Solar PV | 4.07 | 17 | BQ Energy | 2019 | Wholesale Electricity
Honeywell Water Treatment Plant | 2 | NY | Camillus | Other | Honeywell Corporation | Private | 0 | Treatment Plant | Solar PV | 1.5 | 0 | O'Connell Electric | 2016 | Onsite Use - Green Remediation
Hoosick Falls Solar Garden | 2 | NY | Village of Hoosick Falls | Landfill | Village of Hoosick Falls | Municipal | 27 | MSW Landfill | Solar PV | 0.592 | 0 | Monolith Solar | 2015 | Wholesale Electricity
Kings Park Solar Project | 2 | NY | Smithtown | Landfill | Smithtown | Municipal | 27 | Landfill | Solar PV | 4 | 27 | NextEra Energy Resources | 2019 | Wholesale Electricity
Lincoln Ave. Landfill Solar | 2 | NY | Holbrook | Landfill | Town of Islip | Municipal | 39 | MSW Landfill | Solar PV | 3.024 | 0 | Agilitas Capital | 2018 | Wholesale Electricity
Long Island Solar Farm at Brookhaven National Laboratory | 2 | NY | Upton | Superfund | U.S. DOE | Federal | 0 | Previously disturbed land at DOE National Lab Facility | Solar PV | 32 | 200 | Long Island Solar Farm, LLC (BP Solar and MetLife) | 2011 | Wholesale Electricity
Madison County Agriculture and Renewable Energy Park | 2 | NY | Lincoln | Landfill | Madison County | Municipal | 600 | MSW Landfill | Solar PV | 0.05 | 1 | Carlisle Energy Services, Inc. | 2011 | Onsite Use - General
Madison County Landfill (Canastota) | 2 | NY | Canastota | Landfill | Madison County | Municipal | 0 | MSW Landfill | Solar PV | 0.05 | 0 | Solar Liberty Electric | 2014 | Onsite Use - General
Olean Gateway "Solean" | 2 | NY | Olean | State Brownfields | Krog Corp. | Private | 60 | Oil refining, fertilizer manufacturing | Solar PV | 4 | 24 | BQ Energy | 2017 | Wholesale Electricity
Olean Gateway "Solean" West | 2 | NY | Olean | State Brownfields | Krog Corp. | Private | 24 | Oil refining, fertilizer manufacturing | Solar PV | 1.5 | 24 | BQ Energy | 2016 | Wholesale Electricity
PatterSun NY #1 | 2 | NY | Patterson | Landfill | Town of Patterson | Municipal | 10 | MSW Landfill | Solar PV | 0.942 | 0 | BQ Energy | 2015 | Wholesale Electricity
PatterSun NY #2 | 2 | NY | Patterson | Landfill | Town of Patterson | Municipal | 25 | MSW Landfill | Solar PV | 1.3 | 0 | BQ Energy | 2016 | Wholesale Electricity
Saugerties Town Landfill | 2 | NY | Saugerties | Landfill | City of Saugerties | Municipal | 44 | Landfill | Solar PV | 2.8 | 26 | East Light Partners | 2020 | Community Owned / Subscription
Tech City | 2 | NY | Ulster | RCRA | Tech City | Private | 256 | Computer mainframe development and testing facility | Solar PV | 0.05 | 0 | Solartech Renewables Inc. | 2011 | Rooftop
Tonawanda Landfill | 2 | NY | Tonawanda | Landfill | Town of Tonawanda | Municipal | 55 | MSW Landfill | Solar PV | 2.6 | 10 | Solar Liberty | 2019 | Wholesale Electricity
Tonawanda Landfill (Wales Avenue) | 2 | NY | Tonawanda | Landfill | Unknown | Unknown | 0 | Landfill | Solar PV | 1.1 | 0 | Montante Solar | 2019 | Wholesale Electricity
Troy Landfill Solar 1 | 2 | NY | Troy | Landfill | City of Troy | Municipal | 92 | MSW Landfill | Solar PV | 0.6 | 3 | Monolith Solar | 2018 | Wholesale Electricity
Ulster County Landfill Solar | 2 | NY | Ulster | Landfill | Ulster County Resource Recovery Agency | Municipal | 29.1 | MSW Landfill | Solar PV | 1.9 | 8 | SolarCity | 2018 | Wholesale Electricity
Wallkill Landfill | 2 | NY | Wallkill | Landfill | Town of Wallkill | Municipal | 68 | MSW Landfill | Solar PV | 2 | 8 | GE Renewable Energy | 2016 | Wholesale Electricity
Weibel Avenue Landfill | 2 | NY | Saratoga Springs | Landfill | Town of Saratoga Springs | Municipal | 0 | MSW Landfill | Solar PV | 2.5 | 14.6 | Onyx Renewable Partners | 2017 | Wholesale Electricity
West Nyack Landfill | 2 | NY | Clarkstown | Landfill | Town of Clarkstown | Municipal | 0 | MSW landfill | Solar PV | 2.364 | 13 | OnForce Solar | 2014 | Wholesale Electricity
West Park Landfill (Floyd Ackert Rd.) | 2 | NY | Esopus | Landfill | Town of Esopus | Municipal | 0 | MSW Landfill | Solar PV | 0.6 | 0 | BQ Energy | 2017 | Wholesale Electricity
Williamson Landfill | 2 | NY | Williamson | Landfill | Town of Williamson | Municipal | 0 | MSW Landfill | Solar PV | 1.5 | 0 | Sustainable Energy Developments | 2014 | Wholesale Electricity
Brooklyn Landfill Solar | 5 | OH | Brooklyn | Landfill | City of Brooklyn | Municipal | 75 | MSW Landfill | Solar PV | 4 | 17 | IGS Solar | 2018 | Wholesale Electricity
Cuyahoga Metropolitan Housing Authority | 5 | OH | Cleveland | Brownfields | Cuyahoga Metropolitan Housing Authority | Municipal | 12 | Industrial Use | Solar PV | 1.1 | 6 | Carbon Vision | 2013 | Wholesale Electricity
Dayton Tech Town | 5 | OH | Dayton | Brownfields | Unknown | Unknown | 0 | Former Automotive Site | Geothermal | - | 0 | Heapy Engineering | 2010 | Onsite Use - General
Former Newark Processing Co. | 5 | OH | Newark | Brownfields | City of Newark | Municipal | 66 | Aluminum Manufacturing | Solar PV | 1.5 | 24 | SolarVision LLC | 2017 | Wholesale Electricity
Medical Center Company Solar | 5 | OH | Cleveland | Brownfields | Unknown | Unknown | 5.5 | Unknown | Solar PV | 1 | 0 | Medical Center Company | 2014 | Wholesale Electricity
Pilkington North America | 5 | OH | Northwood | Brownfields | Pilkington North America, Inc. | Private | 11 | Glass Manufacturing Facility | Solar PV | 0.25 | 1 | Hull & Associates | 2011 | Onsite Use - General
The National Center for Medical Readiness at Calamityville | 5 | OH | Fairborn | Brownfields | Calamityville® | Private | 54 | Cement Manufacturing Plant | Geothermal | - | 54 | Unknown | 2005 | Onsite Use - General
Toledo Zoo Solar | 5 | OH | Toledo | Brownfields | Anthony Wayne Solar Number 1 | Private | 22 | Elevator Factory | Solar PV | 2.1 | 0 | Rudolph/Libbe and GEM Energy | 2014 | Onsite Use - General
Wood County Landfill | 5 | OH | Bowling Green | Landfill | Wood County | Municipal | 60 | MSW Landfill | Wind | 7.2 | 4 | American Municipal Power | 2004 | Wholesale Electricity
Altus Air Force Base | 6 | OK | Altus | RCRA | U.S. Air Force | Federal | 0 | Federal Facility, Flight Training Center | Solar PV | 0.0002 | 0 | Unknown | 2007 | Onsite Use - Green Remediation
Guthrie Green | 6 | OK | Tulsa | Brownfields | George Kaiser Family Foundation | Foundation | 0 | Industrial | Geothermal w/ solar PV | - | 0 | Unknown | 2012 | Onsite Use - General
Columbia Ridge Landfill | 10 | OR | Arlington | Landfill Buffer | Waste Management | Private | 12000 | MSW and Industrial Landfill (active) | Wind | 100 | 0 | PacifiCorp | 2004 | Wholesale Electricity
Corvallis Municipal Airport | 10 | OR | Corvallis | Superfund | City of Corvallis | Municipal | 0 | Chrome-plating Facility | Solar PV | 0.1 | 1.8 | Pacific Power | 2017 | Wholesale Electricity
SeQuential Biodiesel Solar | 10 | OR | Eugene | Brownfields | SeQuential | Private | 0.6 | Gas Station | Solar PV | 0.0336 | 0 | Energy Design | 2006 | Rooftop
Ambler Pennsylvania Boiler House | 3 | PA | Ambler | Brownfields | Summit Realty | Private | 0 | Asbestos Manufacturing Plant | Geothermal | - | 1.1 | Unknown | 2012 | Onsite Use - General
Casselman Wind Power Project | 3 | PA | Traverses Summit, Black, and Addison | Mine Lands | Iberdrola Renewables, LLC | Private | 2000 | Surface coal mine and adjacent land | Wind | 34.5 | 165 | Iberdrola Renewables LLC | 2008 | Wholesale Electricity
Exelon-Conergy Solar Energy Center | 3 | PA | Falls Township | Landfill Buffer | Waste Management of Pennsylvania | Private | 16.5 | Buffer to Geological Reclamation Operations and Waste Systems landfill | Solar PV | 3 | 16.5 | Conergy Company | 2008 | Wholesale Electricity
Frey Farm Landfill | 3 | PA | Conestoga | Landfill | Lancaster Cnty Solid Waste Mgmt Authority | Municipal | 0 | MSW Landfill (active) | Wind | 3.2 | 10.32 | Energy Power Partners, LLC | 2011 | Onsite Use - General
Hazelwood Green’s Mill 19 Solar | 3 | PA | Philadelphia | State Brownfields | Regional Industrial Development Corporation | Non-profit | 0 | Steel Mill | Solar PV | 2 | 0 | Scalo Solar Solutions | 2019 | Rooftop
Highland North Wind | 3 | PA | Cambria County | Mine Lands | Various | Various | 3500 | Strip Mine | Wind | 75 | 3500 | Everpower | 2012 | Wholesale Electricity
Highland Wind | 3 | PA | Cambria County | Mine Lands | Everpower | Private | 4000 | Strip Mine | Wind | 62.5 | 4000 | Everpower | 2009 | Wholesale Electricity
Palmerton Zinc Pile | 3 | PA | Palmerton | Superfund | Lehigh Gap Nature Center | Non-profit | 0 | Zinc Smelting | Solar PV | 0.0234 | 0 | Unknown | 2018 | Rooftop
Paseo Verde South Apartments | 3 | PA | Philadelphia | Brownfields | Paseo Verde | Private | 2 | Coal Yard | Solar PV | - | 0 | Unknown | 2013 | Onsite Use - General
York County Landfill Solar | 3 | PA | Hopewell Township | Superfund | York County Solid Waste Authority | Municipal | 0 | MSW Landfill | Solar PV | 0.3 | 2 | Solar Renewable Energy, LLC | 2014 | Onsite Use - Green Remediation
A Street Facility Solar | 1 | RI | Johnston | Landfill | Town of Johnston | Municipal | 32 | Landfill | Solar PV | 3.9 | 0 | Southern Sky Renewable Energy | 2018 | Wholesale Electricity
Davisville Naval Construction Battalion Center | 1 | RI | North Kingstown | Superfund | Various | Various | 1500 | Naval Base | Solar PV | 2.4 | 0 | Unknown | 2016 | Rooftop
Forbes Street Solar Project I (FSSPI) | 1 | RI | East Providence | Landfill | City of East Providence | Municipal | 229 | MSW Landfill | Solar PV | 3.7 | 14 | CME OCI Solar Power LLC / CME Energy | 2014 | Wholesale Electricity
Forbes Street Solar Project II (FSSPII) | 1 | RI | East Providence | Landfill | City of East Providence | Municipal | 0 | Landfill | Solar PV | 4.1 | 0 | CME Energy / Hecate Energy LLC | 2018 | Wholesale Electricity
Kilvert Street Solar | 1 | RI | Warwick | State Brownfields | City of Warwick | Municipal | 37 | Industrial | Solar PV | 6.3 | 0 | Southern Sky Renewable Energy | 2018 | Wholesale Electricity
North Providence Landfill | 1 | RI | North Providence | RCRA | North Providence | Municipal | 13 | MSW Landfill | Solar PV | 2.6 | 0 | Southern Sky Renewable Energy | 2018 | Wholesale Electricity
Peterson/Puritan | 1 | RI | Cumberland | Superfund | Unknown | Unknown | 0 | Packaging aerosol consumer products | Solar PV | 0.5 | 0 | MEGAWATT Energy Solutions | 2014 | Wholesale Electricity
Rose Hill Landfill | 1 | RI | South Kingston | Superfund | Town of South Kingstown | Municipal | 0 | Landfill | Solar PV | 4.7 | 20 | Kearsarge Energy | 2018 | Wholesale Electricity
University of Rhode Island (URI) Disposal Area | 1 | RI | South Kingston | Superfund | URI | University | 18 | Landfill | Solar PV | 2.7 | 14 | Kearsarge Energy | 2018 | Wholesale Electricity
West Kingston Town Dump | 1 | RI | South Kingston | Superfund | Town of West Kingston | Municipal | 18 | Landfill | Solar PV | 1.2 | 8 | Kearsarge Energy | 2018 | Wholesale Electricity
Savannah River's Biomass Steam Plant | 4 | SC | Aiken | Superfund | U.S. DOE | Federal | 34 | 1950s Vintage Coal-fired Steam Plant | Biomass | 20 | 34 | Ameresco | 2008 | Onsite Use - General
Ellsworth Air Force Base | 8 | SD | Ellsworth Air Force Base | Superfund | Unknown | Unknown | 0 | Air Force Base | Solar PV | 0.3 | 0 | Unknown | 2013 | Unknown
Binkley Solar Farm | 4 | TN | Hermitage | Landfill | Binkley family | Private | 0 | Construction and Demolition Landfill | Solar PV | 0.2 | 0 | Stansell Electric | 2012 | Wholesale Electricity
Bristol Demolition Landfill | 4 | TN | Bristol | Landfill | City of Bristol | Municipal | 0 | Demolition landfill | Solar PV | 0.2 | 0 | EcoLogical Energy Systems | 2012 | Wholesale Electricity
RSI Brightfields One | 4 | TN | Oak Ridge | Superfund | Restoration Services, Inc. (RSI) | Private | 1 | Former DOE Gaseous Diffusion Plant | Solar PV | 1.25 | 1 | RSI | 2012 | Wholesale Electricity
Somerville Solar Project | 4 | TN | Somerville | Landfill | Somerville | Municipal | 0 | Landfill | Solar PV | 2.7 | 0 | C2 Energy Capital | 2019 | Wholesale Electricity
Volkswagen Chattanooga | 4 | TN | Chattanooga | RCRA | Volkswagen | Private | 33 | Former Army Ammunition Plant | Solar PV | 9.5 | 33 | Silicon Ranch | 2013 | Wholesale Electricity
Central Texas Veterans Landfill Solar | 6 | TX | Temple | Landfill | Department of Veterans Affairs | Federal | 0 | Landfill | Solar PV | 2.94 | 0 | REC Solar | 2012 | Onsite Use - General
Grove Landfill | 6 | TX | Austin | Landfill | Rhizome Collective, Inc | Non-profit | 9.8 | Landfill (illegal dumping) | Solar PV | - | 0 | Unknown | 2006 | Onsite Use - Green Remediation
Pantex Renewable Energy Project (PREP) | 6 | TX | Amarillo | Superfund | U.S. Department of Energy NNSA and Texas Tech University | Federal | 16000 | Nuclear weapon assembly and disassembly | Wind | 11.5 | 1500 | Siemens USA | 2014 | Onsite Use - General
Tessman Road Municipal Solid Waste Landfill | 6 | TX | San Antonio | Landfill | Republic Services, Inc | Private | 680 | MSW Landfill | Solar PV | 0.13 | 5.6 | CSP Energy | 2009 | Wholesale Electricity
Salt Lake City Landfill | 8 | UT | Salt Lake City | Landfill | Salt Lake City | Municipal | 4 | MSW Landfill | Solar PV | 1 | 4 | Taylor Electric | 2014 | Unknown
Bedford Solar Farm | 3 | VA | Bedford | Landfill Buffer | Bedford County | Municipal | 0 | MSW Landfill (buffer) | Solar PV | 3.3 | 20 | O2 emc | 2017 | Wholesale Electricity
Crozet Orchard | 3 | VA | Crozet | State Brownfields | Unknown | Private | 0 | Apple Orchard | Solar PV | 0.00039 | 0 | Unknown | 2007 | Onsite Use - Green Remediation
Salem VA Medical Center Solar | 3 | VA | Salem | Landfill | U.S. Department of Veterans Affairs | Federal | 6 | Landfill | Solar PV | 1.6 | 6 | REC Solar | 2013 | Onsite Use - General
Stone Brewing Company | 3 | VA | Richmond | Brownfields | Stone Brewing Company | Private | 14.5 | Gasworks, concrete mixing plant and staging area | Solar PV | - | 14.5 | Unknown | 2016 | Rooftop
Former St. Croix Alumina Plant Solar I | 2 | VI | St Croix | RCRA | Unknown | Unknown | 0 | Alumina Plant | Solar PV | 0.000165 | 0 | Unknown | 2003 | Onsite Use - Green Remediation
Former St. Croix Alumina Plant Solar II | 2 | VI | St Croix | RCRA | Unknown | Unknown | 0 | Alumina Plant | Solar PV | 0.00033 | 0 | Unknown | 2006 | Onsite Use - Green Remediation
Former St. Croix Alumina Plant Wind I | 2 | VI | St Croix | RCRA | Unknown | Unknown | 0 | Alumina Plant | Wind | - | 0 | Unknown | 2002 | Onsite Use - Green Remediation
Former St. Croix Alumina Plant Wind II | 2 | VI | St Croix | RCRA | Unknown | Unknown | 0 | Alumina Plant | Wind | - | 0 | Unknown | 2006 | Onsite Use - Green Remediation
Basketville Site | 1 | VT | Putney | Brownfields | Unknown | Unknown | 6.1 | Manufacturing | Solar PV | 0.155 | 0 | Integrated Solar | 2013 | Unknown
Coventry Landfill | 1 | VT | Coventry | Landfill Buffer | Casella Waste Systems | Private | 0 | MSW Landfill Buffer | Solar PV | 2.7 | 12 | Coventry PV (subsidiary of Borrego Solar) | 2015 | Wholesale Electricity
Elizabeth Mine Superfund Site | 1 | VT | Strafford | Superfund | Private (five direct owners) | Private | 1400 | Abandoned Copper Mine | Solar PV | 7 | 28 | Brightfields and Greenwood Energy | 2017 | Wholesale Electricity
Hartford VT Landfill Solar | 1 | VT | Hartford | Landfill | Town of Hartford | Municipal | 0 | MSW Landfill | Solar PV | 1 | 4 | GroSolar | 2016 | Wholesale Electricity
Long View Forest Solar | 1 | VT | Hartland | State Brownfields | Long View Forest, Inc. | Private | 28 | Sawmill and Lumber Treatment | Solar PV | 0.745 | 3 | Encore Renewable Energy | 2019 | Wholesale Electricity
Lyndonville Solar East | 1 | VT | Lyndonville | Brownfields | VWSD LLC | Private | 0 | Tool Manufacturing | Solar PV | 0.485 | 3.5 | Lyndonville Solar West, LLC | 2018 | Wholesale Electricity
Lyndonville Solar West | 1 | VT | Lyndonville | Brownfields | VWSD LLC | Private | 0 | Tool Manufacturing | Solar PV | 0.5 | 3.5 | Lyndonville Solar West, LLC | 2018 | Wholesale Electricity
Rutland Landfill (Stafford Hill) | 1 | VT | Rutland | Landfill | City of Rutland | Municipal | 15 | MSW Landfill | Solar PV | 2.3 | 9 | Green Mountain Power | 2015 | Wholesale Electricity
South Burlington Landfill | 1 | VT | South Burlington | Landfill | City of South Burlington | Municipal | 0 | MSW Landfill | Solar PV | 2.2 | 8 | Encore Renewable Energy | 2017 | Wholesale Electricity
The Creamery | 1 | VT | Richmond | Brownfields | Buttermilk LLC | Private | 1.37 | Dairy Processing Facility | Solar PV | - | 1.37 | Unknown | 2018 | Onsite Use - General
Townshend Landfill | 1 | VT | Townshend | Landfill | Town of Townshend | Municipal | 0 | MSW Landfill | Solar PV | 0.15 | 0 | Soveren Solar | 2014 | Community Owned / Subscription
Wallingford Sand and Gravel Solar | 1 | VT | Wallingford | State Brownfields | Standard Solar | Private | 49.6 | Gravel pit and hot-mix asphalt plant | Solar PV | 3.2 | 17 | Standard Solar/MHG Solar | 2019 | Wholesale Electricity
Windham Solid Waste Management District | 1 | VT | Brattleboro | Landfill | Windham Solid Waste Management District | Municipal | 30 | MSW landfill | Solar PV | 5 | 25 | Sky Solar | 2018 | Wholesale Electricity
Beloit Coal Ash Landfill | 5 | WI | Beloit | Landfill | Alliant Energy | Private | 20 | Coal Ash Landfill | Solar PV | 2.3 | 17 | Hanwha Q CELLS USA | 2016 | Wholesale Electricity
MATC PV Evaluation Lab | 5 | WI | Milwaukee | Landfill | Milwaukee Area Technical College (MATC) | Private | 32 | MSW Landfill | Solar PV | 0.54 | 32 | MATC and Johnson Controls | 2010 | Onsite Use - Training
Refuse Hideaway Landfill | 5 | WI | Middleton | Superfund | State of Wisconsin | State | 23 | Municipal, commercial, and industrial landfill | Solar PV | 0.01 | 0.08 | Full Spectrum Solar Company | 2010 | Onsite Use - Green Remediation
Sky Park Solar | 5 | WI | Eau Claire | Landfill | City of Eau Claire | Private | 26 | MSW Landfill | Solar PV | 1 | 7.5 | Pristine Sun | 2017 | Community Owned / Subscription
American Public University System Academic Center | 3 | WV | Ranson and Charles Town | Brownfields | American Public University System | University | 1.8 | Metal salvage yard | Solar PV | - | 1.8 | Unknown | 2010 | Rooftop
American Public University System Financial Center | 3 | WV | Ranson and Charles Town | Brownfields | American Public University System | University | 11.1 | Manufacturing | Solar PV | - | 0 | Unknown | 2012 | Onsite Use - General
Chevron Casper Wind Farm | 8 | WY | Casper | RCRA | Chevron | Private | 880 | Refinery | Wind | 16.5 | 880 | Chevron Global Power Company | 2009 | Wholesale Electricity
Dave Johnston Mine / Glenrock Wind I | 8 | WY | Glenrock | Mine Lands | PacificCorp | Private | 14000 | Surface Coal Mine | Wind | 118.5 | 300 | PacificCorp | 2008 | Wholesale Electricity
Dave Johnston Mine / Glenrock Wind III | 8 | WY | Glenrock | Mine Lands | PacificCorp | Private | 14000 | Surface Coal Mine | Wind | 39 | 300 | PacificCorp | 2009 | Wholesale Electricity
Dave Johnston Mine / Rolling Hills | 8 | WY | Glenrock | Mine Lands | PacificCorp | Private | 14000 | Surface Coal Mine | Wind | 118.5 | 300 | PacificCorp | 2009 | Wholesale Electricity
Warren AFB Wind | 8 | WY | Cheyenne | Superfund | U.S. Air Force | Federal | 0 | Former Gunnery Range | Wind | 3.32 | 0 | Unknown | 2009 | Wholesale Electricity
Note on D9: City nearest the site
Note on E9: Program from which data were obtained
Note on F9: Organization that owns the property
Note on G9: Denotes if property owner is a public or private entity
Note on H9: Total acreage of CL site
Note on L9: Acreage occupied by the RE development