## Read Me
The "Read Me" page provides general overview and information on the organization and sections of interest in the data package.
Organization:
The data packages from TestAmerica Denver are separated into three PDF files due to size. The first has pages 1–2,390, the second has pages 2,391–4,622, and the third has pages 4,623–6,408.
Sections of interest in the TAL Denver data package include:
Table of Contents starting on page 2
Report narrative starting at page 8. Includes sample receiving information and comments for each analytical group (e.g. volitiles, semivolitiles, metals)
Sample summary on page 46 provides the lab sample ID associated with the client sample ID, the matrix, sample collection data/time, and the date/time of sample reciept at the laboratory.
The executive summary of detections starting on page 47 provides a list of detections with the result, any associated qualifier, the reporting units, and the associated method.
The method summary starting on page 50 lists method, prep method, and analyzing laboratory information.
The analytical results for each method begins on page 53. These pages contain information such as, analysis date/time, batch number, dilution, and method.
The surrogate recovery report begins on page 75. This provides recovery information including acceptance limits.
Quality control results for each analyte, method, and QC type begins on page 81.
Data reporting qualifiers are defined starting on page 185
A summary of TAL certifications can be found starting on page 383.
Instrument outputs begin on page 386.
Sample receiving and chain-of-custody documents begin on page 6,293 (note this is file 3 of 3)
Glycol analyses begin on page 6,299.
Commonly used abbreviations and result qulifier definitions can be found on the second tab of this file.

## Abreviations and Qualifiers
Abbreviation/Qualifier | Definition
CCB | Continuing Calibration Blank
CCV | Continuing Calibration Verification
CRI | Check Standard
CRQL | Contract Required Quantitation Limit
DLCK | Dilution Check Standard
ICB | Initial Calibration Blank
ICV | Initial Calibration Verification
ISA | Interference Check Sample Solution A
ISB | Interference Check Sample Solution AB
LCS | Laboratory Control Sample
LCSD | Laboratory Control Sample Duplicate
MCAWW | Methods for chemical analysis of water and wastes
MDL | Method Detection Limit
MRL | Minimum Reporting Level
MS | Matrix Spike
MSD | Matrix Spike Duplicate
RL | Reporting Level
RPD | Relative percent deviation
SM | Standard methods for the examination of water and wastewater
SW846 | Test methods for evaluating solid waste, physical/chemical methods, third edition, November 1986 and its updates
TAL AUS | TestAmerica Austin
TAL DEN | TestAmerica Denver
TAL PIT | TestAmerica Pittsburgh
TAL SAV | TestAmerica Savannah
4 | MS, MSD: The analyte present in the original sample is four times greater than the matrix spike concentration; therefore, control limits are not applicable.
22 | Surrogate is outside control limits.
^ | ICV,CCV,ICB,CCB, ISA, ISB, CRI, DLCK or MRL standard: Instrument related QC exceeds the control limits.
B | Compound was found in the blank and sample.
D | Sample results are obtained from a dilution; the surrogate or matrix spike recoveries reported are calculated from diluted samples.
E | Result exceeded calibration range.
F | MS or MSD exceeds the control limits or RPD of the MS and MSD exceeds the control limits.
J | Result is less than the RL but greater than or equal to the MDL and the concentration is an approximate value. Also, indicates an estimated value for TICs.
N | Presumptive evidence of material.
T | Result is a tentatively identified compound (TIC) and an estimated value.
V | Serial dilution exceeds the control limits.
W | Post-digestion spike is outside control limits.