## EPA Monthly Summary
LT1SWTR MONTHLY REPORT TO EPA FOR COMPLIANCE DETERMINATION
MEMBRANE FILTRATION SYSTEMS (MF, UL, RO)
(Due to EPA by 10th day of the following month)
Month | _________ |  | System/Treatment Plant |  |  |  | ________________________________________ | [7 empty] | PWSID |  |  |  | ___________
Year | _________ |  | Type of Filtration |  |  |  | ________________________________________
Combined Effluent Turbidity Performance Criteria (DATA ON PAGE 2)
A. Total number of Combined Filter Effluent (CFE) water turbidity measurements = | [11 empty] | _________
B. Total Number of CFE water turbidity measurements that are less than or equal to 0.3 NTU = | [15 empty] | _________
C. The percentage of CFE turbidity measurements meeting 0.3 NTU = B / A * 100 = | [12 empty] | XX.XX |  |  |  | %
D. Record the date and turbidity value for any CFE measurements exceeding 1 NTU: If none, enter “none” below:
| Time and Date of Exceedance |  |  |  |  | Highest Trubidity (NTU) |  |  |  | Time and Date EPA Was Notified
Disinfection Performance Criteria
A. Point-of-Entry Minimum Disinfectant Residual Criteria and CT Criteria
The minimum residual concentration must not drop below 0.2 mg/L OR the higher value (>0.2 mg/L) needed each day for adequate inactivation of Giardia and viruses.
Date | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L) |  |  |  | Date |  |  | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L) |  |  | Date |  | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L)
1 |  |  |  |  | 11 | [5 empty] | 21
2 |  |  |  |  | 12 | [5 empty] | 22
3 |  |  |  |  | 13 | [5 empty] | 23
4 |  |  |  |  | 14 | [5 empty] | 24
5 |  |  |  |  | 15 | [5 empty] | 25
6 |  |  |  |  | 16 | [5 empty] | 26
7 |  |  |  |  | 17 | [5 empty] | 27
8 |  |  |  |  | 18 | [5 empty] | 28
9 |  |  |  |  | 19 | [5 empty] | 29
10 |  |  |  |  | 20 | [5 empty] | 30
31
Days where the POE Residual Was < 0.2 mg/L for > 4 hours
Time/Day |  |  |  |  | Duration of Low Level (indicate hrs) | [5 empty] | Time and Date Reported to EPA
B. Distribution System Disinfectant Residual Criteria MEASURED WHEN TAKING TCR (BACT) SAMPLES
A = # of samples this month that disinfectant residual was measured in distribution system = | [17 empty] | ____________
C = # of samples this month that disinfectant residual was NOT detected when you measured = | [17 empty] | ____________
V = C / A * 100 = |  |  |  | XX.XX |  | % |  |  | For the previous month, V = |  | ____________ |  |  |  | %
Prepared by |  | ____________________________________________________________ | [11 empty] | Date | __________________

## Turbidity Daily Data Sheet
MONTHLY REPORTING SHEET FOR COMBINED FILTER EFFLUENT (CFE) TURBIDITY
MEMBRANE FILTRATION SYSTEMS (MF, UL, RO)
Month | _________ | System Treatment Plant: |  | ________________________________________________
Year Filtration Technology: | _________ | PWS ID#: |  | ____________
REQUIRED # OF 4-HOUR TURBIDITY READINGS/DAY = |  |  |  | ____________ | (UNLESS PLANT OFF – INDICATE “PO” IN EACH CELL)
**REPORT MAXIMUM TURBIDITY READING THAT DAY, EVEN IF IT WAS BETWEEN 4 HOUR READINGS
DO NOT REPORT RESULTS COLLECTED DURING BACKWASH, FILTER-TO-WASTE, OR ANY TIME WATER IS NOT BEING PRODUCED FOR CONSUMPTION
Date | 1st (NTU) | 2nd (NTU) | 3rd (NTU) | 4th (NTU) | 5th (NTU) | 6th (NTU ) | **DAILY Max NTU
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
DATE OF LAST CALIBRATION OF CFE TURBIDIMETER: |  |  |  | ______________
A. Total number of Combined Filter Effluent (CFE) water turbidity measurements = |  |  |  |  | ______________
B. Total Number of CFE water turbidity measurements that are less than or equal to 0.3 NTU = | [5 empty] | ______________

## Unit(1) DI Testing
DATA SHEET FOR INDIVIDUAL MEMBRANE UNIT
DAILY DIRECT INTEGRITY (DI) TESTS AND REPAIRS
(FILL OUT ONE PAGE PER UNIT/SKID)
MONTH | ___________ |  | PWSID # | ___________
YEAR | ___________ |  | PWS NAME | _____________________________________________
MEMBRANE UNIT # |  | ________________________
Date | Daily DI Test Successful (Indicate Y/N Within Control Limit?) | Describe Results of Triggered** or Unsuccessful DI Tests and any Corrective Actions Taken (Diagnostic tests, module repairs or replacements). Identify serial # of module
** Two 15-min consecutive filtrate turbidity readings exceeding 0.15 NTU triggers DI test – based on turbidity when water is being produced for consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
If Plant Not Operating Indicate “PO”
Date of Last Chemical Cleaning (CIP) of the Membrane Unit |  |  |  | ________________________
Was DI Test Acceptable After Cleaning? |  |  |  | ________________________
Date of last Calibration of Individual Unit Filtrate Turbidimeter(s) |  |  |  | ________________________

## Unit(2) DI Testing
DATA SHEET FOR INDIVIDUAL MEMBRANE UNIT
DAILY DIRECT INTEGRITY (DI) TESTS AND REPAIRS
(FILL OUT ONE PAGE PER UNIT/SKID)
MONTH | ___________ |  | PWSID # | ___________
YEAR | ___________ |  | PWS NAME | _____________________________________________
MEMBRANE UNIT # |  | ________________________
Date | Daily DI Test Successful (Indicate Y/N Within Control Limit?) | Describe Results of Triggered** or Unsuccessful DI Tests and any Corrective Actions Taken (Diagnostic tests, module repairs or replacements). Identify serial # of module
** Two 15-min consecutive filtrate turbidity readings exceeding 0.15 NTU triggers DI test – based on turbidity when water is being produced for consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
If Plant Not Operating Indicate “PO”
Date of Last Chemical Cleaning (CIP) of the Membrane Unit |  |  |  | ________________________
Was DI Test Acceptable After Cleaning? |  |  |  | ________________________
Date of last Calibration of Individual Unit Filtrate Turbidimeter(s) |  |  |  | ________________________

## Unit(3) DI Testing
DATA SHEET FOR INDIVIDUAL MEMBRANE UNIT
DAILY DIRECT INTEGRITY (DI) TESTS AND REPAIRS
(FILL OUT ONE PAGE PER UNIT/SKID)
MONTH | ___________ |  | PWSID # | ___________
YEAR | ___________ |  | PWS NAME | _____________________________________________
MEMBRANE UNIT # |  | ________________________
Date | Daily DI Test Successful (Indicate Y/N Within Control Limit?) | Describe Results of Triggered** or Unsuccessful DI Tests and any Corrective Actions Taken (Diagnostic tests, module repairs or replacements). Identify serial # of module
** Two 15-min consecutive filtrate turbidity readings exceeding 0.15 NTU triggers DI test – based on turbidity when water is being produced for consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
If Plant Not Operating Indicate “PO”
Date of Last Chemical Cleaning (CIP) of the Membrane Unit |  |  |  | ________________________
Was DI Test Acceptable After Cleaning? |  |  |  | ________________________
Date of last Calibration of Individual Unit Filtrate Turbidimeter(s) |  |  |  | ________________________

## Unit(4) DI Testing
DATA SHEET FOR INDIVIDUAL MEMBRANE UNIT
DAILY DIRECT INTEGRITY (DI) TESTS AND REPAIRS
(FILL OUT ONE PAGE PER UNIT/SKID)
MONTH | ___________ |  | PWSID # | ___________
YEAR | ___________ |  | PWS NAME | _____________________________________________
MEMBRANE UNIT # |  | ________________________
Date | Daily DI Test Successful (Indicate Y/N Within Control Limit?) | Describe Results of Triggered** or Unsuccessful DI Tests and any Corrective Actions Taken (Diagnostic tests, module repairs or replacements). Identify serial # of module
** Two 15-min consecutive filtrate turbidity readings exceeding 0.15 NTU triggers DI test – based on turbidity when water is being produced for consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
If Plant Not Operating Indicate “PO”
Date of Last Chemical Cleaning (CIP) of the Membrane Unit |  |  |  | ________________________
Was DI Test Acceptable After Cleaning? |  |  |  | ________________________
Date of last Calibration of Individual Unit Filtrate Turbidimeter(s) |  |  |  | ________________________